## Sheet1
	Simulation of the Two-standard Bracket Method
	variable	value	description				Analytical curve non-linearity (0 = linear)
	mo	2.0000	Analytical curve slope without interference		n
	z	0.0000	Interference factor (zero => no interference)				True analyte concentration in sample
	n	0.0000	Analytical curve non-linearity (0 = linear)		Cx
	Ev	1.0000	Random volumetric error (% RSD )				Concentration of standard solution 1
	Es	1.0000	Signal measurement error (% RSD)		C1s
	Cx	10.0000	True analyte concentration in sample				Concentration of standard solution 2
	C1s	10.0000	Concentration of standard solution 1		C2s
	C2s	9.3000	Concentration of standard solution 2	Analytical Curve / Red = standards Yellow = sample / Concentration / Signal
	blank	0.0000	(Uncorrected) blank signal

	Computed results
	S1s	19.6826	Signal given by standard 1
	S2s	18.6326	Signal given by standard 2
	Sx	19.9151	Signal given by sample
	m	2.0000	Analytical curve slope in actual sample
	result	10.1550	Calculated concentration of unknown
	error	1.55%	% difference between result and true Cx
	recovery	100.00%	Relative % effect of interference on signal
	Est. RSD	2.1%	Predicted relative standard deviation of result
	Statistics
	Mean	10.0540	Average result of 20 repeat measurements
100	s	0.23	Standard deviation of the 20 results
	% RSD	2.3%	Relative standard deviation of 20 results
100	Error	0.54%	% difference between Mean and true Cx

93
	Analytical curve (blue line)
0	0	0.0000
	1	2.0000
	2	4.0000
	3	6.0000
	4	8.0000
	5	10.0000
	6	12.0000
	7	14.0000
	8	16.0000
	9	18.0000
	10	20.0000

	Standards (Red triangles)
	10.0000	19.6826
	9.3000	18.6326

	Sample (Yellow triangle)
	10.0000	19.9151

			Predicted random error calculations					Repetitive calculation of C1s+(C2s-C1s)*(Sx-S1s)/(S2s-S1s)
		Error Propagation of C1s+(C2s-C1s)*(Sx-S1s)/(S2s-S1s)			RSD		Statistics calculations			S1s	S2s	Sx	C1s	C2s	result
		0.1366	Standard deviation of (C2s-C1s)		-19.51%		Run number	result		20.0948	18.6070	19.7256	9.8697	9.2987	9.7280
		0.2800	Standard deviation of (Sx-S1s)		120.46%		1	9.7280		19.9825	18.7691	20.3114	10.0158	9.2616	10.2202
		0.2710	Standard deviation of (S2s-S1s)		-25.81%		2	10.2202		19.8305	18.4457	19.8839	10.0002	9.3988	10.0234
		124.73%	Relative standard deviation of (C2s-Cs)*(Sx-S1s)/(S2s-S1s)				3	10.0234		19.7910	18.5638	20.0172	10.0770	9.4246	10.1972
		0.2176	Standard deviation of C1s+(C2s-C1s)*(Sx-S1s)/(S2s-S1s)				4	10.1972		20.2541	18.4147	19.9238	10.2079	9.2891	10.0429
		2.14%	Relative standard deviation of result				5	10.0429		20.1675	18.3938	19.8365	9.9413	9.3713	9.8349
						6	9.8349		20.1070	18.3215	20.1418	9.9159	9.3785	9.9264
						7	9.9264		19.5972	18.7879	20.2628	9.9899	9.3718	10.4981
						8	10.4981		20.1813	18.5440	19.7914	9.9946	9.3031	9.8299
						9	9.8299		19.7416	18.6362	19.8719	10.1136	9.3815	10.2000
						10	10.2000		19.5698	18.8678	19.8332	10.1367	9.3722	10.4235
						11	10.4235		19.6874	18.2131	20.0717	10.0883	9.2679	10.3021
						12	10.3021		20.4160	18.7190	19.6846	9.9820	9.3496	9.7094
						13	9.7094		19.6975	18.4795	19.8519	9.9492	9.2347	10.0397
						14	10.0397		19.6645	18.7916	19.9702	9.9928	9.4819	10.1717
						15	10.1717		19.9605	18.5254	20.0344	10.1165	9.3106	10.1581
						16	10.1581		20.3103	18.4899	19.7716	10.0785	9.3848	9.8732
						17	9.8732		19.8405	18.5926	20.0230	10.0203	9.3266	10.1218
						18	10.1218		20.1495	18.4859	20.3774	9.9709	9.2351	10.0717
						19	10.0717		20.1818	18.8070	19.8869	9.8076	9.3408	9.7075
						20	9.7075	Mean	19.96	18.57	19.96	10.01	9.34	10.05
						Mean	10.054	std. Deviation	0.26	0.18	0.19	0.1	0.06	0.23
						std. Deviation	0.2280	% RSD	1.29%	0.95%	0.97%	0.96%	0.69%	2.27%
						% RSD	2.27%	2.24
						Accuracy	0.54%

	Tom O'Haver (toh@umd.edu), December, 2008