## Sheet1
Calibration for time-drifting sensor with quadratic response.
		Enter calibration data here		Pre- and post-calibration curves and the best-fit lines / Concentration of standards / Instrument reading					Application to unknowns					Calibration curves for each unknown sample
	Date/Time	Pre-calibration	Post-calibration					Warnings			X and Y products for POST calibration					X and Y products for PRE calibration					Coefficients for each equation			Peak of parabola
	Concentration of standards					X post	X pre	MM-DD-YY HH:MM:SS	Reading of the unknowns	Calculated concentrations	Instrument reading above maximum of calibration curve	Calculated concentration above maximum standard concentration	elapsed time,hours	X*Y	X*X	X^3	X^4	X^2y	Y	X*Y	X*X	X^3	X^4	X^2y	Y	a	b	c	max x	max y
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
				Resduals				0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					0	0					0	0	0	0	0	0	0	0	0	0	0	0
					Pre-calibration R2 =	#DIV/0!	Post-calibration R2 =		#DIV/0!
			0	hours between pre- and post-calibrations.
Instructions
	1. Enter the concentrations		2. Enter the date/time		3. Enter the date/time and			4. The concentrations
	of the standards into		and instrument readings		Instrument readings			of the unknowns are
	column B of the blue table.		of the standards before		of each unknown			calculated in column M
			and after the sample run		into the yellow table.			(Calculated concentrations)
	(To delete a value,		into columns C and D.
	click on the cell and
	press the space bar).

	© Tom O'Haver, Version 2.2, July 2011
	Rights granted for educational purposes
Warning: Math follows....
Summary of equations:			y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!
B28	n=number of x,y data points		y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!
B27	sumx=Σx
C27	sumy=Σy
D27	sumxy=Σx*y
E27	sumx2=Σx*x
F27	sumx3=Σx^3
G27	sumx3=Σx^4
H27	sumx2y=Σ(x^2)*y
B30	D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
B31	a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
B32	b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
B33	c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
					Off-screen calculation are on the right ==>
					Post-calibration					Pre-calibration
Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c					Note: The if( ) functions in some of the cells			Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c for the LAST calibration (END)					Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c for the FIRST calibration (START)
sums	sumx		sumy	sumxy	sumx2	ssy	ssr	sumx2y					are not part of the actual numerical calculation.			sums	sumx	sumy	sumxy	sumx2	ssy	ssr	sumx2y			sums	sumx	sumy	sumxy	sumx2	ssy	ssr	sumx2y
	ΣX		ΣY	Σ(X*Y)	Σ(X*X)	Σ(X^3)	Σ(X^4)	Σ(X^2)*y					Their purpose is simply to blank out or zero				ΣX	ΣY	Σ(X*Y)	Σ(X*X)	Σ(X^3)	Σ(X^4)	Σ(X^2)*y				ΣX	ΣY	Σ(X*Y)	Σ(X*X)	Σ(X^3)	Σ(X^4)	Σ(X^2)*y
	0.0000		0.0000	0.000	0.000	0.00	0.00	0.00					out cells that are not being used at the moment				0.0000	0.0000	0.000	0.000	0.00	0.00	0.00				0.0000	0.0000	0.000	0.000	0.00	0.00	0.00
n	0		(number of points (n)					n	0	(number of points (n)					n	0	(number of points (n)

D	0.00		Denominator (D)					D	0.00	Denominator (D)					D	0.00	Denominator (D)
a=	#DIV/0!		(coefficient of the X2 term; equals zero if best-fit line is straight)					a=	#DIV/0!	(coefficient of the X2 term; equals zero if best-fit line is straight)					a=	#DIV/0!	(coefficient of the X2 term; equals zero if best-fit line is straight)
b=	#DIV/0!		(coefficient of the X term, like the slope)					b=	#DIV/0!	(coefficient of the X term, like the slope)					b=	#DIV/0!	(coefficient of the X term, like the slope)
c=	#DIV/0!		(the constant, like the intercept)					c=	#DIV/0!	(the constant, like the intercept)					c=	#DIV/0!	(the constant, like the intercept)
y=	#DIV/0!		X^2	+	#DIV/0!	x	+	#DIV/0!					Equation of best fit (POST) =>	y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!		Equation of best fit (PRE) =>	y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!

					Calculation of post-calibration R2					Calculation of pre-calibration R2
					Σ(Y-meany)^2	PredY		Σ(Y-PredY)^2		Σ(meanY-PredY)^2					Σ(Y-meany)^2	PredY		Σ(Y-PredY)^2		Σ(meanY-PredY)^2
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.0000	0.0000		0.0000		0.000					0.0000	0.0000		0.0000		0.000
					0.000	0.000		0.000		0.000					0.000	0.000		0.000		0.000
					R2=	#DIV/0!					R2=	#DIV/0!

## Sheet2
Post-calibration
Data for fitted curve plot				Post-calibration Residuals
point	X	Ypredicted		Concentrations of the standards	Predicted readings	Actual-predicted	Residuals (% of max reading)
1	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
2	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
3	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
4	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
5	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
6	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
7	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
8	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
9	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
10	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
11	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
12	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
13	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
14	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
15	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
16	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
17	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
18	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
19	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
20	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
21	0.00	#DIV/0!
22	0.00	#DIV/0!
23	0.00	#DIV/0!
24	0.00	#DIV/0!
25	0.00	#DIV/0!
26	0.00	#DIV/0!
27	0.00	#DIV/0!
28	0.00	#DIV/0!
29	0.00	#DIV/0!

Pre-calibration
Data for fitted curve plot				Pre-calibration Residuals
point	X	Ypredicted		Concentrations of the standards	Predicted readings	Actual-predicted	Residuals (% of max reading)
1	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
2	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
3	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
4	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
5	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
6	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
7	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
8	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
9	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
10	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
11	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
12	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
13	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
14	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
15	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
16	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
17	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
18	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
19	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
20	0.00	#DIV/0!		0.0000	0.0000	0.0000	#DIV/0!
21	0.00	#DIV/0!
22	0.00	#DIV/0!
23	0.00	#DIV/0!
24	0.00	#DIV/0!
25	0.00	#DIV/0!
26	0.00	#DIV/0!
27	0.00	#DIV/0!
28	0.00	#DIV/0!
29	0.00	#DIV/0!