## Sheet1
Analytical calibration using a simple linear curve fit
	Calibration data					Application to unknowns
			Calibration curve and the best-fit line / Concentration / Instrument reading
Instructions	Concentrations of the standards	Instrument readings	X*Y	X*X	(Y-Ybar)^2	(Y-Ypred)^2			Readings of the unknowns	Calculated concentrations
1. Enter the concen-			0	0	0.000	0.0000
trations of the			0	0	0.000	0.0000
standards and their			0	0	0.000	0.0000
instrument readings			0	0	0.000	0.0000
into the blue table.			0	0	0.000	0.0000
(To delete a value, click			0	0	0.000	0.0000
on the cell and press			0	0	0.000	0.0000
the space bar).			0	0	0.000	0.0000
			0	0	0.000	0.0000
2. Enter the			0	0	0.000	0.0000
Instrument readings			0	0	0.000	0.0000
of the unknowns into			0	0	0.000	0.0000
the yellow column.			0	0	0.000	0.0000
			0	0	0.000	0.0000
3. The concentrations			0	0	0.000	0.0000
of the unknowns are			0	0	0.000	0.0000
calculated in the last			0	0	0.000	0.0000
column (far right).			0	0	0.000	0.0000
			0	0	0.000	0.0000
			0	0	0.000	0.0000
	ΣX	ΣY	Σ(X*Y) / Residuals	Σ(X*X)	Σ(Y-Ybar)^2	Σ(Y-Ypred)^2
sum (Σ)	0.0000	0.0000	0.000	0.000	0.00	0.0000
number of points (n)	0.0000
average (mean)	#DIV/0!	#DIV/0!	#DIV/0!

slope	#DIV/0!
intercept	#DIV/0!			Residuals:		Standard deviation =		#DIV/0!

Coefficent of determiniation, r2		#DIV/0!
		#DIV/0!

Summary of equations:
Cell B28	n=number of x,y data points					Note: The if( ) functions in some of the cells
Cell B27	sumx=Σx					are not part of the actual numerical calculation.
Cell C27	sumy=Σy					Their purpose is simply to blank out or zero
Cell D27	sumxy=Σx*y					out cells that are not being used at the monent.
Cell E27	sumx2=Σx*x
Cell B29	meanx=sumx/n
Cell C27	meany=sumy/n
Cell B31	slope=(n*sumxy - sumx*sumy) / (n*sumx2 - sumx*sumx)
Cell B32	intercept=meany-(slope*meanx)
Cell F27	ssy=Σ(Y-meany)^2
Cell G27	ssr=Σ(Y-intercept-slope*X)^2
Cell C37	R2 =1-(ssr/ssy)

© Tom O'Haver, October 2008
Rights granted for educational purposes

## Sheet2
Residual calculations
Concentrations of the standards	Predicted readings	Actual reading	Actual-predicted	Residuals (% of max reading)
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!		#DIV/0!
	#DIV/0!	0.0000	#DIV/0!
	#DIV/0!	0.0000	#DIV/0!
	#DIV/0!	0.0000	#DIV/0!
	#DIV/0!	0.0000	#DIV/0!
	#DIV/0!	0.0000	#DIV/0!
	#DIV/0!	0.0000	#DIV/0!
	#DIV/0!	0.0000	#DIV/0!