## Sheet1
Analytical calibration using a simple linear curve fit, with error estimation
| Calibration data | [7 empty] | Application to unknowns
| Concentration of standards | Instrument readings | X*Y | X*X | (Y-Ybar)^2 | (Y-Ypred)^2 |  |  | Readings of the unknowns | Calculated concentration | Estimated error (σ) | Estimated % relative error
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
|  |  | 0 | 0 | 0 | 0
| ΣX | ΣY | Σ(X*Y) | Σ(X*X) | Σ(Y-Ybar)^2 | Σ(Y-Ypred)^2
sum (Σ) | 0 | 0 | 0 | 0 | 0 | 0
number of points (n) | 0 |  |  |  | sdb | sdm
average (mean) | #DIV/0! | #DIV/0! | #DIV/0! |  | #DIV/0! | #DIV/0!
slope | #DIV/0!
intercept | #DIV/0! |  |  |  | Standard deviation of the residuals = |  |  | #DIV/0!
[6 empty] | value | Error (σ)
[5 empty] | Slope | #DIV/0! | #DIV/0!
[5 empty] | Intercept | #DIV/0! | #DIV/0!
Coefficent of determiniation, r2 |  | #DIV/0!
#DIV/0!
Summary of equations:
Cell B28 | n=number of x,y data points | [5 empty] | Note: The if( ) functions in some of the cells
Cell B27 | sumx=Σx | [5 empty] | are not part of the actual numerical calculation.
Cell C27 | sumy=Σy | [5 empty] | Their purpose is simply to blank out or zero
Cell D27 | sumxy=Σx*y | [5 empty] | out cells that are not being used at the monent.
Cell E27 | sumx2=Σx*x
Cell B29 | meanx=sumx/n
Cell C27 | meany=sumy/n
Cell B31 | slope=(n*sumxy - sumx*sumy) / (n*sumx2 - sumx*sumx)
Cell B32 | intercept=meany-(slope*meanx)
Cell F27 | ssy=Σ(Y-meany)^2
Cell G27 | ssr=Σ(Y-intercept-slope*X)^2
Cell C37 | R2 =1-(ssr/ssy)
Cell F29 | sdb=standard deviation of intercept=SQRT(ssr/(n-2))*SQRT(sumx2/(n*sumx2 – sumx*sumx))
Cell G29 | sdm=standard deviation of slope=SQRT(ssr/(n-2))*SQRT(n/(n*sumx2 – sumx*sumx))
© Tom O'Haver,October 2011
Rights granted for educational purposes

## Sheet2
Residual calculations
Concentrations of the standards | Predicted readings | Actual reading | Actual-predicted | Residuals (% of max reading)
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!
| #VALUE! | 0 | #VALUE!