## Sheet1
Analytical calibration using a parabolic (quadratic) curve fit.			Calibration curve and the best-fit line / Concentration / Instrument reading
	Calibration data							Application to unknowns

	Concentrations of the standards	Instrument readings						Reading of the unknown	Calculated concentration		X	Y	X*Y	X*X	X^3	X^4	X^2y
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
			Resduals					0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
								0	0	0	0	0
			Residuals:		Standard deviation =		#DIV/0!	R2 =	#DIV/0!
Instructions

	1. Enter the concentrations		2. Enter the			(To delete a value, click		3. The concentrations
	of the standards and their		Instrument readings			on the cell and press		of the unknowns are
	instrument readings		of the unknowns			the space bar).		calculated in column K
	into the blue table.		into the yellow table.					(Calculated concentrations)

y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!	<== Equation of best fit.

Warning: Messy math follows.
Summary of equations:
B28	n=number of x,y data points
B27	sumx=Σx
C27	sumy=Σy
D27	sumxy=Σx*y
E27	sumx2=Σx*x
F27	sumx3=Σx^3
G27	sumx3=Σx^4
H27	sumx2y=Σ(x^2)*y
B30	D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
B31	a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
B32	b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
B33	c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D

Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c								Note: The if( ) functions in some of the cells
sums	sumx	sumy	sumxy	sumx2	ssy	ssr	sumx2y		are not part of the actual numerical calculation.
	ΣX	ΣY	Σ(X*Y)	Σ(X*X)	Σ(X^3)	Σ(X^4)	Σ(X^2)*y		Their purpose is simply to blank out or zero
	0.0000	0.0000	0.000	0.000	0.00	0.00	0.00		out cells that are not being used at the moment
n	0	(number of points (n)

D	0.00	Denominator (D)
a=	#DIV/0!	(coefficient of the X2 term; equals zero if best-fit line is straight)
b=	#DIV/0!	(coefficient of the X term, like the slope)
c=	#DIV/0!	(the constant, like the intercept)
y=	#DIV/0!	X^2	+	#DIV/0!	x	+	#DIV/0!	<== Equation of best fit.

	Calculation of R2
	Σ(Y-meany)^2	PredY		Σ(Y-PredY)^2		Σ(meanY-PredY)^2		R2 =1-(Σ(Y-PredY)^2/Σ(meanY-PredY)^2)
	0.0000	0.0000		0.0000		0.000		#DIV/0!
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.0000	0.0000		0.0000		0.000
	0.000	0.000		0.000		0.000

	© Tom O'Haver, Version 2.1, July 2011
	Rights granted for educational purposes

## Sheet2
Data for fitted curve plot				Residual calculations
point	X	Ypredicted		Concentrations of the standards	Predicted readings	Actual-predicted	Residuals (% of max reading)
1	0.00	#DIV/0!			#DIV/0!	#DIV/0!
2	0.00	#DIV/0!			#DIV/0!	#DIV/0!
3	0.00	#DIV/0!			#DIV/0!	#DIV/0!
4	0.00	#DIV/0!			#DIV/0!	#DIV/0!
5	0.00	#DIV/0!			#DIV/0!	#DIV/0!
6	0.00	#DIV/0!			#DIV/0!	#DIV/0!
7	0.00	#DIV/0!			#DIV/0!	#DIV/0!
8	0.00	#DIV/0!			#DIV/0!	#DIV/0!
9	0.00	#DIV/0!			#DIV/0!	#DIV/0!
10	0.00	#DIV/0!			#DIV/0!	#DIV/0!
11	0.00	#DIV/0!			#DIV/0!	#DIV/0!
12	0.00	#DIV/0!			#DIV/0!	#DIV/0!
13	0.00	#DIV/0!			#DIV/0!	#DIV/0!
14	0.00	#DIV/0!			#DIV/0!	#DIV/0!
15	0.00	#DIV/0!			#DIV/0!	#DIV/0!
16	0.00	#DIV/0!			#DIV/0!	#DIV/0!
17	0.00	#DIV/0!			#DIV/0!	#DIV/0!
18	0.00	#DIV/0!			#DIV/0!	#DIV/0!
19	0.00	#DIV/0!			#DIV/0!	#DIV/0!
20	0.00	#DIV/0!			#DIV/0!	#DIV/0!
21	0.00	#DIV/0!
22	0.00	#DIV/0!
23	0.00	#DIV/0!
24	0.00	#DIV/0!
25	0.00	#DIV/0!
26	0.00	#DIV/0!
27	0.00	#DIV/0!
28	0.00	#DIV/0!
29	0.00	#DIV/0!