## Sheet1
Analytical calibration using a quadratic curve fit. | [15 empty] | © Tom O'Haver, Version 2.1, July 2011, expanded June 2013
| Calibration data | [5 empty] | Application to unknowns | [8 empty] | See: | http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html
|  |  | accuracy | % error
| Standards | Instrument readings | #DIV/0! | #DIV/0! |  |  | Reading of the unknown | Calculated concentration | X | Y | X*Y | X*X | X^3 | X^4 | X^2y
| 0 | 0 | 100% | 0% |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Warning: Messy math follows.
| 1 | 1.95 | 100% | 0% |  |  | 1.95 | 1 | 1 | 1.95 | 1.95 | 1 | 1 | 1 | 1.95 | Summary of equations:
| 2 | 3.8 | 100% | 0% |  |  | 3.8 | 2 | 2 | 3.8 | 7.6 | 4 | 8 | 16 | 15.2 | B28 | n=number of x,y data points
| 3 | 5.55 | 100% | 0% |  |  | 5.55 | 3 | 3 | 5.55 | 16.65 | 9 | 27 | 81 | 49.95 | B27 | sumx=?x
| 4 | 7.2 | 100% | 0% |  |  | 7.2 | 4 | 4 | 7.2 | 28.8 | 16 | 64 | 256 | 115.2 | C27 | sumy=?y
| 5 | 8.75 | 100% | 0% |  |  | 8.75 | 5 | 5 | 8.75 | 43.75 | 25 | 125 | 625 | 218.75 | D27 | sumxy=?x*y
| 6 | 10.2 | 100% | 0% |  |  | 10.2 | 6 | 6 | 10.2 | 61.2 | 36 | 216 | 1296 | 367.2 | E27 | sumx2=?x*x
| 7 | 11.55 | 100% | 0% |  |  | 11.55 | 7 | 7 | 11.55 | 80.85 | 49 | 343 | 2401 | 565.95 | F27 | sumx3=?x^3
| 8 | 12.8 | 100% | 0% |  |  | 12.8 | 8 | 8 | 12.8 | 102.4 | 64 | 512 | 4096 | 819.2 | G27 | sumx3=?x^4
| 9 | 13.95 | 100% | 0% |  |  | 13.95 | 9 | 9 | 13.95 | 125.55 | 81 | 729 | 6561 | 1129.95 | H27 | sumx2y=?(x^2)*y
| 10 | 15 |  |  |  |  | 15 | 10 | 10 | 15 | 150 | 100 | 1000 | 10000 | 1500 | B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Calculations of the coefficients a,b, and c of the best-fit parabola y=ax^2+bx+c | [8 empty] | Note: The if( ) functions in some of the cells
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | sums | sumx | sumy | sumxy | sumx2 | ssy | ssr | sumx2y |  | are not part of the actual numerical calculation.
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?X | ?Y | ?(X*Y) | ?(X*X) | ?(X^3) | ?(X^4) | ?(X^2)*y |  | Their purpose is simply to blank out or zero
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 55 | 90.75 | 618.75 | 385 | 3025 | 25333 | 4783.35 |  | out cells that are not being used at the moment
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | n | 11 | (number of points (n)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | D | 1038180 | Denominator (D)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | a= | -0.05 | (coefficient of the X2 term; equals zero if best-fit line is straight)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | b= | 2 | (coefficient of the X term, like the slope)
[5 empty] | Average deviation of standards: | #DIV/0! |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | c= | 0 | (the constant, like the intercept)
[5 empty] | R2 = | 1 |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | y= | -0.05 | X^2 | + | 2 | x | + | 0 | <== Equation of best fit.
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | Calculation of R2
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | ?(Y-meany)^2 | PredY |  | ?(Y-PredY)^2 |  | ?(meanY-PredY)^2 |  | R2 =1-(?(Y-PredY)^2/?(meanY-PredY)^2)
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 68.0625 | 0 |  | 0 |  | 68.0625 |  | 1
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 39.69 | 1.95 |  | 0 |  | 39.69
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 19.8025 | 3.8 |  | 0 |  | 19.8025
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 7.29 | 5.55 |  | 0 |  | 7.29
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 1.1025 | 7.2 |  | 0 |  | 1.1025
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.25 | 8.75 |  | 0 |  | 0.25
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 3.8025 | 10.2 |  | 0 |  | 3.8025
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 10.89 | 11.55 |  | 0 |  | 10.89
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 20.7025 | 12.8 |  | 0 |  | 20.7025
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 32.49 | 13.95 |  | 0 |  | 32.49
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 45.5625 | 15 |  | 0 |  | 45.5625
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[9 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 0 | 0 |  | 0 |  | 0
[17 empty] | 249.645 | 90.75 |  | 0 |  | 249.645
© Tom O'Haver, Version 2.1, July 2011, expanded June 2013
Rights granted for educational purposes
http://terpconnect.umd.edu/~toh/models/CalibrationCurve.html

## Sheet2
Data for fitted curve plot |  |  | Residual calculations
point | X | Ypredicted | Concentrations of the standards | Predicted readings | Actual-predicted | Residuals (% of max reading)
1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0.2 | 0.398 | 1 | 1.95 | 0 | 0
3 | 0.4 | 0.792 | 2 | 3.8 | 0 | 0
4 | 0.6 | 1.182 | 3 | 5.55 | 0 | 0
5 | 0.8 | 1.568 | 4 | 7.2 | 0 | 0
6 | 1 | 1.95 | 5 | 8.75 | 0 | 0
7 | 1.2 | 2.328 | 6 | 10.2 | 0 | 0
8 | 1.4 | 2.702 | 7 | 11.55 | 0 | 0
9 | 1.6 | 3.072 | 8 | 12.8 | 0 | 0
10 | 1.8 | 3.438 | 9 | 13.95 | 0 | 0
11 | 2 | 3.8 | 10 | 15 | 0 | 0
12 | 2.2 | 4.158 |  |  | #VALUE!
13 | 2.4 | 4.512 |  |  | #VALUE!
14 | 2.6 | 4.862 |  |  | #VALUE!
15 | 2.8 | 5.208 |  |  | #VALUE!
16 | 3 | 5.55 |  |  | #VALUE!
17 | 3.2 | 5.888 |  |  | #VALUE!
18 | 3.4 | 6.222 |  |  | #VALUE!
19 | 3.6 | 6.552 |  |  | #VALUE!
20 | 3.8 | 6.878 |  |  | #VALUE!
21 | 4 | 7.2 |  |  | #VALUE!
22 | 4.2 | 7.518 |  |  | #VALUE!
23 | 4.4 | 7.832 |  |  | #VALUE!
24 | 4.6 | 8.142 |  |  | #VALUE!
25 | 4.8 | 8.448 |  |  | #VALUE!
26 | 5 | 8.75 |  |  | #VALUE!
27 | 5.2 | 9.048 |  |  | #VALUE!
28 | 5.4 | 9.342 |  |  | #VALUE!
29 | 5.6 | 9.632 |  |  | #VALUE!
30 | 5.8 | 9.918 |  |  | #VALUE!
31 | 6 | 10.2 |  |  | #VALUE!
32 | 6.2 | 10.478 |  |  | #VALUE!
33 | 6.4 | 10.752 |  |  | #VALUE!
34 | 6.6 | 11.022 |  |  | #VALUE!
35 | 6.8 | 11.288 |  |  | #VALUE!
36 | 7 | 11.55 |  |  | #VALUE!
37 | 7.2 | 11.808 |  |  | #VALUE!
38 | 7.4 | 12.062 |  |  | #VALUE!
39 | 7.6 | 12.312 |  |  | #VALUE!
40 | 7.8 | 12.558 |  |  | #VALUE!
41 | 8 | 12.8 |  |  | #VALUE!
42 | 8.2 | 13.038 |  |  | #VALUE!
43 | 8.4 | 13.272 |  |  | #VALUE!
44 | 8.6 | 13.502 |  |  | #VALUE!
45 | 8.8 | 13.728 |  |  | #VALUE!
46 | 9 | 13.95
47 | 9.2 | 14.168
48 | 9.4 | 14.382
49 | 9.6 | 14.592
50 | 10 | 15