## Sheet1
Analytical calibration using a reversed quadratic curve fit
| Calibration data |  | See https://terpconnect.umd.edu/~toh/models/CalibrationCurve.html |  |  |  |  | Application to unknowns
| Concentrations of the standards | Instrument readings | y^2 | Y^3 | Error |  |  | Reading of the unknown | Calculated concentration
| 0 | 0 | 0 |  | -0.6891% | 0.068909 | #DIV/0! | 0 | 0.068909
| 1 | 1.95 | 3.8025 |  | 0.1824% | 0.98176 | 0.018238 | 1.95 | 0.98176
| 2 | 3.8 | 14.44 |  | 0.4627% | 1.9537 | 0.023135 | 3.8 | 1.9537
| 3 | 5.55 | 30.8025 |  | 0.3191% | 2.9681 | 0.010638 | 5.55 | 2.9681
| 4 | 7.2 | 51.84 |  | -0.09009% | 4.009 | -0.0022523 | 7.2 | 4.009
| 5 | 8.75 | 76.5625 |  | -0.6158% | 5.0616 | -0.012317 | 8.75 | 5.0616
| 6 | 10.2 | 104.04 |  | -1.118% | 6.1118 | -0.018632 | 10.2 | 6.1118
| 7 | 11.55 | 133.4025 |  | -1.465% | 7.1465 | -0.020933 | 11.55 | 7.1465
| 8 | 12.8 | 163.84 |  | -1.536% | 8.1536 | -0.019199 | 12.8 | 8.1536
| 9 | 13.95 | 194.6025 |  | -1.217% | 9.1217 | -0.01352 | 13.95 | 9.1217
| 10 | 15 | 225 |  | -0.4039% | 10.0404 | -0.004039 | 15 | 10.0404
| 0 | 0.1 | 0.01 |  | -1.129% | 0.11293 | #DIV/0!
| 1 | 1.9 | 3.61 |  | 0.4308% | 0.95692 | 0.043076
| 2 | 4 | 16 |  | -0.6498% | 2.065 | -0.032492
| 3 | 5 | 25 |  | 3.607% | 2.6393 | 0.12022
| 4 | 7 | 49 |  | 1.215% | 3.8785 | 0.030383
| 5 | 9 | 81 |  | -2.381% | 5.2381 | -0.047627
| 6 | 10 | 100 |  | 0.3683% | 5.9632 | 0.0061383
| 7 | 11.2 | 125.44 |  | 1.27% | 6.873 | 0.018144
| 8 | 13 | 169 |  | -3.191% | 8.3191 | -0.039887
| 9 | 13.5 | 182.25 |  | 2.619% | 8.7381 | 0.029098
| 10 | 14.5 | 210.25 |  | 4.012% | 9.5988 | 0.040123
|  |  | 0 |  |  | 0.068909 | #DIV/0! |  |  |  |  | Average deviation of standards: | 1.317%
|  |  | 0 |  |  | 0.068909 | #DIV/0! |  |  |  |  | R2 = | 0.99702
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
|  |  | 0 |  |  | 0.068909 | #DIV/0!
0
0
0
0
0
0
|  |  | 0 | 0
|  | © Tom O'Haver, October 2008, expanded June 2013 | [7 empty] | #REF! | #REF!
|  | Rights granted for educational purposes | [7 empty] | #REF! | #REF!
[10 empty] | #REF! | #REF!
Instructions
| 1. Enter the concentrations |  |  |  | 2. Enter the |  | (To delete a value, right-click | 3. The concentrations |  | 4.The last two columns
| of the standards and their |  |  |  | instrument readings |  | on the cell and click | of the unknowns are |  | lists the uncertainties
| instrument readings |  |  |  | of the unknowns and their |  | the Clear Contents). | calculated in column L |  | of the calculated
| into the blue table. |  |  |  | uncertainties (if known) |  |  | (Calculated concentrations) |  | concentrations.
into the yellow table.
Note: The if( ) functions in some of the cells
are not part of the actual numerical calculation.
Their purpose is simply to blank out or zero
out cells that are not being used at the moment.

## Sheet2
Data for fitted curve plot |  |  | Residual calculations |  |  |  | Uncertainty calculations
point | Instrument readings | C predicted | readings of the standards | Predicted conc | Actual-predicted | Residuals (% of max reading) | Instrument reading + uncertainiy | Calculated concentration | Instrument reading - uncertainiy | Calculated concentration | Concentration uncertainty
1 | 0 | 0.068909 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
2 | 0.39474 | 0.24445 | 1.95 | 0.98176 | 0.018238 | -0.1816% | 1.952 | 0.98274 | 1.948 | 0.98078 | 0.0009828
3 | 0.78947 | 0.42468 | 3.8 | 1.9537 | 0.046271 | -0.4608% | 3.802 | 1.9548 | 3.798 | 1.9526 | 0.0010929
4 | 1.1842 | 0.60961 | 5.55 | 2.9681 | 0.031914 | -0.3179% | 5.552 | 2.9693 | 5.548 | 2.9669 | 0.0011971
5 | 1.5789 | 0.79923 | 7.2 | 4.009 | -0.0090091 | 0.08973% | 7.202 | 4.0103 | 7.198 | 4.0077 | 0.0012953
6 | 1.9737 | 0.99355 | 8.75 | 5.0616 | -0.061583 | 0.6134% | 8.752 | 5.063 | 8.748 | 5.0602 | 0.0013876
7 | 2.3684 | 1.1926 | 10.2 | 6.1118 | -0.11179 | 1.113% | 10.202 | 6.1133 | 10.198 | 6.1103 | 0.0014739
8 | 2.7632 | 1.3963 | 11.55 | 7.1465 | -0.14653 | 1.459% | 11.552 | 7.1481 | 11.548 | 7.145 | 0.0015543
9 | 3.1579 | 1.6047 | 12.8 | 8.1536 | -0.1536 | 1.53% | 12.802 | 8.1552 | 12.798 | 8.152 | 0.0016287
10 | 3.5526 | 1.8178 | 13.95 | 9.1217 | -0.12168 | 1.212% | 13.952 | 9.1234 | 13.948 | 9.12 | 0.0016972
11 | 3.9474 | 2.0356 | 15 | 10.0404 | -0.04039 | 0.4023% | 15.002 | 10.0421 | 14.998 | 10.0386 | 0.0017597
12 | 4.3421 | 2.2581 | 0.1 | 0.11293 | -0.11293 | 1.125% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
13 | 4.7368 | 2.4853 | 1.9 | 0.95692 | 0.043076 | -0.429% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
14 | 5.1316 | 2.7172 | 4 | 2.065 | -0.064985 | 0.6472% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
15 | 5.5263 | 2.9537 | 5 | 2.6393 | 0.36066 | -3.592% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
16 | 5.9211 | 3.195 | 7 | 3.8785 | 0.12153 | -1.21% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
17 | 6.3158 | 3.441 | 9 | 5.2381 | -0.23813 | 2.372% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
18 | 6.7105 | 3.6917 | 10 | 5.9632 | 0.03683 | -0.3668% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
19 | 7.1053 | 3.947 | 11.2 | 6.873 | 0.12701 | -1.265% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
20 | 7.5 | 4.2071 | 13 | 8.3191 | -0.3191 | 3.178% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
21 | 7.8947 | 4.4718 | 13.5 | 8.7381 | 0.26188 | -2.608% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
22 | 8.2895 | 4.7413 | 14.5 | 9.5988 | 0.40123 | -3.996% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
23 | 8.6842 | 5.0154 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
24 | 9.0789 | 5.2943 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
25 | 9.4737 | 5.5778 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
26 | 9.8684 | 5.866 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
27 | 10.2632 | 6.159 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
28 | 10.6579 | 6.4566 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
29 | 11.0526 | 6.7589 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
30 | 11.4474 | 7.0659 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
31 | 11.8421 | 7.3777 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
32 | 12.2368 | 7.6941 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
33 | 12.6316 | 8.0152 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
34 | 13.0263 | 8.341 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
35 | 13.4211 | 8.6715 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
36 | 13.8158 | 9.0066 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
37 | 14.2105 | 9.3465 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
29 | 15 | 10.0404 | 0 | 0.068909 | -0.068909 | 0.6863% | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671
[7 empty] | 0.0019754 | 0.069776 | -0.0019754 | 0.068042 | 0.00086671

## Sheet3
|  |  | LINEST function array for a calibration with number of points = |  |  |  |  | 22
LINEST(Sheet1.B6:B16;Sheet1.C6:E16;1;1)
Statistics results table
[5 empty] | number of points | a | b | c | d
last row of Xs and Ys |  |  |  |  | 22 | 0.015068 | 0.43875 | 0.068909 | #N/A | Coefficients
9 | 0.0078957 | 0.49656 | 0.00040379 | #N/A |  | 0.0020712 | 0.032567 | 0.10772 | #N/A | Standard deviations
| 0.00028672 | 0.0016549 | 0.001919 | #N/A |  | 0.99702 | 0.18572 |  |  | R2, sigma-y
| 1 | 0.001961 | #N/A | #N/A |  | 3179.5048 | 19 |  |  | F, dF
| 650085.75 | 1 | #N/A | #N/A |  | 219.3446 | 0.65538 |  |  | Ssreg, Ssresid
| 5 | 3.8456e-06 | #N/A | #N/A
10 | 0.0085618 | 0.4934 | 0.0016871 | #N/A
| 0.00034194 | 0.0025639 | 0.0039373 | #N/A
| 1 | 0.0041421 | #N/A | #N/A
| 291427.526 | 2 | #N/A | #N/A
| 10 | 3.4314e-05 | #N/A | #N/A
11 | 0.0085618 | 0.4934 | 0.0016871 | #N/A
| 0.00034194 | 0.0025639 | 0.0039373 | #N/A
| 1 | 0.0041421 | #N/A | #N/A
| 291427.526 | 2 | #N/A | #N/A
| 10 | 3.4314e-05 | #N/A | #N/A
12 | 0.010125 | 0.48292 | 0.0092197 | #N/A
| 0.00048011 | 0.0051198 | 0.011375 | #N/A
| 0.99998 | 0.012708 | #N/A | #N/A
| 86683.7494 | 4 | #N/A | #N/A
| 27.9994 | 0.00064601 | #N/A | #N/A
13 | 0.011044 | 0.47516 | 0.016882 | #N/A
| 0.00056705 | 0.0068658 | 0.017409 | #N/A
| 0.99995 | 0.019999 | #N/A | #N/A
| 52503.9355 | 5 | #N/A | #N/A
| 41.998 | 0.0019998 | #N/A | #N/A
14 | 0.01207 | 0.46537 | 0.028275 | #N/A
| 0.00066928 | 0.0090091 | 0.025502 | #N/A
| 0.99991 | 0.030058 | #N/A | #N/A
| 33202.5966 | 6 | #N/A | #N/A
| 59.9946 | 0.0054208 | #N/A | #N/A
15 | 0.01322 | 0.45323 | 0.044413 | #N/A
| 0.0007901 | 0.011633 | 0.036142 | #N/A
| 0.99984 | 0.04361 | #N/A | #N/A
| 21686.0713 | 7 | #N/A | #N/A
| 82.4867 | 0.013313 | #N/A | #N/A
16 | 0.014511 | 0.43837 | 0.06646 | #N/A
| 0.00093357 | 0.014839 | 0.049924 | #N/A
| 0.99972 | 0.061535 | #N/A | #N/A
| 14520.8368 | 8 | #N/A | #N/A
| 109.9697 | 0.030293 | #N/A | #N/A
17 | 0.013976 | 0.4488 | 0.022858 | #N/A
| 0.00089777 | 0.013539 | 0.041218 | #N/A
| 0.99972 | 0.064798 | #N/A | #N/A
| 15823.3127 | 9 | #N/A | #N/A
| 132.8789 | 0.037789 | #N/A | #N/A
18 | 0.014008 | 0.44719 | 0.03752 | #N/A
| 0.00090157 | 0.013516 | 0.038954 | #N/A
| 0.99971 | 0.065111 | #N/A | #N/A
| 17068.9684 | 10 | #N/A | #N/A
| 144.7268 | 0.042395 | #N/A | #N/A
19 | 0.01414 | 0.44569 | 0.034731 | #N/A
| 0.00086339 | 0.01306 | 0.037906 | #N/A
| 0.9997 | 0.063674 | #N/A | #N/A
| 18457.904 | 11 | #N/A | #N/A
| 149.6697 | 0.044598 | #N/A | #N/A
20 | 0.01293 | 0.46154 | 0.036891 | #N/A
| 0.0015715 | 0.023969 | 0.071256 | #N/A
| 0.99886 | 0.1197 | #N/A | #N/A
| 5261.0175 | 12 | #N/A | #N/A
| 150.7614 | 0.17194 | #N/A | #N/A
21 | 0.012583 | 0.46669 | 0.031715 | #N/A
| 0.0014804 | 0.022633 | 0.069793 | #N/A
| 0.99881 | 0.11778 | #N/A | #N/A
| 5434.2259 | 13 | #N/A | #N/A
| 150.7572 | 0.18032 | #N/A | #N/A
22 | 0.013267 | 0.45526 | 0.048908 | #N/A
| 0.0015872 | 0.024131 | 0.076321 | #N/A
| 0.99845 | 0.12978 | #N/A | #N/A
| 4498.3537 | 14 | #N/A | #N/A
| 151.5289 | 0.2358 | #N/A | #N/A
23 | 0.013134 | 0.45775 | 0.044609 | #N/A
| 0.0015284 | 0.023078 | 0.074022 | #N/A
| 0.99845 | 0.1266 | #N/A | #N/A
| 4831.1707 | 15 | #N/A | #N/A
| 154.8707 | 0.24042 | #N/A | #N/A
24 | 0.013024 | 0.46119 | 0.037153 | #N/A
| 0.0015663 | 0.023542 | 0.075755 | #N/A
| 0.99834 | 0.12992 | #N/A | #N/A
| 4802.951 | 16 | #N/A | #N/A
| 162.151 | 0.27009 | #N/A | #N/A
25 | 0.012633 | 0.46384 | 0.035977 | #N/A
| 0.0016276 | 0.024686 | 0.079616 | #N/A
| 0.99819 | 0.13655 | #N/A | #N/A
| 4682.7812 | 17 | #N/A | #N/A
| 174.633 | 0.31699 | #N/A | #N/A
26 | 0.013487 | 0.45621 | 0.04389 | #N/A
| 0.0018539 | 0.028479 | 0.092394 | #N/A
| 0.99766 | 0.15857 | #N/A | #N/A
| 3844.6985 | 18 | #N/A | #N/A
| 193.3569 | 0.45263 | #N/A | #N/A
27 | 0.015068 | 0.43875 | 0.068909 | #N/A
| 0.0020712 | 0.032567 | 0.10772 | #N/A
| 0.99702 | 0.18572 | #N/A | #N/A
| 3179.5048 | 19 | #N/A | #N/A
| 219.3446 | 0.65538 | #N/A | #N/A
28 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
29 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
30 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
31 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
32 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
33 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
34 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
35 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
36 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
37 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
38 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
39 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
40 | #NAME? | #NAME? | #NAME? | #NAME?
| #NAME? | #NAME? | #NAME? | #NAME?
| #NAME? | #NAME? | #NAME? | #NAME?
| #NAME? | #NAME? | #NAME? | #NAME?
| #NAME? | #NAME? | #NAME? | #NAME?
41 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
42 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!
| #VALUE! | #VALUE! | #VALUE! | #VALUE!