## Sheet1
Effect of slit width on signal-to-noise ratio in emission spectroscopy
	Change slit width and observe effect on noise and signal-to-noise ratio (SNR)
	slit	analyte	background	analyte	background	detector
	width	radiance	radiance	flicker factor	flicker factor	noise
	0.06	1000	1000	0.10	0.10	10
	6
		signal	shot noise	flicker noise	total noise	signal/noise	signal/background
	Analyte	60.0	7.7	6.0	14.13	4.25	16.67
	Background	3.6	1.9	0.4
	Noise budget / Noise level			Signal with noise / Time / Signal

	© T. C. O'Haver, 2009
	1.00

			photon	flicker	detector
			9.64	6.36	10.00

	1.00	0.00	0.00	5.60	1.00	10
	1.84	0.00	0.00	6.24	1.84	7
	2.68	0.00	0.00	5.80	2.68	30
	3.53	0.00	0.00	6.35	3.53	41
	4.37	0.00	0.00	6.79	4.37	18
	5.21	0.00	0.00	6.37	5.21	29
	6.05	0.00	0.00	5.60	6.05	40
	6.89	0.00	0.00	7.30	6.89	38
	7.74	0.00	0.00	5.70	7.74	13
	8.58	0.00	0.00	6.90	8.58	19
	9.42	0.00	0.00	5.48	9.42	13
	10.26	0.00	0.00	5.18	10.26	27
	11.11	0.00	0.00	5.24	11.11	21
	11.95	0.00	0.00	6.56	11.95	45
	12.79	0.00	0.00	5.28	12.79	22
	13.63	60.00	67.72	6.32	13.63	95
	14.47	60.00	70.10	5.20	14.47	90
	15.32	60.00	61.38	6.82	15.32	77
	16.16	60.00	65.24	7.21	16.16	86
	17.00	60.00	62.10	7.84	17.00	85
	17.84	60.00	69.41	5.81	17.84	103
	18.68	60.00	65.46	5.52	18.68	90
	19.53	60.00	66.89	7.10	19.53	105
	20.37	60.00	63.05	7.25	20.37	86
	21.21	60.00	67.72	7.30	21.21	106
	22.05	60.00	60.95	5.67	22.05	94
	22.89	60.00	61.07	5.81	22.89	89
	23.74	0.00	0.00	6.47	23.74	41
	24.58	0.00	0.00	5.59	24.58	10
	25.42	0.00	0.00	5.90	25.42	32
	26.26	0.00	0.00	5.17	26.26	43
	27.11	0.00	0.00	5.28	27.11	12
	27.95	0.00	0.00	5.36	27.95	44
	28.79	0.00	0.00	4.07	28.79	24
	29.63	0.00	0.00	5.04	29.63	20
	30.47	0.00	0.00	6.42	30.47	28
	31.32	0.00	0.00	5.86	31.32	37
	32.16	0.00	0.00	6.35	32.16	13
	33.00	0.00	0.00	7.18	33.00	36