## Sheet1
Effect of slit width on signal-to-noise ratio in emission spectroscopy
Change slit width and observe effect on noise and signal-to-noise ratio (SNR)
| slit | analyte | background | analyte | background | detector
| width | radiance | radiance | flicker factor | flicker factor | noise
| 0.32 | 1000 | 1000 | 0.1 | 0.1 | 10
32
|  | signal | shot noise | flicker noise | total noise | signal/noise | signal/background
| Analyte | 320 | 17.8885 | 32 | 40.6357 | 7.8749 | 3.125
| Background | 102.4 | 10.1193 | 10.24
© T. C. O'Haver, 2009, 2013
1
Noise Budget
|  |  | photon | flicker | detector
|  |  | 28.0078 | 42.24 | 10
Data for time-signal graph
| 1 | 0 | 0 | 128.6557 | 1 | 165.8073
| 1.8421 | 0 | 0 | 102.8552 | 1.8421 | 111.2529
| 2.6842 | 0 | 0 | 119.3441 | 2.6842 | 157.4265
| 3.5263 | 0 | 0 | 97.3244 | 3.5263 | 103.3712
| 4.3684 | 0 | 0 | 126.3079 | 4.3684 | 152.4172
| 5.2105 | 0 | 0 | 136.1902 | 5.2105 | 140.1115
| 6.0526 | 0 | 0 | 109.8657 | 6.0526 | 132.3866
| 6.8947 | 0 | 0 | 110.7683 | 6.8947 | 122.3717
| 7.7368 | 0 | 0 | 92.5943 | 7.7368 | 118.2824
| 8.5789 | 0 | 0 | 116.9537 | 8.5789 | 127.3105
| 9.4211 | 0 | 0 | 121.8213 | 9.4211 | 146.9131
| 10.2632 | 0 | 0 | 128.8532 | 10.2632 | 132.0875
| 11.1053 | 0 | 0 | 102.8011 | 11.1053 | 140.4048
| 11.9474 | 0 | 0 | 127.677 | 11.9474 | 159.9942
| 12.7895 | 0 | 0 | 135.2086 | 12.7895 | 153.2822
| 13.6316 | 320 | 326.5413 | 129.5228 | 13.6316 | 482.1435
| 14.4737 | 320 | 344.3825 | 135.9575 | 14.4737 | 510.1651
| 15.3158 | 320 | 330.1153 | 114.0219 | 15.3158 | 448.922
| 16.1579 | 320 | 343.1102 | 96.387 | 16.1579 | 445.1962
| 17 | 320 | 334.4546 | 107.8642 | 17 | 462.145
| 17.8421 | 320 | 322.0847 | 99.9398 | 17.8421 | 427.8188
| 18.6842 | 320 | 327.8913 | 129.8282 | 18.6842 | 497.1957
| 19.5263 | 320 | 340.1403 | 116.6746 | 19.5263 | 491.4549
| 20.3684 | 320 | 351.9607 | 106.6692 | 20.3684 | 472.6117
| 21.2105 | 320 | 331.7818 | 129.236 | 21.2105 | 472.0506
| 22.0526 | 320 | 346.0291 | 107.1121 | 22.0526 | 455.0712
| 22.8947 | 320 | 327.082 | 108.4604 | 22.8947 | 443.0797
| 23.7368 | 0 | 0 | 127.9731 | 23.7368 | 162.1422
| 24.5789 | 0 | 0 | 112.5414 | 24.5789 | 147.8337
| 25.4211 | 0 | 0 | 86.7675 | 25.4211 | 110.0738
| 26.2632 | 0 | 0 | 105.0344 | 26.2632 | 139.5546
| 27.1053 | 0 | 0 | 122.8447 | 27.1053 | 159.2046
| 27.9474 | 0 | 0 | 107.5569 | 27.9474 | 136.0964
| 28.7895 | 0 | 0 | 133.6282 | 28.7895 | 152.8838
| 29.6316 | 0 | 0 | 126.9557 | 29.6316 | 145.3554
| 30.4737 | 0 | 0 | 133.4051 | 30.4737 | 143.4857
| 31.3158 | 0 | 0 | 122.5837 | 31.3158 | 147.6272
| 32.1579 | 0 | 0 | 113.5715 | 32.1579 | 122.1662
| 33 | 0 | 0 | 104.5748 | 33 | 126.0684