## Sheet1
	Simulation of calibration with a single standard					Interference factor (zero => no interference)
	variable	value	description		z		0
	mo	2.0000	Analytical curve slope without interference				Analytical curve non-linearity (0 = linear)
	z	0.0000	Interference factor (zero => no interference)		n
	n	0.0000	Analytical curve non-linearity (0 = linear)				True analyte concentration in sample
	Ev	0.0000	Random volumetric error (% RSD )		Cx
	Es	0.0000	Signal measurement error (% RSD)				Concentration of standard solution
	Cx	10.0000	True analyte concentration in sample		Cs
	Cs	10.0000	Concentration of standard solution 1	Analytical Curve / Red=standard Yellow=sample Green=calculated / Concentration / Signal

	blank	0.0000	(Uncorrected) blank signal

	Computed results

	Ss	20.0000	Signal given by the standard
	Sx	20.0000	Signal given by the unknown sample
	m	2.0000	Analytical curve slope in actual sample
	result	10.0000	Calculated concentration of unknown
	error	0.00%	% difference between result and true Cx
	recovery	100.00%	Relative % effect of interference on signal
	Est. RSD	0.0%	Predicted relative standard deviation of result
	Statistics
	Mean	10.0000	Average result of 20 repeat measurements
100	s	0.000	Standard deviation of the 20 results
	% RSD	0.0%	Relative standard deviation of 20 results
100	Error	0.00%	% difference between mean and true Cx

52
	Analytical curve (blue line)
0	0	0.0000
	1	2.0000
	2	4.0000
	3	6.0000
	4	8.0000
	5	10.0000
	6	12.0000
	7	14.0000
	8	16.0000
	9	18.0000
	10	20.0000

	Standards (Red triangles)
	10.0000	20.0000

	Sample (Yellow triangle)
	10.0000	20.0000

	Calculated sample
	10	20					Statistics calculations			Ss	Cs	Sx	result
				Run number	result		20.0000	10.0000	20.0000	10.0000
				1	10.0000		20.0000	10.0000	20.0000	10.0000
	Tom O'Haver (toh@umd.edu), December, 2008					2	10.0000		20.0000	10.0000	20.0000	10.0000
				3	10.0000		20.0000	10.0000	20.0000	10.0000
				4	10.0000		20.0000	10.0000	20.0000	10.0000
				5	10.0000		20.0000	10.0000	20.0000	10.0000
				6	10.0000		20.0000	10.0000	20.0000	10.0000
				7	10.0000		20.0000	10.0000	20.0000	10.0000
				8	10.0000		20.0000	10.0000	20.0000	10.0000
				9	10.0000		20.0000	10.0000	20.0000	10.0000
				10	10.0000		20.0000	10.0000	20.0000	10.0000
				11	10.0000		20.0000	10.0000	20.0000	10.0000
				12	10.0000		20.0000	10.0000	20.0000	10.0000
				13	10.0000		20.0000	10.0000	20.0000	10.0000
				14	10.0000		20.0000	10.0000	20.0000	10.0000
				15	10.0000		20.0000	10.0000	20.0000	10.0000
				16	10.0000		20.0000	10.0000	20.0000	10.0000
				17	10.0000		20.0000	10.0000	20.0000	10.0000
				18	10.0000		20.0000	10.0000	20.0000	10.0000
				19	10.0000		20.0000	10.0000	20.0000	10.0000
				20	10.0000
				Mean	10.000	10
				s	0.0000
				% RSD	0.00%
				Accuracy	0.00%