## Sheet1
	Simulation of Multiple Standard Addition Method
	variable	value	description				Interference factor (center = no interference)
	mo	1.0000	Analytical curve slope without interference		z		0
	z	0.0000	Interference factor (zero => no interference)				Analytical curve non-linearity (0 = linear)
	n	0.0000	Analytical curve non-linearity (0 = linear)		n
	Ev	0.0000	Random volumetric error (% RSD )				True analyte concentration in sample
	Es	0.0000	Signal measurement error (% RSD)		Cx
	Cx	10.0000	True analyte concentration in sample				Concentration of highest added standard
	Cs	20.0000	Concentration of highest added standard		Cs
	ns	10	Number of standard additions	Analytical Curve / Red=standards Green=true sample concentration / Concentration / Signal
	blank	0.0000	Additive interference

	Computed results based on single calibration curve shown
	slope	1.0000	Slope of standard addition signals
	intercept	10.0000	Intercept of standard addition signals
	Sx	10.0000	Signal given by sample without addition
	m	1.0000	Analytical curve slope in actual sample
	result	10.0000	Calculated concentration of unknown
	error	0.00%	% difference between result and true Cx
	recovery	100.00%	Relative % effect of interference on signal
	Est. RSD	0.0%	Predicted relative standard deviation of result
	Statistics		Statistics of 20 repeat experiments (separate calibrations and measurements)
	Mean	10.0000	Average of 20 results
100	s	0.000	Standard deviation of the 20 results
	% RSD	0.0%	Relative standard deviation of 20 results
100	Error	0.00%	% difference between mean and true Cx
	Tom O'Haver (toh@umd.edu), June 2009					R2=	1.0000
52
	Analytical curve (blue line)
0	0	0.0000
	1	1.0000
	2	2.0000
	3	3.0000
	4	4.0000
	5	5.0000
	6	6.0000
	7	7.0000
	8	8.0000
	9	9.0000
	10	10.0000
						20 repeats measurement of the sample and all standards, with new curve fit.
	Standards (Red triangles)			x^2	x*y		Current measurement		$B90+Cx	1	2	3	4	5	6	7	8	9	10	11	12	13	14	15	16	17	18	19	20
1	0.0000	10.0000	0	0	0	0.0000	slope	1.00	10	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000	10.0000
2	2.2222	12.2222	2.22	4.94	27.16	0.0000	Intercept	10.000	12.22	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222	12.2222
3	4.4444	14.4444	4.44	19.75	64.2	0.0000	Rsquared (R2)	1.0000	14.44	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444	14.4444
4	6.6667	16.6667	6.67	44.44	111.11	0.0000			16.67	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667	16.6667
5	8.8889	18.8889	8.89	79.01	167.9	0.0000			18.89	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889	18.8889
6	11.1111	21.1111	11.11	123.46	234.57	0.0000			21.11	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111	21.1111
7	13.3333	23.3333	13.33	177.78	311.11	0.0000			23.33	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333	23.3333
8	15.5556	25.5556	15.56	241.98	397.53	0.0000			25.56	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556	25.5556
9	17.7778	27.7778	17.78	316.05	493.83	0.0000			27.78	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778	27.7778
10	20.0000	30.0000	20	400	600	0.0000			30	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000	30.0000
11	22.2222			0	0				32.22	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222	32.2222
12	24.4444			0	0				34.44	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444	34.4444
13	26.6667			0	0				36.67	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667	36.6667
14	28.8889			0	0				38.89	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889	38.8889
15	31.1111			0	0				41.11	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111	41.1111
16	33.3333			0	0				43.33	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333	43.3333
17	35.5556			0	0				45.56	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556	45.5556
18	37.7778			0	0				47.78	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778	47.7778
		200	100	1407.41	2407.4	0	1407.41	0
			delta = ns*sumx2-sumx^2	4074.07			4074.07		Slope =	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000	1.000
			Prediction of random errors (standard deviations)					Intercept =	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000	10.000
			slope: m = (ns*sumxy-sumx*sumy)/delta		1.00				Result =	10	10	10	10	10	10	10	10	10	10	10	10	10	10	10	10	10	10	10	10
	Green triangle		intercept: b = (sumx2*sumy-sumx*sumxy)/delta		10.00
	-10	0	Estimated standard deviation of the ys		0.00
			Estimated standard deviation of the y intercept		0.00
			Estimated standard deviation of the slope		0.000
			Estimated RSD of the y intercept		0.00%
			Estimated RSD of the slope		0.00%
	Y- axis line		Estimated RSD of the result=intercept/slope		0.00%		Statistics calculations
	0	0					Mean	10.000		Slope	1.000		Intercept	10.000		10
	0	30					s	0.0000		s	0.0000		s	0.0000
						% RSD	0.00%		% RSD	0.00%		% RSD	0.00%
						Accuracy	0.00%
						Pred/actual ratio	#DIV/0!	Average ratio is less than 1
						Because the correlation of slope and intercept is negative
						(see the graph on the left) the intercept goes up when the
						Slope goes down, making the ratio of the two vary more
						that the square root of the sum of the squares of their
						individual variations.

			Correlation of slope and intercept is negative

	© Tom O'Haver (toh@umd.edu), June, 2009