## Control sheet
Least-squares fit to a Lorentzian peak,			Plot of X vs Y (blue), with best-fit Lorentzian (red) / X / Y				Plot of X vs 1/Y in blue and best-fit parabola in red / X / Y
by using a 1/y transformation

	X	Y
Enter the x,y data	1	1
points in the X	2	1
and Y columns.	3	2
	4	3
To delete a point,	5	4
delete both the X	6	4
and Y values.	7	3
	8	2
	9	1
To delete a value,
click on the cell
and press the
space bar.

Everything else in				This is a plot of the original X-Y data				This is a plot of X vs 1/Y
the spreadsheet is				shown with the Lorentzian from the				shown with the least-squares best-fit
automatically				calculated Lorentzian parameters.				parabola in red.
calculated.
				Equation of Lorentzian:				Equation of parabola:
Click the tabs below				y=1/(1+((x-Position)/(0.5*Width)^2)				Y=ax^2+bX+c
to see the other sheets
containing the actual				Lorentzian parameters				Quadratic parameters
calculation.				Height	4.0858			a	0.0486
				Position	5.3286			b	-0.5181
				Width	4.4877			c	1.62
© Tom O'Haver, October 2008, labels corrected December, 2016
Rights granted for educational purposes

## Quadratic fit
Quadratic (parabola) least squares fit to the transformed data x, 1/y

	X	1/y	1/y	X*Y	X*X	X^3	X^4	X^2y
	1	1	1	1	1	1	1	1		Lorentzian parameters
	2	1	1	2	4	8	16	4		Height	4.0858
	3	0.5	0.5	1.5	9	27	81	4.5		Position	5.3286
	4	0.33	0.33	1.33	16	64	256	5.33		Width	4.4877
	5	0.25	0.25	1.25	25	125	625	6.25		calculated from a,b, and c.
	6	0.25	0.25	1.5	36	216	1296	9
	7	0.33	0.33	2.33	49	343	2401	16.33
	8	0.5	0.5	4	64	512	4096	32		Note: The if( ) functions in these equations
	9	1	1	9	81	729	6561	81		are not part of the actual numerical calculation.
		0	0	0	0	0	0	0		Their purpose is simply input filtering, to eliminate
		0	0	0	0	0	0	0		any points that don't have both X and Y values
		0	0	0	0	0	0	0		and to eliminate any Y values that are zero or
		0	0	0	0	0	0	0		negative (for which a natural log can not be calculated)
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
		0	0	0	0	0	0	0
	X	1/y		X*Y	X*X	X^3	X^4	X^2y
sum	45.0000	5.1667		23.917	285.000	2025.00	15333.00	159.42
number of points (n)	9.0000

Denominator (D)	166320.00
a	0.0486	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	-0.5181	(coefficient of the X term, like the slope)
c	1.62	(the constant, like the intercept)

Summary of equations:
Cell B28	n=number of x,y data points
Cell B27	sumx=Σx
Cell C27	sumy=Σy
Cell D27	sumxy=Σx*y
Cell E27	sumx2=Σx*x
Cell F27	sumx3=Σx^3
Cell G27	sumx3=Σx^4
Cell H27	sumx2y=Σ(x^2)*y
Cell B30	D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
Cell B31	a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
Cell B32	b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
Cell B33	c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Calculated Gaussian parameters:
Cell K7	Height = EXP(c-a*(b/(2*a))^2)
Cell K8	Position = -b/(2*a)'
Cell K9	Width = 2.35703/(SQRT(2)*SQRT(-a))

## Sheet2
This sheet is used to calculate values of the parabola and the Lorentzian
at 29 X values between X(min) and X(max) to plot on the graph (the red lines).
point	X	Parabola	Lorentzian
1	1.00	1.16	0.87
2	1.28	1.04	0.96
3	1.55	0.94	1.07
4	1.83	0.84	1.19
5	2.10	0.75	1.33
6	2.38	0.67	1.5
7	2.66	0.59	1.69
8	2.93	0.52	1.91
9	3.21	0.46	2.16
10	3.48	0.41	2.44
11	3.76	0.36	2.74
12	4.03	0.33	3.07
13	4.31	0.3	3.39
14	4.59	0.27	3.68
15	4.86	0.26	3.92
16	5.14	0.25	4.06
17	5.41	0.25	4.08
18	5.69	0.25	3.98
19	5.97	0.26	3.78
20	6.24	0.29	3.51
21	6.52	0.31	3.19
22	6.79	0.35	2.87
23	7.07	0.39	2.55
24	7.34	0.44	2.26
25	7.62	0.5	2
26	7.90	0.57	1.77
27	8.17	0.64	1.57
28	8.45	0.72	1.39
29	9.00	0.9	1.11