## Sheet1
	Peak detection and measurement					You may type or paste into the green cells					Tom O'Haver (toh@umd.edu), 2013
	Place your x,y data in column A and B, rows 8 to 263. You can Copy and Paste your own data there.
Amplitude threshold	0.9		Slope threshold	0.3					Change the smooth width by changing these 17 coefficients in row 5, columns J through Z.					Change the smooth width by changing the 17 coefficients in row 5, columns J through Z.
Set the Amplitude threshold and the Slope threshold above so the peaks are detected.					-8	-7	-6	-5	-4	-3	-2	-1	0	1	2	3	4	5	6	7	8		Extend the spreadsheet to longer columns of data by dragging the last row of columns A through K as needed.
				Peak detection criteria			Coefficients ---->	0	0	0	0	-3	-3	-2	-1	0	1	2	3	3	0	0	0	0					Measured peak parameters
Original	data		First derivative		Signal greater than amplitude threshold?	Down zero crossing in first derivative?	Crossing slope greater than slope threshold?	All three conditions met? Peak detected!	# of peaks so far	Peak #		Peak parameters measured by least-squares are listed in the table in columns AH-AK					peak height	peak x position	peak width (FWHM)	Interval between peaks
X	Y					11	peaks found					peak#	match	row #	sheet
1	0.05556		0		0					Original data					1	11	19	2	Sheet2!	0.9998408569	11.2408038307	10.6377140733
2	0.080624		0		0	0	0	0	0	0					2	33	41	3	Sheet3!	1.0386011278	33.5715998429	11.4976931171	22.3307960122
3	0.127605		0		0	0	0	0	0	0					3	56	64	4	Sheet4!	1.0166026528	56.5808790906	10.2538313212	23.0092792477
4	0.361269		0		0	0	0	0	0	0					4	78	86	5	Sheet5!	0.9598800614	78.402201789	13.0778357853	21.8213226984
5	0.41973		0		0	0	0	0	0	0					5	101	109	6	Sheet6!	1.030036594	101.2293146935	10.8806339357	22.8271129044
6	0.653603		0		0	0	0	0	0	0					6	123	131	7	Sheet7!	0.9675391174	123.5027372207	13.1281182374	22.2734225273
7	0.731305		0		0	0	0	0	0	0					7	145	153	8	Sheet8!	1.0403839299	145.8825854063	10.9350261059	22.3798481856
8	0.736125		0		0	0	0	0	0	0					8	168	176	9	Sheet9!	1.0317349958	168.545292679	10.3692755401	22.6627072727
9	0.920574		3.44446		1	0	0	0	0	0					9	191	199	10	Sheet10!	0.9790667667	191.196033756	11.7964863623	22.650741077
10	0.986474		1.560618		1	0	1	0	0	0					10	213	221	11	Sheet11!	1.0067779353	213.3258671917	10.6938705029	22.1298334357
11	0.989378		0.001003		1	0	1	0	0	0
12	1.041269		-1.603569		1	1	1	1	1	1
13	0.924719		-3.384273		1	0	1	0	1	0
14	0.754031		-4.591223		0	0	1	0	1	0
15	0.692705		-5.525572		0	0	1	0	1	0
16	0.605986		-5.903211		0	0	1	0	1	0
17	0.466499		-5.898073		0	0	0	0	1	0	Smoothed First Derivative
18	0.346472		-5.643937		0	0	0	0	1	0
19	0.197146		-5.38852		0	0	0	0	1	0
20	0.148213		-4.322382		0	0	0	0	1	0
21	-0.01861		-2.560804		0	0	0	0	1	0
22	-0.021		-0.775759		0	0	0	0	1	0
23	-0.08699		0.982401		0	0	0	0	1	0
24	0.035581		2.536167		0	0	0	0	1	0
25	0.169617		4.230159		0	0	0	0	1	0
26	0.213296		5.447346		0	0	0	0	1	0
27	0.315185		6.235279		0	0	0	0	1	0
28	0.418074		6.512588		0	0	0	0	1	0
29	0.625014		6.758863		0	0	0	0	1	0
30	0.77926		6.347689		0	0	1	0	1	0
31	0.8759		5.071185		0	0	1	0	1	0
32	1.019575		3.048965		1	0	1	0	1	0
33	1.122087		0.933933		1	0	1	0	1	0
34	1.037661		-0.885985		1	1	1	1	2	2
35	0.974506		-2.599163		1	0	1	0	2	0
36	0.830574		-4.481035		0	0	1	0	2	0
37	0.813245		-5.544968		0	0	1	0	2	0
38	0.721781		-5.984257		0	0	1	0	2	0
39	0.58223		-6.404269		0	0	1	0	2	0
40	0.330094		-6.648464		0	0	0	0	2	0
41	0.279113		-6.124376		0	0	0	0	2	0
42	0.14896		-4.815091		0	0	0	0	2	0
43	0.008014		-3.450455		0	0	0	0	2	0
44	-0.09743		-1.408542		0	0	0	0	2	0
45	0.034186		0.468716		0	0	0	0	2	0
46	0.040177		2.396103		0	0	0	0	2	0
47	-0.03259		4.114795		0	0	0	0	2	0
48	0.236081		4.954821		0	0	0	0	2	0
49	0.329431		5.38107		0	0	0	0	2	0
50	0.426162		5.694651		0	0	0	0	2	0
51	0.593889		5.590582		0	0	0	0	2	0
52	0.616477		4.936063		0	0	1	0	2	0
53	0.770563		4.824534		0	0	0	0	2	0
54	0.793491		4.095147		0	0	1	0	2	0
55	0.916001		2.671895		1	0	1	0	2	0
56	0.991088		1.174354		1	0	1	0	2	0
57	1.098937		-0.788588		1	1	1	1	3	3
58	0.987943		-2.533042		1	0	1	0	3	0
59	0.828273		-4.277381		0	0	1	0	3	0
60	0.759605		-6.04656		0	0	1	0	3	0
61	0.60112		-6.859839		0	0	1	0	3	0
62	0.508568		-6.585401		0	0	0	0	3	0
63	0.380718		-5.970295		0	0	0	0	3	0
64	0.089088		-5.370301		0	0	0	0	3	0
65	0.093228		-4.097761		0	0	0	0	3	0
66	0.048333		-2.350032		0	0	0	0	3	0
67	0.027868		-0.283452		0	0	0	0	3	0
68	-0.05459		1.706618		0	0	0	0	3	0
69	0.047176		2.98118		0	0	0	0	3	0
70	0.176338		4.387686		0	0	0	0	3	0
71	0.263993		5.575455		0	0	0	0	3	0
72	0.395423		6.207716		0	0	0	0	3	0
73	0.505472		6.170397		0	0	0	0	3	0
74	0.66101		5.587525		0	0	1	0	3	0
75	0.792194		4.825848		0	0	1	0	3	0
76	0.866023		3.540406		0	0	1	0	3	0
77	0.973627		2.296228		1	0	1	0	3	0
78	0.919905		0.681113		1	0	1	0	3	0
79	0.967686		-0.810965		1	1	1	1	4	4
80	0.88027		-2.504871		0	0	1	0	4	0
81	0.916666		-3.875836		1	0	1	0	4	0
82	0.756058		-5.312236		0	0	1	0	4	0
83	0.683023		-6.163903		0	0	1	0	4	0
84	0.447908		-6.612118		0	0	1	0	4	0
85	0.384858		-6.048484		0	0	0	0	4	0
86	0.09811		-4.700657		0	0	0	0	4	0
87	0.152467		-3.612011		0	0	0	0	4	0
88	-0.02155		-2.218139		0	0	0	0	4	0
89	0.148416		-0.941189		0	0	0	0	4	0
90	0.114215		0.755384		0	0	0	0	4	0
91	0.010227		2.190731		0	0	0	0	4	0
92	0.073773		3.432286		0	0	0	0	4	0
93	0.145037		4.444548		0	0	0	0	4	0
94	0.339849		5.698948		0	0	0	0	4	0
95	0.537045		6.302877		0	0	0	0	4	0
96	0.538557		6.060312		0	0	0	0	4	0
97	0.765686		5.753542		0	0	1	0	4	0
98	0.81788		4.770273		0	0	1	0	4	0
99	0.887077		3.528633		0	0	1	0	4	0
100	0.956936		2.144929		1	0	1	0	4	0
101	1.119335		0.063033		1	0	1	0	4	0
102	1.028267		-1.524832		1	1	1	1	5	5
103	0.941428		-3.306162		1	0	1	0	5	0
104	0.860114		-5.15187		0	0	1	0	5	0
105	0.684452		-6.160795		0	0	1	0	5	0
106	0.636078		-6.281923		0	0	0	0	5	0
107	0.451854		-6.193741		0	0	0	0	5	0
108	0.254245		-5.739557		0	0	0	0	5	0
109	0.24082		-5.090366		0	0	0	0	5	0
110	0.116346		-3.830896		0	0	0	0	5	0
111	0.043648		-2.125111		0	0	0	0	5	0
112	0.004565		-0.764049		0	0	0	0	5	0
113	-0.06272		0.655723		0	0	0	0	5	0
114	0.105864		2.507906		0	0	0	0	5	0
115	0.131485		4.01507		0	0	0	0	5	0
116	0.151341		5.222594		0	0	0	0	5	0
117	0.332075		6.287934		0	0	0	0	5	0
118	0.501302		6.428898		0	0	0	0	5	0
119	0.606912		6.309267		0	0	0	0	5	0
120	0.745309		5.51794		0	0	1	0	5	0
121	0.960208		4.05249		1	0	1	0	5	0
122	0.932516		2.363352		1	0	1	0	5	0
123	0.953308		0.875007		1	0	1	0	5	0
124	0.96418		-0.767909		1	1	1	1	6	6
125	0.926694		-2.340635		1	0	1	0	6	0
126	0.82569		-3.568785		0	0	1	0	6	0
127	0.829988		-4.83221		0	0	1	0	6	0
128	0.699648		-5.581394		0	0	1	0	6	0
129	0.541241		-5.97916		0	0	1	0	6	0
130	0.363578		-5.928859		0	0	0	0	6	0
131	0.242156		-5.166185		0	0	0	0	6	0
132	0.192577		-3.820718		0	0	0	0	6	0
133	0.070665		-2.191947		0	0	0	0	6	0
134	0.046469		-0.687577		0	0	0	0	6	0
135	0.131823		0.220132		0	0	0	0	6	0
136	0.104063		1.670861		0	0	0	0	6	0
137	0.192365		2.964565		0	0	0	0	6	0
138	0.2228		3.976522		0	0	0	0	6	0
139	0.184979		5.152408		0	0	0	0	6	0
140	0.497482		5.962105		0	0	0	0	6	0
141	0.532824		6.25443		0	0	0	0	6	0
142	0.711158		6.145585		0	0	0	0	6	0
143	0.923664		5.349436		1	0	1	0	6	0
144	0.918612		3.40763		1	0	1	0	6	0
145	1.017681		1.935269		1	0	1	0	6	0
146	1.027593		-0.229857		1	1	1	1	7	7
147	1.045624		-2.061863		1	0	1	0	7	0
148	0.878263		-3.810291		0	0	1	0	7	0
149	0.893175		-5.418405		0	0	1	0	7	0
150	0.682613		-6.249674		0	0	1	0	7	0
151	0.605156		-6.819453		0	0	1	0	7	0
152	0.341843		-6.91757		0	0	0	0	7	0
153	0.256158		-6.522255		0	0	0	0	7	0
154	0.187454		-4.945093		0	0	0	0	7	0
155	0.00155		-3.270291		0	0	0	0	7	0
156	-0.08953		-1.650816		0	0	0	0	7	0
157	-0.0549		0.131695		0	0	0	0	7	0
158	0.066756		1.781452		0	0	0	0	7	0
159	0.089846		3.328962		0	0	0	0	7	0
160	0.057165		4.573871		0	0	0	0	7	0
161	0.319386		5.233821		0	0	0	0	7	0
162	0.31739		5.793642		0	0	0	0	7	0
163	0.457957		6.293918		0	0	0	0	7	0
164	0.678634		6.340736		0	0	0	0	7	0
165	0.74568		5.319842		0	0	1	0	7	0
166	0.881633		4.475312		0	0	1	0	7	0
167	0.95874		2.911644		1	0	1	0	7	0
168	1.05932		0.997389		1	0	1	0	7	0
169	0.949215		-0.914964		1	1	1	1	8	8
170	0.993092		-2.954902		1	0	1	0	8	0
171	0.919128		-4.320351		1	0	1	0	8	0
172	0.766518		-5.548044		0	0	1	0	8	0
173	0.604291		-6.309604		0	0	1	0	8	0
174	0.456345		-6.688638		0	0	1	0	8	0
175	0.427072		-6.405782		0	0	0	0	8	0
176	0.194892		-5.930349		0	0	0	0	8	0
177	0.075642		-4.24004		0	0	0	0	8	0
178	0.047189		-2.709146		0	0	0	0	8	0
179	-0.05722		-0.954398		0	0	0	0	8	0
180	-0.15884		1.172808		0	0	0	0	8	0
181	0.178225		3.176949		0	0	0	0	8	0
182	0.082252		4.75295		0	0	0	0	8	0
183	0.221867		5.850454		0	0	0	0	8	0
184	0.337746		6.164117		0	0	0	0	8	0
185	0.577646		5.551773		0	0	1	0	8	0
186	0.651035		5.651471		0	0	0	0	8	0
187	0.731611		4.655418		0	0	1	0	8	0
188	0.844698		3.810727		0	0	1	0	8	0
189	0.822111		2.707622		0	0	1	0	8	0
190	0.976542		1.580334		1	0	1	0	8	0
191	0.907346		0.296573		1	0	1	0	8	0
192	1.031117		-1.20535		1	1	1	1	9	9
193	0.939		-2.555635		1	0	1	0	9	0
194	0.817733		-4.44148		0	0	1	0	9	0
195	0.761316		-5.577746		0	0	1	0	9	0
196	0.599031		-6.411393		0	0	1	0	9	0
197	0.516225		-5.998736		0	0	0	0	9	0
198	0.234455		-5.618048		0	0	0	0	9	0
199	0.19951		-5.053867		0	0	0	0	9	0
200	0.104025		-3.737791		0	0	0	0	9	0
201	0.149192		-1.669264		0	0	0	0	9	0
202	-0.00725		0.334144		0	0	0	0	9	0
203	-0.02886		1.598489		0	0	0	0	9	0
204	0.076095		3.050812		0	0	0	0	9	0
205	0.307502		4.214591		0	0	0	0	9	0
206	0.315815		5.363227		0	0	0	0	9	0
207	0.387228		5.609306		0	0	0	0	9	0
208	0.555429		5.473065		0	0	0	0	9	0
209	0.634078		5.187732		0	0	0	0	9	0
210	0.771423		5.355179		0	0	0	0	9	0
211	0.847992		4.365221		0	0	1	0	9	0
212	0.973938		2.352615		1	0	1	0	9	0
213	0.999449		0.435963		1	0	1	0	9	0
214	1.138343		-1.384578		1	1	1	1	10	10
215	0.948302		-3.191962		1	0	1	0	10	0
216	0.730311		-4.982726		0	0	1	0	10	0
217	0.698836		-6.355208		0	0	1	0	10	0
218	0.63852		-6.612088		0	0	0	0	10	0
219	0.455842		-6.053993		0	0	0	0	10	0
220	0.273007		-5.426181		0	0	0	0	10	0
221	0.105286		-4.861213		0	0	0	0	10	0
222	0.163197		-3.872051		0	0	0	0	10	0
223	0.014956		-2.146077		0	0	0	0	10	0
224	0.039198		-0.307849		0	0	0	0	10	0
225	0.008281		1.30917		0	0	0	0	10	0
226	-0.01862		2.766403		0	0	0	0	10	0
227	0.138113		4.446538		0	0	0	0	10	0
228	0.261		5.372051		0	0	0	0	10	0
229	0.381041		6.259093		0	0	0	0	10	0
230	0.528101		6.276651		0	0	0	0	10	0
231	0.666519		5.552942		0	0	1	0	10	0
232	0.726187		4.704099		0	0	1	0	10	0
233	0.908534		3.418108		1	0	1	0	10	0
234	0.897892		1.968501		0	0	1	0	10	0
235	0.934511		0.78966		1	0	1	0	10	0
236	0.948364		-0.613335		1	1	1	1	11	11
237	0.864251		-2.079567		0	0	1	0	11	0
238	0.829759		-3.281253		0	0	1	0	11	0
239	0.838865		-4.34475		0	0	1	0	11	0
240	0.660253		-5.047988		0	0	1	0	11	0
241	0.556283		-5.338737		0	0	0	0	11	0
242	0.382905		-5.504646		0	0	0	0	11	0
243	0.313534		-5.553195		0	0	0	0	11	0
244	0.208515		-4.424256		0	0	0	0	11	0
245	0.148586		-3.050662		0	0	0	0	11	0
246	0.067231		-1.372242		0	0	0	0	11	0
247	-0.08925		0.3066		0	0	0	0	11	0
248	0.096466		1.679618		0	0	0	0	11	0
249	0.141452		3.516817		0	0	0	0	11	0
250	0.251551		5.104034		0	0	0	0	11	0
251	0.367709		6.120577		0	0	0	0	11	0
252	0.349484		6.280709		0	0	0	0	11	0
253	0.682271		3.264874		0	0	1	0	11	0
254	0.752957		-0.355554		0	1	1	0	11	0
255	0.901261		-3.277976		1	0	1	0	11	0
256	0.991102		-5.50244		1	0	1	0	11	0

## Sheet2
Peak 1
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		0.0404401616		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		0.0404401616		0	0	0	0	0		Height	0.9998408569	EXP(CoeffC-a*(b/(2*a))^2)
0		0.0404401616		0	0	0	0	0		Position	11.2408038307	b/(2*a)
0		0.0404401616		0	0	0	0	0		Width	10.6377140733	2.35703/(SQRT(2)*SQRT(-a))
-4	8	-0.3063553377	-0.3063553377	-2.4508427017	64	512	4096	-19.6067416139
-3	9	-0.0827578904	-0.0827578904	-0.744821014	81	729	6561	-6.7033891263
-2	10	-0.0136183097	-0.0136183097	-0.1361830967	100	1000	10000	-1.361830967
-1	11	-0.0106788161	-0.0106788161	-0.1174669775	121	1331	14641	-1.2921367522		Note: The if( ) functions in these equations
0	12	0.0404401616	0.0404401616	0.4852819396	144	1728	20736	5.8233832749		are not part of the actual numerical calculation.
1	13	-0.0782653714	-0.0782653714	-1.0174498283	169	2197	28561	-13.2268477675		Their purpose is simply input filtering, to eliminate
2	14	-0.2823217978	-0.2823217978	-3.9525051687	196	2744	38416	-55.3350723612		any points that don't have both X and Y values
3	15	-0.3671510558	-0.3671510558	-5.5072658377	225	3375	50625	-82.6089875657		and to eliminate any Y values that are zero or
4	16	-0.5008983955	-0.5008983955	-8.0143743278	256	4096	65536	-128.2299892454		negative (for which a natural log can not be calculated)
0		0.0404401616		0	0	0	0	0
0		0.0404401616		0	0	0	0	0
0		0.0404401616		0	0	0	0	0
0		0.0404401616		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum of..	108.0000	-1.6016		-21.456	1356.000	17712.00	239172.00	-302.54
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0245	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	0.5519	(coefficient of the X term, like the slope)
CoeffC	-3.1018487744	(the constant, like the intercept)

Summary of equations:
Cell B28	n=number of x,y data points
Cell B27	sumx=Σx
Cell C27	sumy=Σy
Cell D27	sumxy=Σx*y
Cell E27	sumx2=Σx*x
Cell F27	sumx3=Σx^3
Cell G27	sumx3=Σx^4
Cell H27	sumx2y=Σ(x^2)*y
Cell B30	D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
Cell B31	a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
Cell B32	b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
Cell B33	c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Calculated Gaussian parameters:
Cell K7	Height = EXP(c-a*(b/(2*a))^2)
Cell K8	Position = -b/(2*a)'
Cell K9	Width = 2.35703/(SQRT(2)*SQRT(-a))

## Sheet3
Peak 2
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		0.0369691418		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		0.0369691418		0	0	0	0	0		Height	1.0386011278	EXP(CoeffC-a*(b/(2*a))^2)
0		0.0369691418		0	0	0	0	0		Position	33.5715998429	b/(2*a)
0		0.0369691418		0	0	0	0	0		Width	11.4976931171	2.35703/(SQRT(2)*SQRT(-a))
-4	30	-0.2494105276	-0.2494105276	-7.4823158269	900	27000	810000	-224.4694748084
-3	31	-0.1325033498	-0.1325033498	-4.1076038442	961	29791	923521	-127.3357191704
-2	32	0.0193858738	0.0193858738	0.6203479616	1024	32768	1048576	19.851134771
-1	33	0.1151903442	0.1151903442	3.8012813586	1089	35937	1185921	125.4422848353		Note: The if( ) functions in these equations
0	34	0.0369691418	0.0369691418	1.2569508214	1156	39304	1336336	42.7363279281		are not part of the actual numerical calculation.
1	35	-0.025824603	-0.025824603	-0.9038611067	1225	42875	1500625	-31.6351387361		Their purpose is simply input filtering, to eliminate
2	36	-0.1856382509	-0.1856382509	-6.6829770341	1296	46656	1679616	-240.5871732289		any points that don't have both X and Y values
3	37	-0.2067228618	-0.2067228618	-7.6487458873	1369	50653	1874161	-283.0035978295		and to eliminate any Y values that are zero or
4	38	-0.3260335102	-0.3260335102	-12.3892733876	1444	54872	2085136	-470.7923887304		negative (for which a natural log can not be calculated)
0		0.0369691418		0	0	0	0	0
0		0.0369691418		0	0	0	0	0
0		0.0369691418		0	0	0	0	0
0		0.0404401616		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	306.0000	-0.9546		-33.536	10464.000	359856.00	12443892.00	-1189.79
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0210	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	1.4108	(coefficient of the X term, like the slope)
CoeffC	-23.6443705483	(the constant, like the intercept)

## Sheet4
Peak 3
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		0.0943433489		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		0.0943433489		0	0	0	0	0		Height	1.0166026528	EXP(CoeffC-a*(b/(2*a))^2)
0		0.0943433489		0	0	0	0	0		Position	56.5808790906	b/(2*a)
0		0.0943433489		0	0	0	0	0		Width	10.2538313212	2.35703/(SQRT(2)*SQRT(-a))
-4	53	-0.2606338625	-0.2606338625	-13.8135947113	2809	148877	7890481	-732.1205196977
-3	54	-0.2313130812	-0.2313130812	-12.4909063867	2916	157464	8503056	-674.5089448813
-2	55	-0.0877378226	-0.0877378226	-4.8255802433	3025	166375	9150625	-265.4069133818
-1	56	-0.0089519494	-0.0089519494	-0.5013091665	3136	175616	9834496	-28.0733133241		Note: The if( ) functions in these equations
0	57	0.0943433489	0.0943433489	5.3775708894	3249	185193	10556001	306.5215406982		are not part of the actual numerical calculation.
1	58	-0.0121302752	-0.0121302752	-0.703555962	3364	195112	11316496	-40.8062457937		Their purpose is simply input filtering, to eliminate
2	59	-0.1884124688	-0.1884124688	-11.1163356589	3481	205379	12117361	-655.8638038733		any points that don't have both X and Y values
3	60	-0.2749567177	-0.2749567177	-16.4974030592	3600	216000	12960000	-989.8441835539		and to eliminate any Y values that are zero or
4	61	-0.5089606972	-0.5089606972	-31.0466025265	3721	226981	13845841	-1893.8427541193		negative (for which a natural log can not be calculated)
0		0.0943433489		0	0	0	0	0
0		0.0943433489		0	0	0	0	0
0		0.0943433489		0	0	0	0	0
0		0.0943433489		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	513.0000	-1.4788		-85.618	29301.000	1676997.00	96174357.00	-4973.95
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0264	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	2.9897	(coefficient of the X term, like the slope)
CoeffC	-84.5634533668	(the constant, like the intercept)

## Sheet5
Peak 4
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		-0.0328476245		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		-0.0328476245		0	0	0	0	0		Height	0.9598800614	EXP(CoeffC-a*(b/(2*a))^2)
0		-0.0328476245		0	0	0	0	0		Position	78.402201789	b/(2*a)
0		-0.0328476245		0	0	0	0	0		Width	13.0778357853	2.35703/(SQRT(2)*SQRT(-a))
-4	75	-0.2329489677	-0.2329489677	-17.4711725751	5625	421875	31640625	-1310.3379431325
-3	76	-0.1438438119	-0.1438438119	-10.932129703	5776	438976	33362176	-830.8418574242
-2	77	-0.0267270056	-0.0267270056	-2.0579794285	5929	456533	35153041	-158.4644159959
-1	78	-0.0834848751	-0.0834848751	-6.511820261	6084	474552	37015056	-507.9219803541		Note: The if( ) functions in these equations
0	79	-0.0328476245	-0.0328476245	-2.594962335	6241	493039	38950081	-205.0020244638		are not part of the actual numerical calculation.
1	80	-0.1275266004	-0.1275266004	-10.202128031	6400	512000	40960000	-816.1702424777		Their purpose is simply input filtering, to eliminate
2	81	-0.0870121043	-0.0870121043	-7.0479804453	6561	531441	43046721	-570.8864160671		any points that don't have both X and Y values
3	82	-0.2796371862	-0.2796371862	-22.9302492658	6724	551368	45212176	-1880.2804397982		and to eliminate any Y values that are zero or
4	83	-0.381226745	-0.381226745	-31.6418198362	6889	571787	47458321	-2626.2710464079		negative (for which a natural log can not be calculated)
0		-0.0328476245		0	0	0	0	0
0		-0.0328476245		0	0	0	0	0
0		-0.0328476245		0	0	0	0	0
0		0.0943433489		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	711.0000	-1.3953		-111.390	56229.000	4451571.00	352798197.00	-8906.18
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0162	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	2.5468	(coefficient of the X term, like the slope)
CoeffC	-99.8764438235	(the constant, like the intercept)

## Sheet6
Peak 5
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		0.0278748609		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		0.0278748609		0	0	0	0	0		Height	1.030036594	EXP(CoeffC-a*(b/(2*a))^2)
0		0.0278748609		0	0	0	0	0		Position	101.2293146935	b/(2*a)
0		0.0278748609		0	0	0	0	0		Width	10.8806339357	2.35703/(SQRT(2)*SQRT(-a))
-4	98	-0.2010396524	-0.2010396524	-19.7018859359	9604	941192	92236816	-1930.7848217196
-3	99	-0.119823491	-0.119823491	-11.862525606	9801	970299	96059601	-1174.3900349985
-2	100	-0.0440187654	-0.0440187654	-4.4018765419	10000	1000000	100000000	-440.1876541854
-1	101	0.112734759	0.112734759	11.3862106557	10201	1030301	104060401	1150.0072762292		Note: The if( ) functions in these equations
0	102	0.0278748609	0.0278748609	2.8432358155	10404	1061208	108243216	290.0100531787		are not part of the actual numerical calculation.
1	103	-0.0603574075	-0.0603574075	-6.2168129747	10609	1092727	112550881	-640.3317363941		Their purpose is simply input filtering, to eliminate
2	104	-0.1506903404	-0.1506903404	-15.6717953995	10816	1124864	116985856	-1629.8667215512		any points that don't have both X and Y values
3	105	-0.3791367609	-0.3791367609	-39.8093598935	11025	1157625	121550625	-4179.9827888198		and to eliminate any Y values that are zero or
4	106	-0.4524340817	-0.4524340817	-47.9580126552	11236	1191016	126247696	-5083.5493414468		negative (for which a natural log can not be calculated)
0		0.0278748609		0	0	0	0	0
0		0.0278748609		0	0	0	0	0
0		0.0278748609		0	0	0	0	0
0		0.0278748609		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	918.0000	-1.2669		-131.393	93696.000	9569232.00	977935092.00	-13639.08
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0235	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	4.7504	(coefficient of the X term, like the slope)
CoeffC	-240.4091325269	(the constant, like the intercept)

## Sheet7
Peak 6
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		-0.0364772798		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		-0.0364772798		0	0	0	0	0		Height	0.9675391174	EXP(CoeffC-a*(b/(2*a))^2)
0		-0.0364772798		0	0	0	0	0		Position	123.5027372207	b/(2*a)
0		-0.0364772798		0	0	0	0	0		Width	13.1281182374	2.35703/(SQRT(2)*SQRT(-a))
-4	120	-0.2939563815	-0.2939563815	-35.2747657792	14400	1728000	207360000	-4232.9718935017
-3	121	-0.0406053513	-0.0406053513	-4.91324751	14641	1771561	214358881	-594.5029487116
-2	122	-0.0698689694	-0.0698689694	-8.524014271	14884	1815848	221533456	-1039.929741062
-1	123	-0.0478172376	-0.0478172376	-5.8815202268	15129	1860867	228886641	-723.4269878925		Note: The if( ) functions in these equations
0	124	-0.0364772798	-0.0364772798	-4.5231826965	15376	1906624	236421376	-560.8746543627		are not part of the actual numerical calculation.
1	125	-0.076131865	-0.076131865	-9.5164831247	15625	1953125	244140625	-1189.560390589		Their purpose is simply input filtering, to eliminate
2	126	-0.1915358786	-0.1915358786	-24.1335206996	15876	2000376	252047376	-3040.8236081498		any points that don't have both X and Y values
3	127	-0.1863440361	-0.1863440361	-23.6656925882	16129	2048383	260144641	-3005.5429586978		and to eliminate any Y values that are zero or
4	128	-0.3571779276	-0.3571779276	-45.7187747273	16384	2097152	268435456	-5852.0031650881		negative (for which a natural log can not be calculated)
0		-0.0364772798		0	0	0	0	0
0		-0.0364772798		0	0	0	0	0
0		-0.0364772798		0	0	0	0	0
0		-0.0364772798		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	1116.0000	-1.2999		-162.151	138444.000	17181936.00	2133328452.00	-20239.64
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0161	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	3.9811	(coefficient of the X term, like the slope)
CoeffC	-245.8706698683	(the constant, like the intercept)

## Sheet8
Peak 7
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		0.0272191742		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		0.0272191742		0	0	0	0	0		Height	1.0403839299	EXP(CoeffC-a*(b/(2*a))^2)
0		0.0272191742		0	0	0	0	0		Position	145.8825854063	b/(2*a)
0		0.0272191742		0	0	0	0	0		Width	10.9350261059	2.35703/(SQRT(2)*SQRT(-a))
-4	142	-0.3408606516	-0.3408606516	-48.4022125335	20164	2863288	406586896	-6873.1141797572
-3	143	-0.0794069098	-0.0794069098	-11.3551881065	20449	2924207	418161601	-1623.7918992328
-2	144	-0.0848914438	-0.0848914438	-12.2243679099	20736	2985984	429981696	-1760.3089790201
-1	145	0.0175265095	0.0175265095	2.5413438764	21025	3048625	442050625	368.4948620796		Note: The if( ) functions in these equations
0	146	0.0272191742	0.0272191742	3.9739994392	21316	3112136	454371856	580.2039181273		are not part of the actual numerical calculation.
1	147	0.0446138364	0.0446138364	6.5582339497	21609	3176523	466948881	964.0603906095		Their purpose is simply input filtering, to eliminate
2	148	-0.1298091858	-0.1298091858	-19.2117594958	21904	3241792	479785216	-2843.3404053768		any points that don't have both X and Y values
3	149	-0.1129727487	-0.1129727487	-16.8329395503	22201	3307949	492884401	-2508.107993		and to eliminate any Y values that are zero or
4	150	-0.3818271979	-0.3818271979	-57.2740796793	22500	3375000	506250000	-8591.1119519014		negative (for which a natural log can not be calculated)
0		0.0272191742		0	0	0	0	0
0		0.0272191742		0	0	0	0	0
0		0.0272191742		0	0	0	0	0
0		0.0272191742		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	1314.0000	-1.0404		-152.227	191904.000	28035504.00	4097021172.00	-22287.02
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0232	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	6.7779	(coefficient of the X term, like the slope)
CoeffC	-494.3479076479	(the constant, like the intercept)

## Sheet9
Peak 8
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		-0.0521199518		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		-0.0521199518		0	0	0	0	0		Height	1.0317349958	EXP(CoeffC-a*(b/(2*a))^2)
0		-0.0521199518		0	0	0	0	0		Position	168.545292679	b/(2*a)
0		-0.0521199518		0	0	0	0	0		Width	10.3692755401	2.35703/(SQRT(2)*SQRT(-a))
-4	165	-0.2934587252	-0.2934587252	-48.4206896628	27225	4492125	741200625	-7989.4137943659
-3	166	-0.1259794093	-0.1259794093	-20.9125819508	27556	4574296	759333136	-3471.4886038315
-2	167	-0.0421353566	-0.0421353566	-7.0366045527	27889	4657463	777796321	-1175.1129602951
-1	168	0.0576271928	0.0576271928	9.6813683962	28224	4741632	796594176	1626.4698905692		Note: The if( ) functions in these equations
0	169	-0.0521199518	-0.0521199518	-8.8082718481	28561	4826809	815730721	-1488.5979423345		are not part of the actual numerical calculation.
1	170	-0.0069319707	-0.0069319707	-1.1784350171	28900	4913000	835210000	-200.3339529062		Their purpose is simply input filtering, to eliminate
2	171	-0.0843298845	-0.0843298845	-14.420410249	29241	5000211	855036081	-2465.8901525823		any points that don't have both X and Y values
3	172	-0.2658970976	-0.2658970976	-45.7343007838	29584	5088448	875213056	-7866.2997348082		and to eliminate any Y values that are zero or
4	173	-0.503699409	-0.503699409	-87.1399977554	29929	5177717	895745041	-15075.2196116756		negative (for which a natural log can not be calculated)
0		-0.0521199518		0	0	0	0	0
0		-0.0521199518		0	0	0	0	0
0		-0.0521199518		0	0	0	0	0
0		-0.0521199518		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	1521.0000	-1.3169		-223.970	257109.000	43471701.00	7351859157.00	-38105.89
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0258	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	8.7086	(coefficient of the X term, like the slope)
CoeffC	-733.8683561809	(the constant, like the intercept)

## Sheet10
Peak 9
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		0.0306426807		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		0.0306426807		0	0	0	0	0		Height	0.9790667667	EXP(CoeffC-a*(b/(2*a))^2)
0		0.0306426807		0	0	0	0	0		Position	191.196033756	b/(2*a)
0		0.0306426807		0	0	0	0	0		Width	11.7964863623	2.35703/(SQRT(2)*SQRT(-a))
-4	188	-0.168776112	-0.168776112	-31.7299090477	35344	6644672	1249198336	-5965.2229009729
-3	189	-0.1958798565	-0.1958798565	-37.0212928872	35721	6751269	1275989841	-6997.0243556873
-2	190	-0.0237375188	-0.0237375188	-4.5101285792	36100	6859000	1303210000	-856.9244300392
-1	191	-0.0972314242	-0.0972314242	-18.5712020247	36481	6967871	1330863361	-3547.099586714		Note: The if( ) functions in these equations
0	192	0.0306426807	0.0306426807	5.8833946853	36864	7077888	1358954496	1129.6117795729		are not part of the actual numerical calculation.
1	193	-0.0629397998	-0.0629397998	-12.1473813564	37249	7189057	1387488001	-2344.444601777		Their purpose is simply input filtering, to eliminate
2	194	-0.2012194015	-0.2012194015	-39.0365638967	37636	7301384	1416468496	-7573.0933959587		any points that don't have both X and Y values
3	195	-0.2727067642	-0.2727067642	-53.1778190207	38025	7414875	1445900625	-10369.6747090406		and to eliminate any Y values that are zero or
4	196	-0.5124419293	-0.5124419293	-100.4386181397	38416	7529536	1475789056	-19685.9691553852		negative (for which a natural log can not be calculated)
0		0.0306426807		0	0	0	0	0
0		0.0306426807		0	0	0	0	0
0		0.0306426807		0	0	0	0	0
0		0.0306426807		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	1728.0000	-1.5043		-290.750	331836.000	63735552.00	12243862212.00	-56209.84
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0200	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	7.6331	(coefficient of the X term, like the slope)
CoeffC	-729.7350949976	(the constant, like the intercept)

## Sheet11
Peak 10
Quadratic (parabola) least squares fit to the transformed data x, ln(y)

	X	ln(y)	ln(y)	X*Y	X*X	X^3	X^4	X^2y
0		0.1295736963		0	0	0	0	0		Gaussian parameters calculated from coefficients a,b, and c.
0		0.1295736963		0	0	0	0	0		Height	1.0067779353	EXP(CoeffC-a*(b/(2*a))^2)
0		0.1295736963		0	0	0	0	0		Position	213.3258671917	b/(2*a)
0		0.1295736963		0	0	0	0	0		Width	10.6938705029	2.35703/(SQRT(2)*SQRT(-a))
-4	210	-0.2595184177	-0.2595184177	-54.498867724	44100	9261000	1944810000	-11444.7622220424
-3	211	-0.1648840772	-0.1648840772	-34.7905402886	44521	9393931	1982119441	-7340.8040008876
-2	212	-0.0264076324	-0.0264076324	-5.5984180681	44944	9528128	2019963136	-1186.864630427
-1	213	-0.0005511519	-0.0005511519	-0.1173953454	45369	9663597	2058346161	-25.0052085678		Note: The if( ) functions in these equations
0	214	0.1295736963	0.1295736963	27.7287710009	45796	9800344	2097273616	5933.9569941922		are not part of the actual numerical calculation.
1	215	-0.0530822621	-0.0530822621	-11.4126863424	46225	9938375	2136750625	-2453.7275636059		Their purpose is simply input filtering, to eliminate
2	216	-0.3142848082	-0.3142848082	-67.8855185639	46656	10077696	2176782336	-14663.272009809		any points that don't have both X and Y values
3	217	-0.3583391852	-0.3583391852	-77.7596031804	47089	10218313	2217373921	-16873.833890145		and to eliminate any Y values that are zero or
4	218	-0.4486022806	-0.4486022806	-97.7952971677	47524	10360232	2258530576	-21319.3747825623		negative (for which a natural log can not be calculated)
0		0.1295736963		0	0	0	0	0
0		0.1295736963		0	0	0	0	0
0		0.1295736963		0	0	0	0	0
0		0.1295736963		0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
				0	0	0	0	0
	X	ln(y)		X*Y	X*X	X^3	X^4	X^2y
sum	1926.0000	-1.4961		-322.130	412224.000	88241616.00	18891949812.00	-69373.69
number of points (n)	9.0000

Denominator (D)	166320.00
a	-0.0243	(coefficient of the X2 term; equals zero if best-fit line is straight)
b	10.3634	(coefficient of the X term, like the slope)
CoeffC	-1105.3880591631	(the constant, like the intercept)