## Sheet1
| Demonstration of peak detection and measurement of a calculated noisy Sine Squared waveform | [17 empty] | Tom O'Haver (toh@umd.edu), 2013 | [6 empty] | Sine Squared Waveform (sin(x)^2)
| In this example, the x,y signal data in column A and B, rows 8 to 263, are calculated by formula. You can change the signal parameters in column AC, rows 2-4. | [24 empty] | amplitude | 1 | Change the amplitude, frequency, and noise level of the waveform in this table.
Amplitude threshold | 0.4 | Slope threshold | 0.3 | The green cells are variables that you can change. |  |  |  | The derivative and smooth functions are defined by the 17 coefficients in row 5, columns J through Z. | [17 empty] | frequency | 0.16
[8 empty] | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | noise | 0.1
|  | 2 |  |  |  |  | Coefficients ---> | 0 | 0 | -2 | -3 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 3 | 2 | 0 | 0 | 1
Original | data | First derivative |  | Signal greater than amplitude threshold? | Down zero crossing in first derivative? | Crossing slope greater than slope threshold? | All three conditions met? Peak detected! | # of peaks so far | Peak # | [22 empty] | measured peak height | measured peak position | measured peak width | Interval between peaks
X | Y | [14 empty] | 10 | peaks found | [9 empty] | peak# | match | row # | sheet
1 | 0.015612 | 0 |  | 0 | [22 empty] | 1 | 108 | 116 | 2 | Sheet2! | #REF! | #REF! | #REF!
2 | 0.027301 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 2 | 127 | 135 | 3 | Sheet3! | #REF! | #REF! | #REF! | #REF!
3 | -0.050003 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 3 | 147 | 155 | 4 | Sheet4! | #REF! | #REF! | #REF! | #REF!
4 | 0.022207 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 4 | 166 | 174 | 5 | Sheet5! | #REF! | #REF! | #REF! | #REF!
5 | 0.050654 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 5 | 186 | 194 | 6 | Sheet6! | #REF! | #REF! | #REF! | #REF!
6 | 0.10319 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 6 | 205 | 213 | 7 | Sheet7! | #REF! | #REF! | #REF! | #REF!
7 | -0.01862 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 7 | 225 | 233 | 8 | Sheet8! | #REF! | #REF! | #REF! | #REF!
8 | 0.039096 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 8 | 245 | 253 | 9 | Sheet9! | #REF! | #REF! | #REF! | #REF!
9 | 0.031841 | -0.59701 |  | 0 | 1 | 1 | 0 | 0 | 0 | [17 empty] | 9 | 265 | 273 | 10 | Sheet10! | #REF! | #REF! | #REF! | #REF!
10 | -0.037576 | -0.83472 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 10 | 284 | 292 | 11 | Sheet11! | #REF! | #REF! | #REF! | #REF!
11 | -0.019032 | -0.62389 |  | 0 | 0 | 0 | 0 | 0 | 0
12 | 0.031256 | -0.51709 |  | 0 | 0 | 0 | 0 | 0 | 0
13 | 0.029387 | -0.18934 |  | 0 | 0 | 0 | 0 | 0 | 0
14 | -0.080036 | -0.216 |  | 0 | 0 | 0 | 0 | 0 | 0
15 | -0.0059558 | -0.081031 |  | 0 | 0 | 0 | 0 | 0 | 0
16 | 0.017481 | 0.0042783 |  | 0 | 0 | 0 | 0 | 0 | 0
17 | -0.011317 | -0.046568 |  | 0 | 1 | 0 | 0 | 0 | 0
18 | -0.048135 | -0.010568 |  | 0 | 0 | 0 | 0 | 0 | 0
19 | 0.06386 | -0.22465 |  | 0 | 0 | 0 | 0 | 0 | 0
20 | -0.075939 | -0.16835 |  | 0 | 0 | 0 | 0 | 0 | 0
21 | -0.0058815 | -0.10949 |  | 0 | 0 | 0 | 0 | 0 | 0
22 | 0.078297 | 0.23285 |  | 0 | 0 | 0 | 0 | 0 | 0
23 | -0.085494 | 0.5294 |  | 0 | 0 | 0 | 0 | 0 | 0
24 | -0.062652 | 0.82086 |  | 0 | 0 | 0 | 0 | 0 | 0
25 | -0.032693 | 0.6439 |  | 0 | 0 | 0 | 0 | 0 | 0
26 | 0.055863 | 0.55222 |  | 0 | 0 | 0 | 0 | 0 | 0
27 | 0.018489 | 0.21141 |  | 0 | 0 | 1 | 0 | 0 | 0
28 | 0.052551 | 0.11508 |  | 0 | 0 | 0 | 0 | 0 | 0
29 | 0.092681 | 0.054449 |  | 0 | 0 | 0 | 0 | 0 | 0
30 | 0.02156 | -0.32538 |  | 0 | 1 | 1 | 0 | 0 | 0
31 | -0.082187 | -0.62014 |  | 0 | 0 | 0 | 0 | 0 | 0
32 | 0.020047 | -0.97014 |  | 0 | 0 | 1 | 0 | 0 | 0
33 | -0.069452 | -0.87979 |  | 0 | 0 | 0 | 0 | 0 | 0
34 | 0.017824 | -0.50564 |  | 0 | 0 | 0 | 0 | 0 | 0
35 | 0.064429 | -0.13933 |  | 0 | 0 | 0 | 0 | 0 | 0
36 | -0.0431 | 0.052354 |  | 0 | 0 | 0 | 0 | 0 | 0
37 | -0.07122 | 0.056529 |  | 0 | 0 | 0 | 0 | 0 | 0
38 | -0.063599 | -0.040966 |  | 0 | 1 | 0 | 0 | 0 | 0
39 | 0.032105 | 0.20422 |  | 0 | 0 | 0 | 0 | 0 | 0
40 | 0.040666 | 0.29897 |  | 0 | 0 | 0 | 0 | 0 | 0
41 | -0.076531 | 0.30005 |  | 0 | 0 | 0 | 0 | 0 | 0
42 | -0.0050725 | -0.0058001 |  | 0 | 1 | 1 | 0 | 0 | 0
43 | 0.0062263 | -0.36287 |  | 0 | 0 | 1 | 0 | 0 | 0
44 | 0.0078524 | -0.34154 |  | 0 | 0 | 0 | 0 | 0 | 0
45 | 0.06016 | 0.16907 |  | 0 | 0 | 0 | 0 | 0 | 0
46 | -0.048569 | 0.54325 |  | 0 | 0 | 0 | 0 | 0 | 0
47 | -0.098529 | 0.7495 |  | 0 | 0 | 0 | 0 | 0 | 0
48 | -0.085741 | 0.62968 |  | 0 | 0 | 0 | 0 | 0 | 0
49 | 0.032529 | 0.52922 |  | 0 | 0 | 0 | 0 | 0 | 0
50 | 0.067336 | 0.67872 |  | 0 | 0 | 0 | 0 | 0 | 0
51 | 0.11248 | 0.64933 |  | 0 | 0 | 0 | 0 | 0 | 0
52 | 0.017435 | 0.38059 |  | 0 | 0 | 0 | 0 | 0 | 0
53 | 0.008935 | -0.1141 |  | 0 | 1 | 1 | 0 | 0 | 0
54 | 0.026619 | -0.57892 |  | 0 | 0 | 1 | 0 | 0 | 0
55 | -0.041423 | -0.55511 |  | 0 | 0 | 0 | 0 | 0 | 0
56 | 0.044861 | -0.17972 |  | 0 | 0 | 0 | 0 | 0 | 0
57 | 0.010469 | 0.071199 |  | 0 | 0 | 0 | 0 | 0 | 0
58 | -0.079557 | 0.12208 |  | 0 | 0 | 0 | 0 | 0 | 0
59 | 0.062295 | -0.018939 |  | 0 | 1 | 0 | 0 | 0 | 0
60 | 0.024711 | -0.35453 |  | 0 | 0 | 1 | 0 | 0 | 0
61 | 0.054126 | -0.33435 |  | 0 | 0 | 0 | 0 | 0 | 0
62 | 0.050654 | -0.54408 |  | 0 | 0 | 0 | 0 | 0 | 0
63 | -0.030772 | -0.49257 |  | 0 | 0 | 0 | 0 | 0 | 0
64 | -0.059122 | -0.50567 |  | 0 | 0 | 0 | 0 | 0 | 0
65 | 0.0022939 | -0.39184 |  | 0 | 0 | 0 | 0 | 0 | 0
66 | -0.072521 | -0.13214 |  | 0 | 0 | 0 | 0 | 0 | 0
67 | 0.033268 | 0.26108 |  | 0 | 0 | 0 | 0 | 0 | 0
68 | -0.059171 | 0.45975 |  | 0 | 0 | 0 | 0 | 0 | 0
69 | 0.044223 | 0.6122 |  | 0 | 0 | 0 | 0 | 0 | 0
70 | 0.0004088 | 0.64929 |  | 0 | 0 | 0 | 0 | 0 | 0
71 | 0.030031 | 0.3662 |  | 0 | 0 | 0 | 0 | 0 | 0
72 | -0.032658 | 0.35314 |  | 0 | 0 | 0 | 0 | 0 | 0
73 | 0.050126 | 0.1337 |  | 0 | 0 | 0 | 0 | 0 | 0
74 | -0.01376 | 0.073459 |  | 0 | 0 | 0 | 0 | 0 | 0
75 | 0.025276 | -0.20918 |  | 0 | 1 | 0 | 0 | 0 | 0
76 | 0.068825 | -0.36956 |  | 0 | 0 | 0 | 0 | 0 | 0
77 | -0.068125 | -0.47422 |  | 0 | 0 | 0 | 0 | 0 | 0
78 | 0.032689 | -0.38555 |  | 0 | 0 | 0 | 0 | 0 | 0
79 | 0.079704 | -0.21701 |  | 0 | 0 | 0 | 0 | 0 | 0
80 | -0.082049 | -0.20564 |  | 0 | 0 | 0 | 0 | 0 | 0
81 | -0.057089 | -0.031011 |  | 0 | 0 | 0 | 0 | 0 | 0
82 | 0.00097508 | -0.060748 |  | 0 | 0 | 0 | 0 | 0 | 0
83 | 0.022974 | 0.2004 |  | 0 | 0 | 0 | 0 | 0 | 0
84 | -0.013668 | 0.39538 |  | 0 | 0 | 0 | 0 | 0 | 0
85 | 0.094196 | 0.70669 |  | 0 | 0 | 0 | 0 | 0 | 0
86 | -0.09151 | 0.6962 |  | 0 | 0 | 0 | 0 | 0 | 0
87 | 0.010386 | 0.54799 |  | 0 | 0 | 0 | 0 | 0 | 0
88 | 0.038933 | 0.94521 |  | 0 | 0 | 0 | 0 | 0 | 0
89 | 0.031571 | 1.7381 |  | 0 | 0 | 0 | 0 | 0 | 0
90 | 0.016275 | 2.93 |  | 0 | 0 | 0 | 0 | 0 | 0
91 | 0.10281 | 3.1729 |  | 0 | 0 | 0 | 0 | 0 | 0
92 | -0.027996 | 2.6383 |  | 0 | 0 | 1 | 0 | 0 | 0
93 | 0.053171 | 1.4245 |  | 0 | 0 | 1 | 0 | 0 | 0
94 | 0.32564 | 0.14533 |  | 0 | 0 | 1 | 0 | 0 | 0
95 | 0.28877 | -0.29967 |  | 0 | 1 | 1 | 0 | 0 | 0
96 | 0.2923 | -0.15941 |  | 0 | 0 | 0 | 0 | 0 | 0
97 | 0.11867 | 0.8747 |  | 0 | 0 | 0 | 0 | 0 | 0
98 | -0.11185 | 1.98 |  | 0 | 0 | 0 | 0 | 0 | 0
99 | -0.0021741 | 3.8649 |  | 0 | 0 | 0 | 0 | 0 | 0
100 | -0.043412 | 6.223 |  | 0 | 0 | 0 | 0 | 0 | 0
101 | 0.25819 | 9.4552 |  | 0 | 0 | 0 | 0 | 0 | 0
102 | 0.33989 | 12.177 |  | 0 | 0 | 0 | 0 | 0 | 0
103 | 0.62488 | 13.5105 |  | 1 | 0 | 0 | 0 | 0 | 0
104 | 0.51794 | 13.3779 |  | 1 | 0 | 0 | 0 | 0 | 0
105 | 0.7798 | 11.1154 |  | 1 | 0 | 1 | 0 | 0 | 0
106 | 0.90805 | 8.1335 |  | 1 | 0 | 1 | 0 | 0 | 0
107 | 1.0071 | 3.9696 |  | 1 | 0 | 1 | 0 | 0 | 0
108 | 1.0907 | 0.082456 |  | 1 | 0 | 1 | 0 | 0 | 0
109 | 1.0137 | -4.1646 |  | 1 | 1 | 1 | 1 | 1 | 1
110 | 1.0161 | -8.0031 |  | 1 | 0 | 1 | 0 | 1 | 0
111 | 0.75178 | -11.3781 |  | 1 | 0 | 1 | 0 | 1 | 0
112 | 0.66095 | -13.2973 |  | 1 | 0 | 1 | 0 | 1 | 0
113 | 0.43517 | -13.5994 |  | 1 | 0 | 1 | 0 | 1 | 0
114 | 0.31037 | -12.278 |  | 0 | 0 | 0 | 0 | 1 | 0
115 | 0.20647 | -9.6403 |  | 0 | 0 | 0 | 0 | 1 | 0
116 | -0.0096714 | -6.1853 |  | 0 | 0 | 0 | 0 | 1 | 0
117 | -0.0048527 | -2.2035 |  | 0 | 0 | 0 | 0 | 1 | 0
118 | 0.052909 | 1.7361 |  | 0 | 0 | 0 | 0 | 1 | 0
119 | 0.060383 | 5.3799 |  | 0 | 0 | 0 | 0 | 1 | 0
120 | 0.2279 | 8.8406 |  | 0 | 0 | 0 | 0 | 1 | 0
121 | 0.27067 | 11.2752 |  | 0 | 0 | 0 | 0 | 1 | 0
122 | 0.4365 | 12.6827 |  | 1 | 0 | 0 | 0 | 1 | 0
123 | 0.55419 | 12.5983 |  | 1 | 0 | 0 | 0 | 1 | 0
124 | 0.73173 | 11.3201 |  | 1 | 0 | 1 | 0 | 1 | 0
125 | 0.76536 | 9.2743 |  | 1 | 0 | 1 | 0 | 1 | 0
126 | 1.0822 | 6.0933 |  | 1 | 0 | 1 | 0 | 1 | 0
127 | 1.0495 | 2.4336 |  | 1 | 0 | 1 | 0 | 1 | 0
128 | 0.98849 | -1.9278 |  | 1 | 1 | 1 | 1 | 2 | 2
129 | 0.98895 | -5.9053 |  | 1 | 0 | 1 | 0 | 2 | 0
130 | 0.87942 | -9.461 |  | 1 | 0 | 1 | 0 | 2 | 0
131 | 0.78521 | -11.659 |  | 1 | 0 | 1 | 0 | 2 | 0
132 | 0.56596 | -12.8308 |  | 1 | 0 | 1 | 0 | 2 | 0
133 | 0.43298 | -12.6013 |  | 1 | 0 | 0 | 0 | 2 | 0
134 | 0.18929 | -11.3153 |  | 0 | 0 | 0 | 0 | 2 | 0
135 | 0.17319 | -9.1186 |  | 0 | 0 | 0 | 0 | 2 | 0
136 | 0.12449 | -5.6698 |  | 0 | 0 | 0 | 0 | 2 | 0
137 | 0.036568 | -1.6795 |  | 0 | 0 | 0 | 0 | 2 | 0
138 | 0.0040652 | 2.6593 |  | 0 | 0 | 0 | 0 | 2 | 0
139 | 0.062985 | 6.3456 |  | 0 | 0 | 0 | 0 | 2 | 0
140 | 0.16481 | 9.321 |  | 0 | 0 | 0 | 0 | 2 | 0
141 | 0.21764 | 11.2383 |  | 0 | 0 | 0 | 0 | 2 | 0
142 | 0.50669 | 12.3124 |  | 1 | 0 | 0 | 0 | 2 | 0
143 | 0.67219 | 12.1019 |  | 1 | 0 | 0 | 0 | 2 | 0
144 | 0.78179 | 10.7324 |  | 1 | 0 | 1 | 0 | 2 | 0
145 | 0.88428 | 8.3306 |  | 1 | 0 | 1 | 0 | 2 | 0
146 | 0.93518 | 4.8925 |  | 1 | 0 | 1 | 0 | 2 | 0
147 | 0.93413 | 0.83917 |  | 1 | 0 | 1 | 0 | 2 | 0
148 | 0.99591 | -3.2942 |  | 1 | 1 | 1 | 1 | 3 | 3
149 | 0.8977 | -6.7765 |  | 1 | 0 | 1 | 0 | 3 | 0
150 | 0.84668 | -9.6418 |  | 1 | 0 | 1 | 0 | 3 | 0
151 | 0.77287 | -11.7003 |  | 1 | 0 | 1 | 0 | 3 | 0
152 | 0.5209 | -12.6087 |  | 1 | 0 | 1 | 0 | 3 | 0
153 | 0.27342 | -12.2064 |  | 0 | 0 | 0 | 0 | 3 | 0
154 | 0.25337 | -10.7885 |  | 0 | 0 | 0 | 0 | 3 | 0
155 | 0.15558 | -8.1652 |  | 0 | 0 | 0 | 0 | 3 | 0
156 | -0.053915 | -4.6683 |  | 0 | 0 | 0 | 0 | 3 | 0
157 | -0.024135 | -0.49023 |  | 0 | 0 | 0 | 0 | 3 | 0
158 | 0.12411 | 3.6955 |  | 0 | 0 | 0 | 0 | 3 | 0
159 | 0.084279 | 7.2673 |  | 0 | 0 | 0 | 0 | 3 | 0
160 | 0.096182 | 10.3074 |  | 0 | 0 | 0 | 0 | 3 | 0
161 | 0.36442 | 12.2162 |  | 0 | 0 | 0 | 0 | 3 | 0
162 | 0.47748 | 12.9722 |  | 1 | 0 | 0 | 0 | 3 | 0
163 | 0.62895 | 12.6687 |  | 1 | 0 | 1 | 0 | 3 | 0
164 | 0.86954 | 11.0079 |  | 1 | 0 | 1 | 0 | 3 | 0
165 | 0.86437 | 8.037 |  | 1 | 0 | 1 | 0 | 3 | 0
166 | 1.0239 | 3.8839 |  | 1 | 0 | 1 | 0 | 3 | 0
167 | 1.0165 | -0.7271 |  | 1 | 1 | 1 | 1 | 4 | 4
168 | 0.99589 | -4.6363 |  | 1 | 0 | 1 | 0 | 4 | 0
169 | 1.0506 | -8.0126 |  | 1 | 0 | 1 | 0 | 4 | 0
170 | 0.73693 | -10.6694 |  | 1 | 0 | 1 | 0 | 4 | 0
171 | 0.52699 | -12.2831 |  | 1 | 0 | 1 | 0 | 4 | 0
172 | 0.44053 | -13.0023 |  | 1 | 0 | 1 | 0 | 4 | 0
173 | 0.28692 | -12.1477 |  | 0 | 0 | 0 | 0 | 4 | 0
174 | 0.3064 | -9.8047 |  | 0 | 0 | 0 | 0 | 4 | 0
175 | 0.11626 | -6.5837 |  | 0 | 0 | 0 | 0 | 4 | 0
176 | 0.0035089 | -2.723 |  | 0 | 0 | 0 | 0 | 4 | 0
177 | -5.4219e-05 | 0.64654 |  | 0 | 0 | 0 | 0 | 4 | 0
178 | -0.015633 | 4.125 |  | 0 | 0 | 0 | 0 | 4 | 0
179 | 0.13913 | 7.6272 |  | 0 | 0 | 0 | 0 | 4 | 0
180 | 0.27879 | 10.6075 |  | 0 | 0 | 0 | 0 | 4 | 0
181 | 0.34433 | 12.6667 |  | 0 | 0 | 0 | 0 | 4 | 0
182 | 0.57478 | 13.0779 |  | 1 | 0 | 0 | 0 | 4 | 0
183 | 0.5622 | 11.9492 |  | 1 | 0 | 1 | 0 | 4 | 0
184 | 0.86641 | 9.6261 |  | 1 | 0 | 1 | 0 | 4 | 0
185 | 1.0202 | 6.4627 |  | 1 | 0 | 1 | 0 | 4 | 0
186 | 0.99212 | 2.4782 |  | 1 | 0 | 1 | 0 | 4 | 0
187 | 1.0321 | -1.5002 |  | 1 | 1 | 1 | 1 | 5 | 5
188 | 0.96055 | -5.5823 |  | 1 | 0 | 1 | 0 | 5 | 0
189 | 0.83259 | -8.732 |  | 1 | 0 | 1 | 0 | 5 | 0
190 | 0.71567 | -11.1086 |  | 1 | 0 | 1 | 0 | 5 | 0
191 | 0.62716 | -12.3904 |  | 1 | 0 | 1 | 0 | 5 | 0
192 | 0.30614 | -12.3965 |  | 0 | 0 | 0 | 0 | 5 | 0
193 | 0.29672 | -11.2175 |  | 0 | 0 | 0 | 0 | 5 | 0
194 | 0.26808 | -8.632 |  | 0 | 0 | 0 | 0 | 5 | 0
195 | 0.096936 | -5.1498 |  | 0 | 0 | 0 | 0 | 5 | 0
196 | 0.0052683 | -0.93723 |  | 0 | 0 | 0 | 0 | 5 | 0
197 | -0.045017 | 2.9991 |  | 0 | 0 | 0 | 0 | 5 | 0
198 | 0.036458 | 6.7273 |  | 0 | 0 | 0 | 0 | 5 | 0
199 | 0.17958 | 9.6644 |  | 0 | 0 | 0 | 0 | 5 | 0
200 | 0.39152 | 11.7968 |  | 0 | 0 | 0 | 0 | 5 | 0
201 | 0.51675 | 12.7816 |  | 1 | 0 | 0 | 0 | 5 | 0
202 | 0.72021 | 12.1462 |  | 1 | 0 | 1 | 0 | 5 | 0
203 | 0.78213 | 10.1299 |  | 1 | 0 | 1 | 0 | 5 | 0
204 | 0.90916 | 7.1248 |  | 1 | 0 | 1 | 0 | 5 | 0
205 | 0.98521 | 3.5976 |  | 1 | 0 | 1 | 0 | 5 | 0
206 | 0.93322 | -0.15518 |  | 1 | 1 | 1 | 1 | 6 | 6
207 | 0.95942 | -3.7776 |  | 1 | 0 | 1 | 0 | 6 | 0
208 | 0.9194 | -7.4749 |  | 1 | 0 | 1 | 0 | 6 | 0
209 | 0.76038 | -10.2059 |  | 1 | 0 | 1 | 0 | 6 | 0
210 | 0.69335 | -12.1424 |  | 1 | 0 | 1 | 0 | 6 | 0
211 | 0.55031 | -12.777 |  | 1 | 0 | 1 | 0 | 6 | 0
212 | 0.35261 | -12.3327 |  | 0 | 0 | 0 | 0 | 6 | 0
213 | 0.19844 | -10.8067 |  | 0 | 0 | 0 | 0 | 6 | 0
214 | -0.036872 | -8.0358 |  | 0 | 0 | 0 | 0 | 6 | 0
215 | 0.064806 | -4.3321 |  | 0 | 0 | 0 | 0 | 6 | 0
216 | -0.027932 | -0.054551 |  | 0 | 0 | 0 | 0 | 6 | 0
217 | -0.005599 | 4.3333 |  | 0 | 0 | 0 | 0 | 6 | 0
218 | 0.0586 | 8.2693 |  | 0 | 0 | 0 | 0 | 6 | 0
219 | 0.14138 | 10.918 |  | 0 | 0 | 0 | 0 | 6 | 0
220 | 0.38071 | 12.5136 |  | 0 | 0 | 0 | 0 | 6 | 0
221 | 0.5217 | 12.6491 |  | 1 | 0 | 0 | 0 | 6 | 0
222 | 0.6781 | 11.7917 |  | 1 | 0 | 1 | 0 | 6 | 0
223 | 0.83599 | 9.5875 |  | 1 | 0 | 1 | 0 | 6 | 0
224 | 0.93352 | 6.1892 |  | 1 | 0 | 1 | 0 | 6 | 0
225 | 0.91206 | 2.3948 |  | 1 | 0 | 1 | 0 | 6 | 0
226 | 0.9541 | -1.472 |  | 1 | 1 | 1 | 1 | 7 | 7
227 | 0.92529 | -4.786 |  | 1 | 0 | 1 | 0 | 7 | 0
228 | 0.81459 | -7.4914 |  | 1 | 0 | 1 | 0 | 7 | 0
229 | 0.70819 | -9.696 |  | 1 | 0 | 1 | 0 | 7 | 0
230 | 0.51579 | -11.1483 |  | 1 | 0 | 1 | 0 | 7 | 0
231 | 0.45882 | -11.7642 |  | 1 | 0 | 1 | 0 | 7 | 0
232 | 0.36764 | -11.0701 |  | 0 | 0 | 0 | 0 | 7 | 0
233 | 0.24896 | -8.9887 |  | 0 | 0 | 0 | 0 | 7 | 0
234 | 0.17144 | -5.8638 |  | 0 | 0 | 0 | 0 | 7 | 0
235 | -0.047112 | -2.1108 |  | 0 | 0 | 0 | 0 | 7 | 0
236 | -0.050389 | 1.7803 |  | 0 | 0 | 0 | 0 | 7 | 0
237 | -0.02044 | 5.4961 |  | 0 | 0 | 0 | 0 | 7 | 0
238 | 0.14984 | 8.7334 |  | 0 | 0 | 0 | 0 | 7 | 0
239 | 0.33865 | 11.3231 |  | 0 | 0 | 0 | 0 | 7 | 0
240 | 0.45388 | 12.6419 |  | 1 | 0 | 0 | 0 | 7 | 0
241 | 0.693 | 12.7746 |  | 1 | 0 | 0 | 0 | 7 | 0
242 | 0.7559 | 11.1703 |  | 1 | 0 | 1 | 0 | 7 | 0
243 | 0.82685 | 8.582 |  | 1 | 0 | 1 | 0 | 7 | 0
244 | 0.90462 | 5.185 |  | 1 | 0 | 1 | 0 | 7 | 0
245 | 0.98793 | 1.4039 |  | 1 | 0 | 1 | 0 | 7 | 0
246 | 0.97565 | -2.4501 |  | 1 | 1 | 1 | 1 | 8 | 8
247 | 1.013 | -6.1801 |  | 1 | 0 | 1 | 0 | 8 | 0
248 | 0.84137 | -9.1952 |  | 1 | 0 | 1 | 0 | 8 | 0
249 | 0.73256 | -11.5001 |  | 1 | 0 | 1 | 0 | 8 | 0
250 | 0.59615 | -12.6782 |  | 1 | 0 | 1 | 0 | 8 | 0
251 | 0.39815 | -12.8292 |  | 0 | 0 | 0 | 0 | 8 | 0
252 | 0.18275 | -11.3608 |  | 0 | 0 | 0 | 0 | 8 | 0
253 | 0.10526 | -8.8576 |  | 0 | 0 | 0 | 0 | 8 | 0
254 | 0.088855 | -5.1353 |  | 0 | 0 | 0 | 0 | 8 | 0
255 | -0.0073485 | -0.88031 |  | 0 | 0 | 0 | 0 | 8 | 0
256 | 0.019506 | 3.4793 |  | 0 | 0 | 0 | 0 | 8 | 0
257 | 0.011086 | 7.3941 |  | 0 | 0 | 0 | 0 | 8 | 0
258 | 0.20549 | 10.2092 |  | 0 | 0 | 0 | 0 | 8 | 0
259 | 0.29839 | 12.1303 |  | 0 | 0 | 0 | 0 | 8 | 0
260 | 0.50645 | 13.047 |  | 1 | 0 | 0 | 0 | 8 | 0
261 | 0.7212 | 12.6409 |  | 1 | 0 | 1 | 0 | 8 | 0
262 | 0.78824 | 10.719 |  | 1 | 0 | 1 | 0 | 8 | 0
263 | 0.92997 | 7.5829 |  | 1 | 0 | 1 | 0 | 8 | 0
264 | 0.92811 | 3.8182 |  | 1 | 0 | 1 | 0 | 8 | 0
265 | 1.0232 | 0.053714 |  | 1 | 0 | 1 | 0 | 8 | 0
266 | 1.0769 | -3.8171 |  | 1 | 1 | 1 | 1 | 9 | 9
267 | 0.84643 | -7.2223 |  | 1 | 0 | 1 | 0 | 9 | 0
268 | 0.76995 | -10.0407 |  | 1 | 0 | 1 | 0 | 9 | 0
269 | 0.6322 | -12.1815 |  | 1 | 0 | 1 | 0 | 9 | 0
270 | 0.5638 | -13.1312 |  | 1 | 0 | 1 | 0 | 9 | 0
271 | 0.45382 | -12.5723 |  | 1 | 0 | 0 | 0 | 9 | 0
272 | 0.14103 | -10.5259 |  | 0 | 0 | 0 | 0 | 9 | 0
273 | 0.12406 | -7.0522 |  | 0 | 0 | 0 | 0 | 9 | 0
274 | 0.025146 | -3.4033 |  | 0 | 0 | 0 | 0 | 9 | 0
275 | -0.1086 | 0.72409 |  | 0 | 0 | 0 | 0 | 9 | 0
276 | -0.034653 | 4.8032 |  | 0 | 0 | 0 | 0 | 9 | 0
277 | 0.15115 | 8.3231 |  | 0 | 0 | 0 | 0 | 9 | 0
278 | 0.28082 | 11.1354 |  | 0 | 0 | 0 | 0 | 9 | 0
279 | 0.53416 | 12.3769 |  | 1 | 0 | 0 | 0 | 9 | 0
280 | 0.5273 | 12.5996 |  | 1 | 0 | 0 | 0 | 9 | 0
281 | 0.68142 | 11.4944 |  | 1 | 0 | 1 | 0 | 9 | 0
282 | 0.85075 | 9.2631 |  | 1 | 0 | 1 | 0 | 9 | 0
283 | 0.88229 | 6.2717 |  | 1 | 0 | 1 | 0 | 9 | 0
284 | 0.98168 | 2.8051 |  | 1 | 0 | 1 | 0 | 9 | 0
285 | 0.91432 | -1.1916 |  | 1 | 1 | 1 | 1 | 10 | 10
286 | 1.0176 | -5.3416 |  | 1 | 0 | 1 | 0 | 10 | 0
287 | 0.97266 | -9.1609 |  | 1 | 0 | 1 | 0 | 10 | 0
288 | 0.76593 | -11.9724 |  | 1 | 0 | 1 | 0 | 10 | 0
289 | 0.64846 | -13.3326 |  | 1 | 0 | 1 | 0 | 10 | 0
290 | 0.41488 | -13.6834 |  | 1 | 0 | 1 | 0 | 10 | 0
291 | 0.1918 | -12.7818 |  | 0 | 0 | 0 | 0 | 10 | 0
Note on B8: Tom: In this example, the x,y signal data in column A and B, rows 8 to 263, are calculated by formula. You can change the signal parameters in column AC, rows 2-4.
Note on D8: Tom: This column calculates the smoothed derivative of the original data in Column A

## Sheet2
Peak 1
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum of.. | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)
Summary of equations:
Cell B28 | n=number of x,y data points
Cell B27 | sumx=Σx
Cell C27 | sumy=Σy
Cell D27 | sumxy=Σx*y
Cell E27 | sumx2=Σx*x
Cell F27 | sumx3=Σx^3
Cell G27 | sumx3=Σx^4
Cell H27 | sumx2y=Σ(x^2)*y
Cell B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
Cell B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
Cell B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
Cell B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Calculated Gaussian parameters:
Cell K7 | Height = EXP(c-a*(b/(2*a))^2)
Cell K8 | Position = -b/(2*a)'
Cell K9 | Width = 2.35703/(SQRT(2)*SQRT(-a))

## Sheet3
Peak 2
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet4
Peak 3
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet5
Peak 4
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet6
Peak 5
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet7
Peak 6
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet8
Peak 7
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet9
Peak 8
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet10
Peak 9
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet11
Peak 10
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 0
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)