## Sheet1
| Demonstration of peak detection and measurement of a calculated noisy Sine Squared waveform | [17 empty] | Tom O'Haver (toh@umd.edu), 2013 | [6 empty] | Sine Squared Waveform (sin(x)^2)
| In this example, the x,y signal data in column A and B, rows 8 to 263, are calculated by formula. You can change the signal parameters in column AC, rows 2-4. | [24 empty] | amplitude | 1 | Change the amplitude, frequency, and noise level of the waveform in this table.
Amplitude threshold | 0.4 | Slope threshold | 0.3 | The green cells are variables that you can change. |  |  |  | The derivative and smooth functions are defined by the 17 coefficients in row 5, columns J through Z. | [17 empty] | frequency | 0.16
[8 empty] | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | noise | 0.1
|  | 2 |  |  |  |  | Coefficients ---> | 0 | 0 | -2 | -3 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 3 | 2 | 0 | 0 | 1
Original | data | First derivative |  | Signal greater than amplitude threshold? | Down zero crossing in first derivative? | Crossing slope greater than slope threshold? | All three conditions met? Peak detected! | # of peaks so far | Peak # | [22 empty] | measured peak height | measured peak position | measured peak width | Interval between peaks
X | Y | [14 empty] | 10 | peaks found | [9 empty] | peak# | match | row # | sheet
1 | 0.051754 | 0 |  | 0 | [22 empty] | 1 | 108 | 116 | 2 | Sheet2! | 1.027 | 107.9455 | 9.3128
2 | -0.063736 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 2 | 127 | 135 | 3 | Sheet3! | 0.97382 | 127.4963 | 10.045 | 19.5507
3 | 0.021593 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 3 | 147 | 155 | 4 | Sheet4! | 1.0634 | 147.053 | 9.1577 | 19.5567
4 | -0.025707 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 4 | 166 | 174 | 5 | Sheet5! | 1.0352 | 166.9084 | 8.9128 | 19.8554
5 | -0.054696 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 5 | 186 | 194 | 6 | Sheet6! | 1.0052 | 186.8089 | 9.5027 | 19.9005
6 | 0.051749 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 6 | 206 | 214 | 7 | Sheet7! | 1.0349 | 206.4265 | 9.159 | 19.6176
7 | 0.039411 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 7 | 225 | 233 | 8 | Sheet8! | 1.0511 | 225.89 | 9.4566 | 19.4635
8 | 0.0053335 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 8 | 245 | 253 | 9 | Sheet9! | 1.0246 | 245.3351 | 9.2811 | 19.4451
9 | 0.015974 | -0.4679 |  | 0 | 1 | 1 | 0 | 0 | 0 | [17 empty] | 9 | 265 | 273 | 10 | Sheet10! | 1.0649 | 265.0137 | 8.747 | 19.6786
10 | -0.030989 | -0.78549 |  | 0 | 0 | 1 | 0 | 0 | 0 | [17 empty] | 10 | 284 | 292 | 11 | Sheet11! | 1.0479 | 284.544 | 9.4862 | 19.5303
11 | -0.020061 | -0.82443 |  | 0 | 0 | 0 | 0 | 0 | 0
12 | 0.049676 | -0.66935 |  | 0 | 0 | 0 | 0 | 0 | 0
13 | -0.077237 | -0.13132 |  | 0 | 0 | 0 | 0 | 0 | 0
14 | -0.069133 | 0.5095 |  | 0 | 0 | 0 | 0 | 0 | 0
15 | -0.02139 | 0.79842 |  | 0 | 0 | 0 | 0 | 0 | 0
16 | -0.077996 | 0.75323 |  | 0 | 0 | 0 | 0 | 0 | 0
17 | 0.013891 | 0.54355 |  | 0 | 0 | 0 | 0 | 0 | 0
18 | 0.044794 | 0.24027 |  | 0 | 0 | 1 | 0 | 0 | 0
19 | 0.049972 | 0.21116 |  | 0 | 0 | 0 | 0 | 0 | 0
20 | 0.10634 | 0.099997 |  | 0 | 0 | 0 | 0 | 0 | 0
21 | -0.010252 | -0.078987 |  | 0 | 1 | 0 | 0 | 0 | 0
22 | -0.1048 | -0.36296 |  | 0 | 0 | 0 | 0 | 0 | 0
23 | -0.046509 | -0.36712 |  | 0 | 0 | 0 | 0 | 0 | 0
24 | -0.024032 | -0.23202 |  | 0 | 0 | 0 | 0 | 0 | 0
25 | 0.044505 | 0.28934 |  | 0 | 0 | 0 | 0 | 0 | 0
26 | 0.0444 | 0.688 |  | 0 | 0 | 0 | 0 | 0 | 0
27 | -0.0004152 | 1.0229 |  | 0 | 0 | 0 | 0 | 0 | 0
28 | -0.080526 | 0.85751 |  | 0 | 0 | 0 | 0 | 0 | 0
29 | 0.11686 | 0.32248 |  | 0 | 0 | 1 | 0 | 0 | 0
30 | -0.007274 | -0.21199 |  | 0 | 1 | 1 | 0 | 0 | 0
31 | -0.0058748 | -0.54852 |  | 0 | 0 | 1 | 0 | 0 | 0
32 | 0.082628 | -0.6775 |  | 0 | 0 | 0 | 0 | 0 | 0
33 | 0.10376 | -0.97255 |  | 0 | 0 | 0 | 0 | 0 | 0
34 | -0.046165 | -0.88698 |  | 0 | 0 | 0 | 0 | 0 | 0
35 | -0.059095 | -0.98864 |  | 0 | 0 | 0 | 0 | 0 | 0
36 | -0.051549 | -0.62734 |  | 0 | 0 | 0 | 0 | 0 | 0
37 | -0.051869 | -0.59553 |  | 0 | 0 | 0 | 0 | 0 | 0
38 | -0.027121 | 0.050205 |  | 0 | 0 | 0 | 0 | 0 | 0
39 | -0.045312 | 0.57964 |  | 0 | 0 | 0 | 0 | 0 | 0
40 | 0.04353 | 1.1228 |  | 0 | 0 | 0 | 0 | 0 | 0
41 | -0.051844 | 0.84643 |  | 0 | 0 | 0 | 0 | 0 | 0
42 | 0.02716 | 0.59 |  | 0 | 0 | 0 | 0 | 0 | 0
43 | -0.069764 | 0.16007 |  | 0 | 0 | 1 | 0 | 0 | 0
44 | 0.11213 | -0.32339 |  | 0 | 1 | 1 | 0 | 0 | 0
45 | 0.024057 | -0.81883 |  | 0 | 0 | 1 | 0 | 0 | 0
46 | 0.038979 | -1.2574 |  | 0 | 0 | 1 | 0 | 0 | 0
47 | -0.099772 | -1.1711 |  | 0 | 0 | 0 | 0 | 0 | 0
48 | 0.019411 | -1.1294 |  | 0 | 0 | 0 | 0 | 0 | 0
49 | -0.044271 | -0.65534 |  | 0 | 0 | 0 | 0 | 0 | 0
50 | -0.12898 | -0.21633 |  | 0 | 0 | 0 | 0 | 0 | 0
51 | -0.1329 | 0.3563 |  | 0 | 0 | 0 | 0 | 0 | 0
52 | -0.034933 | 0.56925 |  | 0 | 0 | 0 | 0 | 0 | 0
53 | 0.021778 | 0.74033 |  | 0 | 0 | 0 | 0 | 0 | 0
54 | -0.0050574 | 0.73807 |  | 0 | 0 | 0 | 0 | 0 | 0
55 | 0.0011053 | 0.84122 |  | 0 | 0 | 0 | 0 | 0 | 0
56 | 0.042804 | 0.60513 |  | 0 | 0 | 0 | 0 | 0 | 0
57 | -0.081655 | 0.32922 |  | 0 | 0 | 0 | 0 | 0 | 0
58 | -0.019681 | -0.11152 |  | 0 | 1 | 1 | 0 | 0 | 0
59 | -0.0028172 | -0.08424 |  | 0 | 0 | 0 | 0 | 0 | 0
60 | -0.036595 | 0.0012549 |  | 0 | 0 | 0 | 0 | 0 | 0
61 | 0.03422 | 0.22063 |  | 0 | 0 | 0 | 0 | 0 | 0
62 | 0.019123 | 0.4269 |  | 0 | 0 | 0 | 0 | 0 | 0
63 | 0.0082123 | 0.31364 |  | 0 | 0 | 0 | 0 | 0 | 0
64 | -0.1284 | 0.17334 |  | 0 | 0 | 0 | 0 | 0 | 0
65 | 0.078557 | 0.15867 |  | 0 | 0 | 0 | 0 | 0 | 0
66 | 0.029671 | 0.37437 |  | 0 | 0 | 0 | 0 | 0 | 0
67 | -0.065117 | 0.65109 |  | 0 | 0 | 0 | 0 | 0 | 0
68 | 0.11549 | 0.68913 |  | 0 | 0 | 0 | 0 | 0 | 0
69 | -0.072962 | 0.16479 |  | 0 | 0 | 1 | 0 | 0 | 0
70 | -0.028673 | -0.24449 |  | 0 | 1 | 1 | 0 | 0 | 0
71 | 0.12875 | -0.58368 |  | 0 | 0 | 1 | 0 | 0 | 0
72 | 0.054104 | -0.52661 |  | 0 | 0 | 0 | 0 | 0 | 0
73 | 0.025246 | -0.42529 |  | 0 | 0 | 0 | 0 | 0 | 0
74 | -0.039887 | -0.56179 |  | 0 | 0 | 0 | 0 | 0 | 0
75 | -0.093973 | -0.59137 |  | 0 | 0 | 0 | 0 | 0 | 0
76 | -0.027751 | -0.36552 |  | 0 | 0 | 0 | 0 | 0 | 0
77 | 0.024024 | -0.013936 |  | 0 | 0 | 0 | 0 | 0 | 0
78 | 0.013611 | 0.66166 |  | 0 | 0 | 0 | 0 | 0 | 0
79 | -0.050587 | 0.86749 |  | 0 | 0 | 0 | 0 | 0 | 0
80 | 0.015012 | 0.55042 |  | 0 | 0 | 1 | 0 | 0 | 0
81 | -0.01961 | 0.14403 |  | 0 | 0 | 1 | 0 | 0 | 0
82 | 0.090543 | -0.31542 |  | 0 | 1 | 1 | 0 | 0 | 0
83 | 0.010418 | -0.42373 |  | 0 | 0 | 0 | 0 | 0 | 0
84 | 0.029315 | -0.35836 |  | 0 | 0 | 0 | 0 | 0 | 0
85 | 0.0119 | -0.25468 |  | 0 | 0 | 0 | 0 | 0 | 0
86 | -0.10963 | -0.23874 |  | 0 | 0 | 0 | 0 | 0 | 0
87 | 0.0027807 | -0.32764 |  | 0 | 0 | 0 | 0 | 0 | 0
88 | -0.030165 | 0.45317 |  | 0 | 0 | 0 | 0 | 0 | 0
89 | -0.042847 | 1.3327 |  | 0 | 0 | 0 | 0 | 0 | 0
90 | 0.07902 | 2.4236 |  | 0 | 0 | 0 | 0 | 0 | 0
91 | 0.030705 | 2.1747 |  | 0 | 0 | 0 | 0 | 0 | 0
92 | -0.012849 | 1.6998 |  | 0 | 0 | 1 | 0 | 0 | 0
93 | -0.12846 | 1.099 |  | 0 | 0 | 1 | 0 | 0 | 0
94 | 0.41573 | 0.79184 |  | 1 | 0 | 1 | 0 | 0 | 0
95 | 0.15019 | 0.91375 |  | 0 | 0 | 0 | 0 | 0 | 0
96 | 0.12571 | 1.226 |  | 0 | 0 | 0 | 0 | 0 | 0
97 | -0.085866 | 2.1617 |  | 0 | 0 | 0 | 0 | 0 | 0
98 | 0.01483 | 3.1077 |  | 0 | 0 | 0 | 0 | 0 | 0
99 | 0.16702 | 4.9573 |  | 0 | 0 | 0 | 0 | 0 | 0
100 | 0.076307 | 7.2567 |  | 0 | 0 | 0 | 0 | 0 | 0
101 | 0.20637 | 10.0676 |  | 0 | 0 | 0 | 0 | 0 | 0
102 | 0.32591 | 11.7034 |  | 0 | 0 | 0 | 0 | 0 | 0
103 | 0.4815 | 12.1632 |  | 1 | 0 | 0 | 0 | 0 | 0
104 | 0.64438 | 11.6342 |  | 1 | 0 | 1 | 0 | 0 | 0
105 | 0.72131 | 10.0049 |  | 1 | 0 | 1 | 0 | 0 | 0
106 | 0.96825 | 7.6128 |  | 1 | 0 | 1 | 0 | 0 | 0
107 | 0.92222 | 3.9394 |  | 1 | 0 | 1 | 0 | 0 | 0
108 | 1.0214 | 0.062611 |  | 1 | 0 | 1 | 0 | 0 | 0
109 | 0.96341 | -3.9583 |  | 1 | 1 | 1 | 1 | 1 | 1
110 | 0.91118 | -7.4705 |  | 1 | 0 | 1 | 0 | 1 | 0
111 | 0.75723 | -10.139 |  | 1 | 0 | 1 | 0 | 1 | 0
112 | 0.68558 | -11.9113 |  | 1 | 0 | 1 | 0 | 1 | 0
113 | 0.41626 | -12.353 |  | 1 | 0 | 1 | 0 | 1 | 0
114 | 0.35526 | -11.8496 |  | 0 | 0 | 0 | 0 | 1 | 0
115 | 0.1902 | -10.0444 |  | 0 | 0 | 0 | 0 | 1 | 0
116 | 0.12962 | -7.2202 |  | 0 | 0 | 0 | 0 | 1 | 0
117 | 0.032911 | -3.3174 |  | 0 | 0 | 0 | 0 | 1 | 0
118 | 0.016266 | 0.60667 |  | 0 | 0 | 0 | 0 | 1 | 0
119 | 0.018902 | 4.6711 |  | 0 | 0 | 0 | 0 | 1 | 0
120 | 0.058642 | 7.7815 |  | 0 | 0 | 0 | 0 | 1 | 0
121 | 0.19685 | 10.5337 |  | 0 | 0 | 0 | 0 | 1 | 0
122 | 0.40923 | 11.9375 |  | 1 | 0 | 0 | 0 | 1 | 0
123 | 0.62478 | 12.3939 |  | 1 | 0 | 0 | 0 | 1 | 0
124 | 0.63621 | 11.3586 |  | 1 | 0 | 1 | 0 | 1 | 0
125 | 0.85669 | 9.2004 |  | 1 | 0 | 1 | 0 | 1 | 0
126 | 0.86337 | 5.8501 |  | 1 | 0 | 1 | 0 | 1 | 0
127 | 0.99777 | 2.0679 |  | 1 | 0 | 1 | 0 | 1 | 0
128 | 0.90867 | -1.7047 |  | 1 | 1 | 1 | 1 | 2 | 2
129 | 0.95309 | -5.2997 |  | 1 | 0 | 1 | 0 | 2 | 0
130 | 0.82277 | -8.43 |  | 1 | 0 | 1 | 0 | 2 | 0
131 | 0.72468 | -11.0578 |  | 1 | 0 | 1 | 0 | 2 | 0
132 | 0.52938 | -12.3418 |  | 1 | 0 | 1 | 0 | 2 | 0
133 | 0.45186 | -12.274 |  | 1 | 0 | 0 | 0 | 2 | 0
134 | 0.29087 | -10.9188 |  | 0 | 0 | 0 | 0 | 2 | 0
135 | 0.1196 | -8.5642 |  | 0 | 0 | 0 | 0 | 2 | 0
136 | -0.015816 | -5.2899 |  | 0 | 0 | 0 | 0 | 2 | 0
137 | -0.022494 | -1.5128 |  | 0 | 0 | 0 | 0 | 2 | 0
138 | -0.0096143 | 2.5014 |  | 0 | 0 | 0 | 0 | 2 | 0
139 | 0.17158 | 6.5123 |  | 0 | 0 | 0 | 0 | 2 | 0
140 | 0.11841 | 9.9619 |  | 0 | 0 | 0 | 0 | 2 | 0
141 | 0.26994 | 12.4908 |  | 0 | 0 | 0 | 0 | 2 | 0
142 | 0.47384 | 13.3886 |  | 1 | 0 | 0 | 0 | 2 | 0
143 | 0.61905 | 12.7068 |  | 1 | 0 | 1 | 0 | 2 | 0
144 | 0.70659 | 11.097 |  | 1 | 0 | 1 | 0 | 2 | 0
145 | 0.99459 | 8.4267 |  | 1 | 0 | 1 | 0 | 2 | 0
146 | 1.0195 | 5.0265 |  | 1 | 0 | 1 | 0 | 2 | 0
147 | 1.0783 | 0.66853 |  | 1 | 0 | 1 | 0 | 2 | 0
148 | 0.97173 | -3.7043 |  | 1 | 1 | 1 | 1 | 3 | 3
149 | 0.85274 | -7.5359 |  | 1 | 0 | 1 | 0 | 3 | 0
150 | 0.8645 | -10.3371 |  | 1 | 0 | 1 | 0 | 3 | 0
151 | 0.73763 | -11.9789 |  | 1 | 0 | 1 | 0 | 3 | 0
152 | 0.49128 | -12.509 |  | 1 | 0 | 1 | 0 | 3 | 0
153 | 0.2698 | -11.9472 |  | 0 | 0 | 0 | 0 | 3 | 0
154 | 0.22948 | -10.4606 |  | 0 | 0 | 0 | 0 | 3 | 0
155 | 0.20301 | -7.9917 |  | 0 | 0 | 0 | 0 | 3 | 0
156 | 0.056297 | -4.4357 |  | 0 | 0 | 0 | 0 | 3 | 0
157 | 0.083479 | -0.53269 |  | 0 | 0 | 0 | 0 | 3 | 0
158 | -0.068322 | 3.3659 |  | 0 | 0 | 0 | 0 | 3 | 0
159 | 0.081098 | 6.6645 |  | 0 | 0 | 0 | 0 | 3 | 0
160 | 0.21416 | 9.6181 |  | 0 | 0 | 0 | 0 | 3 | 0
161 | 0.25779 | 11.7865 |  | 0 | 0 | 0 | 0 | 3 | 0
162 | 0.56125 | 12.8081 |  | 1 | 0 | 0 | 0 | 3 | 0
163 | 0.59755 | 12.0615 |  | 1 | 0 | 1 | 0 | 3 | 0
164 | 0.78023 | 10.0673 |  | 1 | 0 | 1 | 0 | 3 | 0
165 | 0.91387 | 6.9396 |  | 1 | 0 | 1 | 0 | 3 | 0
166 | 1.0353 | 3.3847 |  | 1 | 0 | 1 | 0 | 3 | 0
167 | 1.0041 | -0.54127 |  | 1 | 1 | 1 | 1 | 4 | 4
168 | 0.887 | -4.4131 |  | 1 | 0 | 1 | 0 | 4 | 0
169 | 0.83791 | -7.8543 |  | 1 | 0 | 1 | 0 | 4 | 0
170 | 0.73272 | -10.4072 |  | 1 | 0 | 1 | 0 | 4 | 0
171 | 0.59011 | -11.8089 |  | 1 | 0 | 1 | 0 | 4 | 0
172 | 0.55266 | -11.9874 |  | 1 | 0 | 0 | 0 | 4 | 0
173 | 0.23632 | -10.9943 |  | 0 | 0 | 0 | 0 | 4 | 0
174 | 0.22307 | -9.1181 |  | 0 | 0 | 0 | 0 | 4 | 0
175 | 0.076411 | -6.4583 |  | 0 | 0 | 0 | 0 | 4 | 0
176 | 0.067265 | -3.2031 |  | 0 | 0 | 0 | 0 | 4 | 0
177 | 0.0044025 | 0.48912 |  | 0 | 0 | 0 | 0 | 4 | 0
178 | 0.0094308 | 4.2741 |  | 0 | 0 | 0 | 0 | 4 | 0
179 | 0.167 | 7.8044 |  | 0 | 0 | 0 | 0 | 4 | 0
180 | 0.22478 | 10.1941 |  | 0 | 0 | 0 | 0 | 4 | 0
181 | 0.34157 | 11.7361 |  | 0 | 0 | 0 | 0 | 4 | 0
182 | 0.51338 | 12.0794 |  | 1 | 0 | 0 | 0 | 4 | 0
183 | 0.61886 | 11.3775 |  | 1 | 0 | 1 | 0 | 4 | 0
184 | 0.89875 | 9.4327 |  | 1 | 0 | 1 | 0 | 4 | 0
185 | 0.92613 | 6.6059 |  | 1 | 0 | 1 | 0 | 4 | 0
186 | 0.86968 | 3.0734 |  | 1 | 0 | 1 | 0 | 4 | 0
187 | 0.96725 | -0.75275 |  | 1 | 1 | 1 | 1 | 5 | 5
188 | 0.99091 | -4.8971 |  | 1 | 0 | 1 | 0 | 5 | 0
189 | 0.87581 | -8.4113 |  | 1 | 0 | 1 | 0 | 5 | 0
190 | 0.68181 | -10.9746 |  | 1 | 0 | 1 | 0 | 5 | 0
191 | 0.66573 | -12.2262 |  | 1 | 0 | 1 | 0 | 5 | 0
192 | 0.44023 | -12.2917 |  | 1 | 0 | 0 | 0 | 5 | 0
193 | 0.29628 | -11.1819 |  | 0 | 0 | 0 | 0 | 5 | 0
194 | 0.089923 | -8.8263 |  | 0 | 0 | 0 | 0 | 5 | 0
195 | -0.013587 | -5.749 |  | 0 | 0 | 0 | 0 | 5 | 0
196 | 0.042711 | -1.9678 |  | 0 | 0 | 0 | 0 | 5 | 0
197 | 0.066999 | 1.7613 |  | 0 | 0 | 0 | 0 | 5 | 0
198 | 0.081348 | 5.6836 |  | 0 | 0 | 0 | 0 | 5 | 0
199 | 0.17141 | 8.888 |  | 0 | 0 | 0 | 0 | 5 | 0
200 | 0.28583 | 11.0637 |  | 0 | 0 | 0 | 0 | 5 | 0
201 | 0.37511 | 12.2393 |  | 0 | 0 | 0 | 0 | 5 | 0
202 | 0.59818 | 12.068 |  | 1 | 0 | 0 | 0 | 5 | 0
203 | 0.65357 | 11.1811 |  | 1 | 0 | 1 | 0 | 5 | 0
204 | 0.85121 | 9.0323 |  | 1 | 0 | 1 | 0 | 5 | 0
205 | 1.0204 | 5.9272 |  | 1 | 0 | 1 | 0 | 5 | 0
206 | 0.9552 | 1.852 |  | 1 | 0 | 1 | 0 | 5 | 0
207 | 1.0373 | -2.2845 |  | 1 | 1 | 1 | 1 | 6 | 6
208 | 0.89539 | -6.468 |  | 1 | 0 | 1 | 0 | 6 | 0
209 | 0.92883 | -9.7982 |  | 1 | 0 | 1 | 0 | 6 | 0
210 | 0.70851 | -12.2347 |  | 1 | 0 | 1 | 0 | 6 | 0
211 | 0.51202 | -13.524 |  | 1 | 0 | 1 | 0 | 6 | 0
212 | 0.3203 | -13.0947 |  | 0 | 0 | 0 | 0 | 6 | 0
213 | 0.26836 | -11.4352 |  | 0 | 0 | 0 | 0 | 6 | 0
214 | 0.06736 | -8.2083 |  | 0 | 0 | 0 | 0 | 6 | 0
215 | 0.0054812 | -4.2651 |  | 0 | 0 | 0 | 0 | 6 | 0
216 | -0.031095 | 0.17726 |  | 0 | 0 | 0 | 0 | 6 | 0
217 | -0.10184 | 4.2754 |  | 0 | 0 | 0 | 0 | 6 | 0
218 | 0.11752 | 8.1096 |  | 0 | 0 | 0 | 0 | 6 | 0
219 | 0.29026 | 10.9248 |  | 0 | 0 | 0 | 0 | 6 | 0
220 | 0.33471 | 12.8996 |  | 0 | 0 | 0 | 0 | 6 | 0
221 | 0.52412 | 13.3183 |  | 1 | 0 | 0 | 0 | 6 | 0
222 | 0.72083 | 12.3154 |  | 1 | 0 | 1 | 0 | 6 | 0
223 | 0.7773 | 10.2277 |  | 1 | 0 | 1 | 0 | 6 | 0
224 | 0.96492 | 7.1185 |  | 1 | 0 | 1 | 0 | 6 | 0
225 | 0.97836 | 3.505 |  | 1 | 0 | 1 | 0 | 6 | 0
226 | 1.0269 | -0.52424 |  | 1 | 1 | 1 | 1 | 7 | 7
227 | 0.96609 | -4.4826 |  | 1 | 0 | 1 | 0 | 7 | 0
228 | 0.91711 | -8.0724 |  | 1 | 0 | 1 | 0 | 7 | 0
229 | 0.84646 | -10.7174 |  | 1 | 0 | 1 | 0 | 7 | 0
230 | 0.60814 | -12.3696 |  | 1 | 0 | 1 | 0 | 7 | 0
231 | 0.47373 | -12.5175 |  | 1 | 0 | 0 | 0 | 7 | 0
232 | 0.32376 | -11.5168 |  | 0 | 0 | 0 | 0 | 7 | 0
233 | 0.20751 | -9.3416 |  | 0 | 0 | 0 | 0 | 7 | 0
234 | 0.057141 | -6.1912 |  | 0 | 0 | 0 | 0 | 7 | 0
235 | 0.023487 | -2.5321 |  | 0 | 0 | 0 | 0 | 7 | 0
236 | 0.069486 | 1.2557 |  | 0 | 0 | 0 | 0 | 7 | 0
237 | 0.11198 | 4.863 |  | 0 | 0 | 0 | 0 | 7 | 0
238 | 0.16346 | 8.2488 |  | 0 | 0 | 0 | 0 | 7 | 0
239 | 0.28625 | 10.9535 |  | 0 | 0 | 0 | 0 | 7 | 0
240 | 0.44009 | 12.231 |  | 1 | 0 | 0 | 0 | 7 | 0
241 | 0.53722 | 12.1765 |  | 1 | 0 | 0 | 0 | 7 | 0
242 | 0.6394 | 10.7396 |  | 1 | 0 | 1 | 0 | 7 | 0
243 | 0.88815 | 8.5732 |  | 1 | 0 | 1 | 0 | 7 | 0
244 | 1.0343 | 5.3294 |  | 1 | 0 | 1 | 0 | 7 | 0
245 | 1.0707 | 1.6135 |  | 1 | 0 | 1 | 0 | 7 | 0
246 | 0.90639 | -2.5026 |  | 1 | 1 | 1 | 1 | 8 | 8
247 | 0.93102 | -6.5971 |  | 1 | 0 | 1 | 0 | 8 | 0
248 | 0.77843 | -10.1366 |  | 1 | 0 | 1 | 0 | 8 | 0
249 | 0.75614 | -12.569 |  | 1 | 0 | 1 | 0 | 8 | 0
250 | 0.49768 | -13.4354 |  | 1 | 0 | 1 | 0 | 8 | 0
251 | 0.38133 | -12.9436 |  | 0 | 0 | 0 | 0 | 8 | 0
252 | 0.22984 | -11.2364 |  | 0 | 0 | 0 | 0 | 8 | 0
253 | 0.050207 | -8.5749 |  | 0 | 0 | 0 | 0 | 8 | 0
254 | -0.032774 | -4.9249 |  | 0 | 0 | 0 | 0 | 8 | 0
255 | -0.049753 | -0.83803 |  | 0 | 0 | 0 | 0 | 8 | 0
256 | -0.067096 | 3.5194 |  | 0 | 0 | 0 | 0 | 8 | 0
257 | 0.077392 | 7.3778 |  | 0 | 0 | 0 | 0 | 8 | 0
258 | 0.16456 | 10.5167 |  | 0 | 0 | 0 | 0 | 8 | 0
259 | 0.33144 | 12.622 |  | 0 | 0 | 0 | 0 | 8 | 0
260 | 0.42209 | 13.3041 |  | 1 | 0 | 0 | 0 | 8 | 0
261 | 0.6382 | 12.7096 |  | 1 | 0 | 1 | 0 | 8 | 0
262 | 0.80482 | 10.8512 |  | 1 | 0 | 1 | 0 | 8 | 0
263 | 0.85247 | 8.0344 |  | 1 | 0 | 1 | 0 | 8 | 0
264 | 0.96148 | 4.3721 |  | 1 | 0 | 1 | 0 | 8 | 0
265 | 1.0679 | 0.27169 |  | 1 | 0 | 1 | 0 | 8 | 0
266 | 0.92937 | -3.9672 |  | 1 | 1 | 1 | 1 | 9 | 9
267 | 0.92154 | -7.2848 |  | 1 | 0 | 1 | 0 | 9 | 0
268 | 0.81142 | -10.0732 |  | 1 | 0 | 1 | 0 | 9 | 0
269 | 0.67512 | -11.7376 |  | 1 | 0 | 1 | 0 | 9 | 0
270 | 0.39912 | -12.5239 |  | 0 | 0 | 1 | 0 | 9 | 0
271 | 0.36496 | -12.1598 |  | 0 | 0 | 0 | 0 | 9 | 0
272 | 0.14898 | -10.4174 |  | 0 | 0 | 0 | 0 | 9 | 0
273 | 0.24986 | -7.5948 |  | 0 | 0 | 0 | 0 | 9 | 0
274 | 0.0050241 | -3.7893 |  | 0 | 0 | 0 | 0 | 9 | 0
275 | -0.01225 | 0.34832 |  | 0 | 0 | 0 | 0 | 9 | 0
276 | -0.0064872 | 4.5486 |  | 0 | 0 | 0 | 0 | 9 | 0
277 | 0.019298 | 7.9821 |  | 0 | 0 | 0 | 0 | 9 | 0
278 | 0.19258 | 11.0398 |  | 0 | 0 | 0 | 0 | 9 | 0
279 | 0.42165 | 12.8069 |  | 1 | 0 | 0 | 0 | 9 | 0
280 | 0.51509 | 13.5795 |  | 1 | 0 | 0 | 0 | 9 | 0
281 | 0.7329 | 12.5901 |  | 1 | 0 | 1 | 0 | 9 | 0
282 | 0.92829 | 10.1212 |  | 1 | 0 | 1 | 0 | 9 | 0
283 | 0.92247 | 6.5676 |  | 1 | 0 | 1 | 0 | 9 | 0
284 | 0.97296 | 2.5117 |  | 1 | 0 | 1 | 0 | 9 | 0
285 | 1.0549 | -1.747 |  | 1 | 1 | 1 | 1 | 10 | 10
286 | 0.989 | -5.9824 |  | 1 | 0 | 1 | 0 | 10 | 0
287 | 0.8403 | -9.6007 |  | 1 | 0 | 1 | 0 | 10 | 0
288 | 0.72717 | -12.1943 |  | 1 | 0 | 1 | 0 | 10 | 0
289 | 0.60868 | -13.3796 |  | 1 | 0 | 1 | 0 | 10 | 0
290 | 0.45565 | -13.3891 |  | 1 | 0 | 0 | 0 | 10 | 0
291 | 0.26154 | -12.2926 |  | 0 | 0 | 0 | 0 | 10 | 0
Note on B8: Tom: In this example, the x,y signal data in column A and B, rows 8 to 263, are calculated by formula. You can change the signal parameters in column AC, rows 2-4.
Note on D8: Tom: This column calculates the smoothed derivative of the original data in Column A

## Sheet2
Peak 1
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | -0.037274 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | -0.037274 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.027 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 103 | -0.73085 | -0.73085 | -75.278 | 10609 | 1092727 | 112550881 | -7753.6315 | Position | 107.9455 | b/(2*a)
-5 | 104 | -0.43947 | -0.43947 | -45.7046 | 10816 | 1124864 | 116985856 | -4753.2782 | Width | 9.3128 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 105 | -0.32668 | -0.32668 | -34.3016 | 11025 | 1157625 | 121550625 | -3601.6704
-3 | 106 | -0.032267 | -0.032267 | -3.4203 | 11236 | 1191016 | 126247696 | -362.5488
-2 | 107 | -0.080967 | -0.080967 | -8.6634 | 11449 | 1225043 | 131079601 | -926.9861
-1 | 108 | 0.021137 | 0.021137 | 2.2828 | 11664 | 1259712 | 136048896 | 246.5477 | Note: The if( ) functions in these equations
0 | 109 | -0.037274 | -0.037274 | -4.0628 | 11881 | 1295029 | 141158161 | -442.8493 | are not part of the actual numerical calculation.
1 | 110 | -0.093016 | -0.093016 | -10.2317 | 12100 | 1331000 | 146410000 | -1125.4902 | Their purpose is simply input filtering, to eliminate
2 | 111 | -0.27809 | -0.27809 | -30.8682 | 12321 | 1367631 | 151807041 | -3426.3675 | any points that don't have both X and Y values
3 | 112 | -0.37748 | -0.37748 | -42.2782 | 12544 | 1404928 | 157351936 | -4735.1567 | and to eliminate any Y values that are zero or
4 | 113 | -0.87644 | -0.87644 | -99.0375 | 12769 | 1442897 | 163047361 | -11191.2403 | negative (for which a natural log can not be calculated)
5 | 114 | -1.0349 | -1.0349 | -117.9787 | 12996 | 1481544 | 168896016 | -13449.5704
6 | 115 | -1.6597 | -1.6597 | -190.866 | 13225 | 1520875 | 174900625 | -21949.585
0 |  | -0.037274 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.037274 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum of.. | 1417 | -5.946 |  | -660.4081 | 154635 | 16894891 | 1848034695 | -73471.8267
number of points (n) | 13
Denominator (D) | 4736733
a | -0.032028 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 6.9147 | (coefficient of the X term, like the slope)
CoeffC | -373.1766 | (the constant, like the intercept)
Summary of equations:
Cell B28 | n=number of x,y data points
Cell B27 | sumx=Σx
Cell C27 | sumy=Σy
Cell D27 | sumxy=Σx*y
Cell E27 | sumx2=Σx*x
Cell F27 | sumx3=Σx^3
Cell G27 | sumx3=Σx^4
Cell H27 | sumx2y=Σ(x^2)*y
Cell B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
Cell B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
Cell B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
Cell B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Calculated Gaussian parameters:
Cell K7 | Height = EXP(c-a*(b/(2*a))^2)
Cell K8 | Position = -b/(2*a)'
Cell K9 | Width = 2.35703/(SQRT(2)*SQRT(-a))

## Sheet3
Peak 2
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | -0.095772 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | -0.095772 |  | 0 | 0 | 0 | 0 | 0 | Height | 0.97382 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 122 | -0.89348 | -0.89348 | -109.0046 | 14884 | 1815848 | 221533456 | -13298.5555 | Position | 127.4963 | b/(2*a)
-5 | 123 | -0.47036 | -0.47036 | -57.854 | 15129 | 1860867 | 228886641 | -7116.0401 | Width | 10.045 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 124 | -0.45222 | -0.45222 | -56.0758 | 15376 | 1906624 | 236421376 | -6953.3936
-3 | 125 | -0.15468 | -0.15468 | -19.3355 | 15625 | 1953125 | 244140625 | -2416.9317
-2 | 126 | -0.14692 | -0.14692 | -18.5116 | 15876 | 2000376 | 252047376 | -2332.4556
-1 | 127 | -0.002234 | -0.002234 | -0.28371 | 16129 | 2048383 | 260144641 | -36.0317 | Note: The if( ) functions in these equations
0 | 128 | -0.095772 | -0.095772 | -12.2588 | 16384 | 2097152 | 268435456 | -1569.1258 | are not part of the actual numerical calculation.
1 | 129 | -0.048042 | -0.048042 | -6.1975 | 16641 | 2146689 | 276922881 | -799.4729 | Their purpose is simply input filtering, to eliminate
2 | 130 | -0.19508 | -0.19508 | -25.3609 | 16900 | 2197000 | 285610000 | -3296.9172 | any points that don't have both X and Y values
3 | 131 | -0.32203 | -0.32203 | -42.1853 | 17161 | 2248091 | 294499921 | -5526.2774 | and to eliminate any Y values that are zero or
4 | 132 | -0.63604 | -0.63604 | -83.9572 | 17424 | 2299968 | 303595776 | -11082.3557 | negative (for which a natural log can not be calculated)
5 | 133 | -0.79438 | -0.79438 | -105.653 | 17689 | 2352637 | 312900721 | -14051.8505
6 | 134 | -1.2349 | -1.2349 | -165.4728 | 17956 | 2406104 | 322417936 | -22173.357
0 |  | -0.095772 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.037274 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 1664 | -5.4461 |  | -702.1506 | 213174 | 27332864 | 3507556806 | -90652.7648
number of points (n) | 13
Denominator (D) | 4736732
a | -0.02753 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 7.0199 | (coefficient of the X term, like the slope)
CoeffC | -447.53 | (the constant, like the intercept)

## Sheet4
Peak 3
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | -0.028677 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | -0.028677 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0634 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 142 | -0.74688 | -0.74688 | -106.0565 | 20164 | 2863288 | 406586896 | -15060.0185 | Position | 147.053 | b/(2*a)
-5 | 143 | -0.47957 | -0.47957 | -68.5779 | 20449 | 2924207 | 418161601 | -9806.6363 | Width | 9.1577 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 144 | -0.3473 | -0.3473 | -50.011 | 20736 | 2985984 | 429981696 | -7201.5851
-3 | 145 | -0.0054202 | -0.0054202 | -0.78592 | 21025 | 3048625 | 442050625 | -113.959
-2 | 146 | 0.01936 | 0.01936 | 2.8265 | 21316 | 3112136 | 454371856 | 412.6731
-1 | 147 | 0.075378 | 0.075378 | 11.0806 | 21609 | 3176523 | 466948881 | 1628.8525 | Note: The if( ) functions in these equations
0 | 148 | -0.028677 | -0.028677 | -4.2442 | 21904 | 3241792 | 479785216 | -628.1426 | are not part of the actual numerical calculation.
1 | 149 | -0.1593 | -0.1593 | -23.736 | 22201 | 3307949 | 492884401 | -3536.6581 | Their purpose is simply input filtering, to eliminate
2 | 150 | -0.1456 | -0.1456 | -21.8404 | 22500 | 3375000 | 506250000 | -3276.059 | any points that don't have both X and Y values
3 | 151 | -0.30431 | -0.30431 | -45.9508 | 22801 | 3442951 | 519885601 | -6938.5722 | and to eliminate any Y values that are zero or
4 | 152 | -0.71074 | -0.71074 | -108.0328 | 23104 | 3511808 | 533794816 | -16420.9924 | negative (for which a natural log can not be calculated)
5 | 153 | -1.3101 | -1.3101 | -200.4408 | 23409 | 3581577 | 547981281 | -30667.4453
6 | 154 | -1.4719 | -1.4719 | -226.6781 | 23716 | 3652264 | 562448656 | -34908.4306
0 |  | -0.028677 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.028677 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 1924 | -5.6151 |  | -842.4473 | 284934 | 42224104 | 6261131526 | -126516.9737
number of points (n) | 13
Denominator (D) | 4736728
a | -0.033123 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 9.7417 | (coefficient of the X term, like the slope)
CoeffC | -716.2117 | (the constant, like the intercept)

## Sheet5
Peak 4
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.0040798 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.0040798 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0352 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 161 | -1.3556 | -1.3556 | -218.2518 | 25921 | 4173281 | 671898241 | -35138.5446 | Position | 166.9084 | b/(2*a)
-5 | 162 | -0.57759 | -0.57759 | -93.5691 | 26244 | 4251528 | 688747536 | -15158.2005 | Width | 8.9128 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 163 | -0.51492 | -0.51492 | -83.9321 | 26569 | 4330747 | 705911761 | -13680.9292
-3 | 164 | -0.24816 | -0.24816 | -40.6989 | 26896 | 4410944 | 723394816 | -6674.6192
-2 | 165 | -0.090063 | -0.090063 | -14.8604 | 27225 | 4492125 | 741200625 | -2451.9627
-1 | 166 | 0.034738 | 0.034738 | 5.7666 | 27556 | 4574296 | 759333136 | 957.2491 | Note: The if( ) functions in these equations
0 | 167 | 0.0040798 | 0.0040798 | 0.68132 | 27889 | 4657463 | 777796321 | 113.7812 | are not part of the actual numerical calculation.
1 | 168 | -0.11991 | -0.11991 | -20.1446 | 28224 | 4741632 | 796594176 | -3384.2916 | Their purpose is simply input filtering, to eliminate
2 | 169 | -0.17685 | -0.17685 | -29.887 | 28561 | 4826809 | 815730721 | -5050.8956 | any points that don't have both X and Y values
3 | 170 | -0.31099 | -0.31099 | -52.868 | 28900 | 4913000 | 835210000 | -8987.5659 | and to eliminate any Y values that are zero or
4 | 171 | -0.52745 | -0.52745 | -90.1932 | 29241 | 5000211 | 855036081 | -15423.0434 | negative (for which a natural log can not be calculated)
5 | 172 | -0.59301 | -0.59301 | -101.9978 | 29584 | 5088448 | 875213056 | -17543.6203
6 | 173 | -1.4426 | -1.4426 | -249.566 | 29929 | 5177717 | 895745041 | -43174.9201
0 |  | 0.0040798 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.028677 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 2171 | -5.9183 |  | -989.5211 | 362739 | 60638201 | 10141811511 | -165597.5628
number of points (n) | 13
Denominator (D) | 4736736
a | -0.034968 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 11.673 | (coefficient of the X term, like the slope)
CoeffC | -974.123 | (the constant, like the intercept)

## Sheet6
Peak 5
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | -0.033294 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | -0.033294 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0052 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 181 | -1.0742 | -1.0742 | -194.4319 | 32761 | 5929741 | 1073283121 | -35192.1737 | Position | 186.8089 | b/(2*a)
-5 | 182 | -0.66674 | -0.66674 | -121.3472 | 33124 | 6028568 | 1097199376 | -22085.1918 | Width | 9.5027 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 183 | -0.47988 | -0.47988 | -87.8185 | 33489 | 6128487 | 1121513121 | -16070.7944
-3 | 184 | -0.10675 | -0.10675 | -19.6422 | 33856 | 6229504 | 1146228736 | -3614.1599
-2 | 185 | -0.076744 | -0.076744 | -14.1976 | 34225 | 6331625 | 1171350625 | -2626.5593
-1 | 186 | -0.13963 | -0.13963 | -25.9709 | 34596 | 6434856 | 1196883216 | -4830.5942 | Note: The if( ) functions in these equations
0 | 187 | -0.033294 | -0.033294 | -6.2259 | 34969 | 6539203 | 1222830961 | -1164.2456 | are not part of the actual numerical calculation.
1 | 188 | -0.0091286 | -0.0091286 | -1.7162 | 35344 | 6644672 | 1249198336 | -322.641 | Their purpose is simply input filtering, to eliminate
2 | 189 | -0.1326 | -0.1326 | -25.0616 | 35721 | 6751269 | 1275989841 | -4736.6353 | any points that don't have both X and Y values
3 | 190 | -0.383 | -0.383 | -72.7705 | 36100 | 6859000 | 1303210000 | -13826.4034 | and to eliminate any Y values that are zero or
4 | 191 | -0.40688 | -0.40688 | -77.7138 | 36481 | 6967871 | 1330863361 | -14843.3317 | negative (for which a natural log can not be calculated)
5 | 192 | -0.82046 | -0.82046 | -157.5277 | 36864 | 7077888 | 1358954496 | -30245.3121
6 | 193 | -1.2165 | -1.2165 | -234.7762 | 37249 | 7189057 | 1387488001 | -45311.8074
0 |  | -0.033294 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.033294 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 2431 | -5.5458 |  | -1039.2002 | 454779 | 85111741 | 15934993191 | -194869.8496
number of points (n) | 13
Denominator (D) | 4736752
a | -0.030762 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 11.4931 | (coefficient of the X term, like the slope)
CoeffC | -1073.5034 | (the constant, like the intercept)

## Sheet7
Peak 6
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.036623 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.036623 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0349 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 201 | -0.98053 | -0.98053 | -197.0871 | 40401 | 8120601 | 1632240801 | -39614.5052 | Position | 206.4265 | b/(2*a)
-5 | 202 | -0.51386 | -0.51386 | -103.8001 | 40804 | 8242408 | 1664966416 | -20967.6133 | Width | 9.159 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 203 | -0.4253 | -0.4253 | -86.336 | 41209 | 8365427 | 1698181681 | -17526.2172
-3 | 204 | -0.1611 | -0.1611 | -32.8641 | 41616 | 8489664 | 1731891456 | -6704.2861
-2 | 205 | 0.020237 | 0.020237 | 4.1487 | 42025 | 8615125 | 1766100625 | 850.4746
-1 | 206 | -0.045836 | -0.045836 | -9.4421 | 42436 | 8741816 | 1800814096 | -1945.0829 | Note: The if( ) functions in these equations
0 | 207 | 0.036623 | 0.036623 | 7.5809 | 42849 | 8869743 | 1836036801 | 1569.2563 | are not part of the actual numerical calculation.
1 | 208 | -0.1105 | -0.1105 | -22.9838 | 43264 | 8998912 | 1871773696 | -4780.6314 | Their purpose is simply input filtering, to eliminate
2 | 209 | -0.073827 | -0.073827 | -15.4298 | 43681 | 9129329 | 1908029761 | -3224.8279 | any points that don't have both X and Y values
3 | 210 | -0.34458 | -0.34458 | -72.3628 | 44100 | 9261000 | 1944810000 | -15196.1928 | and to eliminate any Y values that are zero or
4 | 211 | -0.66938 | -0.66938 | -141.2398 | 44521 | 9393931 | 1982119441 | -29801.6052 | negative (for which a natural log can not be calculated)
5 | 212 | -1.1385 | -1.1385 | -241.3642 | 44944 | 9528128 | 2019963136 | -51169.2192
6 | 213 | -1.3154 | -1.3154 | -280.1858 | 45369 | 9663597 | 2058346161 | -59679.5729
0 |  | 0.036623 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.036623 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 2691 | -5.722 |  | -1191.3662 | 557219 | 115419681 | 23915274071 | -248190.0231
number of points (n) | 13
Denominator (D) | 4736704
a | -0.033113 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 13.671 | (coefficient of the X term, like the slope)
CoeffC | -1410.9906 | (the constant, like the intercept)

## Sheet8
Peak 7
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.026501 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.026501 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0511 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 220 | -1.0945 | -1.0945 | -240.7902 | 48400 | 10648000 | 2342560000 | -52973.8362 | Position | 225.89 | b/(2*a)
-5 | 221 | -0.64604 | -0.64604 | -142.7748 | 48841 | 10793861 | 2385443281 | -31553.2397 | Width | 9.4566 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 222 | -0.32736 | -0.32736 | -72.6729 | 49284 | 10941048 | 2428912656 | -16133.3811
-3 | 223 | -0.25193 | -0.25193 | -56.1797 | 49729 | 11089567 | 2472973441 | -12528.0689
-2 | 224 | -0.035706 | -0.035706 | -7.9981 | 50176 | 11239424 | 2517630976 | -1791.5788
-1 | 225 | -0.021881 | -0.021881 | -4.9233 | 50625 | 11390625 | 2562890625 | -1107.7469 | Note: The if( ) functions in these equations
0 | 226 | 0.026501 | 0.026501 | 5.9892 | 51076 | 11543176 | 2608757776 | 1353.5697 | are not part of the actual numerical calculation.
1 | 227 | -0.034494 | -0.034494 | -7.8302 | 51529 | 11697083 | 2655237841 | -1777.4445 | Their purpose is simply input filtering, to eliminate
2 | 228 | -0.086523 | -0.086523 | -19.7272 | 51984 | 11852352 | 2702336256 | -4497.8056 | any points that don't have both X and Y values
3 | 229 | -0.16669 | -0.16669 | -38.173 | 52441 | 12008989 | 2750058481 | -8741.6202 | and to eliminate any Y values that are zero or
4 | 230 | -0.49735 | -0.49735 | -114.3915 | 52900 | 12167000 | 2798410000 | -26310.0532 | negative (for which a natural log can not be calculated)
5 | 231 | -0.74713 | -0.74713 | -172.5859 | 53361 | 12326391 | 2847396321 | -39867.3434
6 | 232 | -1.1278 | -1.1278 | -261.6414 | 53824 | 12487168 | 2897022976 | -60700.7983
0 |  | 0.026501 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.026501 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 2938 | -5.0109 |  | -1133.699 | 664170 | 150184684 | 33969630630 | -256629.3471
number of points (n) | 13
Denominator (D) | 4736768
a | -0.031062 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 14.0332 | (coefficient of the X term, like the slope)
CoeffC | -1584.9346 | (the constant, like the intercept)

## Sheet9
Peak 8
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | -0.098284 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | -0.098284 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0246 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 240 | -0.82077 | -0.82077 | -196.9859 | 57600 | 13824000 | 3317760000 | -47276.6255 | Position | 245.3351 | b/(2*a)
-5 | 241 | -0.62134 | -0.62134 | -149.7433 | 58081 | 13997521 | 3373402561 | -36088.1298 | Width | 9.2811 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 242 | -0.44723 | -0.44723 | -108.2288 | 58564 | 14172488 | 3429742096 | -26191.3789
-3 | 243 | -0.11862 | -0.11862 | -28.824 | 59049 | 14348907 | 3486784401 | -7004.2383
-2 | 244 | 0.033753 | 0.033753 | 8.2356 | 59536 | 14526784 | 3544535296 | 2009.4939
-1 | 245 | 0.068343 | 0.068343 | 16.744 | 60025 | 14706125 | 3603000625 | 4102.2763 | Note: The if( ) functions in these equations
0 | 246 | -0.098284 | -0.098284 | -24.1779 | 60516 | 14886936 | 3662186256 | -5947.7682 | are not part of the actual numerical calculation.
1 | 247 | -0.071472 | -0.071472 | -17.6537 | 61009 | 15069223 | 3722098081 | -4360.4602 | Their purpose is simply input filtering, to eliminate
2 | 248 | -0.25048 | -0.25048 | -62.1181 | 61504 | 15252992 | 3782742016 | -15405.2912 | any points that don't have both X and Y values
3 | 249 | -0.27954 | -0.27954 | -69.6042 | 62001 | 15438249 | 3844124001 | -17331.4556 | and to eliminate any Y values that are zero or
4 | 250 | -0.6978 | -0.6978 | -174.4502 | 62500 | 15625000 | 3906250000 | -43612.5532 | negative (for which a natural log can not be calculated)
5 | 251 | -0.96408 | -0.96408 | -241.9835 | 63001 | 15813251 | 3969126001 | -60737.8463
6 | 252 | -1.4704 | -1.4704 | -370.5339 | 63504 | 16003008 | 4032758016 | -93374.5388
0 |  | -0.098284 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.098284 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 3198 | -5.7379 |  | -1419.324 | 786890 | 193664484 | 47674509350 | -351218.5157
number of points (n) | 13
Denominator (D) | 4736704
a | -0.032248 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 15.8232 | (coefficient of the X term, like the slope)
CoeffC | -1940.9646 | (the constant, like the intercept)

## Sheet10
Peak 9
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | -0.073246 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | -0.073246 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0649 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 260 | -0.86255 | -0.86255 | -224.2622 | 67600 | 17576000 | 4569760000 | -58308.1803 | Position | 265.0137 | b/(2*a)
-5 | 261 | -0.4491 | -0.4491 | -117.2161 | 68121 | 17779581 | 4640470641 | -30593.4031 | Width | 8.747 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 262 | -0.21714 | -0.21714 | -56.8899 | 68644 | 17984728 | 4711998736 | -14905.142
-3 | 263 | -0.15961 | -0.15961 | -41.9785 | 69169 | 18191447 | 4784350561 | -11040.3408
-2 | 264 | -0.039277 | -0.039277 | -10.369 | 69696 | 18399744 | 4857532416 | -2737.4285
-1 | 265 | 0.065693 | 0.065693 | 17.4085 | 70225 | 18609625 | 4931550625 | 4613.2618 | Note: The if( ) functions in these equations
0 | 266 | -0.073246 | -0.073246 | -19.4834 | 70756 | 18821096 | 5006411536 | -5182.5867 | are not part of the actual numerical calculation.
1 | 267 | -0.081704 | -0.081704 | -21.8151 | 71289 | 19034163 | 5082121521 | -5824.6267 | Their purpose is simply input filtering, to eliminate
2 | 268 | -0.20897 | -0.20897 | -56.0039 | 71824 | 19248832 | 5158686976 | -15009.0577 | any points that don't have both X and Y values
3 | 269 | -0.39286 | -0.39286 | -105.6789 | 72361 | 19465109 | 5236114321 | -28427.6244 | and to eliminate any Y values that are zero or
4 | 270 | -0.91849 | -0.91849 | -247.9916 | 72900 | 19683000 | 5314410000 | -66957.7323 | negative (for which a natural log can not be calculated)
5 | 271 | -1.008 | -1.008 | -273.1557 | 73441 | 19902511 | 5393580481 | -74025.192
6 | 272 | -1.9039 | -1.9039 | -517.8716 | 73984 | 20123648 | 5473632256 | -140861.0826
0 |  | -0.073246 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.073246 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 3458 | -6.2491 |  | -1675.3074 | 920010 | 244819484 | 65160620070 | -449259.1354
number of points (n) | 13
Denominator (D) | 4736640
a | -0.036306 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 19.2432 | (coefficient of the X term, like the slope)
CoeffC | -2549.7881 | (the constant, like the intercept)

## Sheet11
Peak 10
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.053483 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.053483 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0479 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 279 | -0.86359 | -0.86359 | -240.941 | 77841 | 21717639 | 6059221281 | -67222.5507 | Position | 284.544 | b/(2*a)
-5 | 280 | -0.66342 | -0.66342 | -185.7564 | 78400 | 21952000 | 6146560000 | -52011.7846 | Width | 9.4862 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 281 | -0.31075 | -0.31075 | -87.3214 | 78961 | 22188041 | 6234839521 | -24537.3142
-3 | 282 | -0.074412 | -0.074412 | -20.9842 | 79524 | 22425768 | 6324066576 | -5917.5471
-2 | 283 | -0.080703 | -0.080703 | -22.839 | 80089 | 22665187 | 6414247921 | -6463.4261
-1 | 284 | -0.027408 | -0.027408 | -7.7838 | 80656 | 22906304 | 6505390336 | -2210.611 | Note: The if( ) functions in these equations
0 | 285 | 0.053483 | 0.053483 | 15.2427 | 81225 | 23149125 | 6597500625 | 4344.1784 | are not part of the actual numerical calculation.
1 | 286 | -0.011062 | -0.011062 | -3.1637 | 81796 | 23393656 | 6690585616 | -904.8143 | Their purpose is simply input filtering, to eliminate
2 | 287 | -0.174 | -0.174 | -49.9374 | 82369 | 23639903 | 6784652161 | -14332.0274 | any points that don't have both X and Y values
3 | 288 | -0.31859 | -0.31859 | -91.7534 | 82944 | 23887872 | 6879707136 | -26424.9742 | and to eliminate any Y values that are zero or
4 | 289 | -0.49647 | -0.49647 | -143.4791 | 83521 | 24137569 | 6975757441 | -41465.4714 | negative (for which a natural log can not be calculated)
5 | 290 | -0.78602 | -0.78602 | -227.9467 | 84100 | 24389000 | 7072810000 | -66104.5566
6 | 291 | -1.3412 | -1.3412 | -390.2799 | 84681 | 24642171 | 7170871761 | -113571.4373
0 |  | 0.053483 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.053483 |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
|  |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 3705 | -5.0941 |  | -1456.9433 | 1056107 | 301094235 | 85856210375 | -416822.3367
number of points (n) | 13
Denominator (D) | 4736768
a | -0.030869 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 17.567 | (coefficient of the X term, like the slope)
CoeffC | -2499.2433 | (the constant, like the intercept)