## Sheet1
| Demonstration of peak detection and measurement of a calculated sum of 5 Gaussian peaks with noise. | [17 empty] | Tom O'Haver (toh@umd.edu), 2013 | [6 empty] | Gaussian Peak Parameters | [5 empty] | Noise
| In this example, the x,y signal data in column A and B, rows 8 to 263, are calculated by formula. You can change the signal parameters in column AC, rows 2-4. | [24 empty] | height | 4 | 3 | 2 | 1 | 0.5 | 0
Amplitude threshold | 0.4 | Slope threshold | 0.0001 | The green cells are variables that you can change. |  |  |  | The derivative and smooth functions are defined by the 17 coefficients in row 5, columns J through Z. | [17 empty] | position | 40 | 80 | 120 | 160 | 200
[8 empty] | -8 | -7 | -6 | -5 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |  | width | 20 | 20 | 20 | 20 | 20
|  | 2 |  |  |  |  | Coefficients ---> | 0 | 0 | -2 | -3 | -4 | -3 | -2 | -1 | 0 | 1 | 2 | 3 | 4 | 3 | 2 | 0 | 0 | 1
Original | data | First derivative |  | Signal greater than amplitude threshold? | Down zero crossing in first derivative? | Crossing slope greater than slope threshold? | All three conditions met? Peak detected! | # of peaks so far | Peak # | [22 empty] | measured peak height | measured peak position | measured peak width | peak width (FWHM)
X | Y | [14 empty] | 5 | peaks found | [9 empty] | peak# | match | row # | sheet
1 | 0.08926 | 0 |  | 0 | [22 empty] | 1 | 40 | 48 | 2 | Sheet2! | 4.057 | 40.7309 | 36.0279
2 | 0.10821 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 2 | 79 | 87 | 3 | Sheet3! | 3.1123 | 79.2104 | 40.1728 | 38.4795
3 | 0.13052 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 3 | 118 | 126 | 4 | Sheet4! | 2.0764 | 118.7677 | 41.079 | 39.5573
4 | 0.15666 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 4 | 157 | 165 | 5 | Sheet5! | 1.0499 | 157.8323 | 46.2062 | 39.0646
5 | 0.18708 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 5 | 197 | 205 | 6 | Sheet6! | 0.52223 | 197.3513 | 43.9671 | 39.519
6 | 0.22231 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 6 | #N/A | 0 | 7 | Sheet7!
7 | 0.26285 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 7 | #N/A | 0 | 8 | Sheet8!
8 | 0.30923 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 8 | #N/A | 0 | 9 | Sheet9!
9 | 0.36198 | 6.5856 |  | 0 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 9 | #N/A | 0 | 10 | Sheet10!
10 | 0.42161 | 7.3861 |  | 1 | 0 | 0 | 0 | 0 | 0 | [17 empty] | 10 | #N/A | 0 | 11 | Sheet11!
11 | 0.48862 | 8.2348 |  | 1 | 0 | 0 | 0 | 0 | 0
12 | 0.56346 | 9.1258 |  | 1 | 0 | 0 | 0 | 0 | 0
13 | 0.64652 | 10.0517 |  | 1 | 0 | 0 | 0 | 0 | 0
14 | 0.73813 | 11.0031 |  | 1 | 0 | 0 | 0 | 0 | 0
15 | 0.83852 | 11.9688 |  | 1 | 0 | 0 | 0 | 0 | 0
16 | 0.94782 | 12.9359 |  | 1 | 0 | 0 | 0 | 0 | 0
17 | 1.066 | 13.8898 |  | 1 | 0 | 0 | 0 | 0 | 0
18 | 1.193 | 14.8143 |  | 1 | 0 | 0 | 0 | 0 | 0
19 | 1.3284 | 15.6922 |  | 1 | 0 | 0 | 0 | 0 | 0
20 | 1.4719 | 16.505 |  | 1 | 0 | 0 | 0 | 0 | 0
21 | 1.6227 | 17.2339 |  | 1 | 0 | 0 | 0 | 0 | 0
22 | 1.7801 | 17.8598 |  | 1 | 0 | 0 | 0 | 0 | 0
23 | 1.943 | 18.3639 |  | 1 | 0 | 0 | 0 | 0 | 0
24 | 2.1104 | 18.7283 |  | 1 | 0 | 0 | 0 | 0 | 0
25 | 2.2807 | 18.9364 |  | 1 | 0 | 0 | 0 | 0 | 0
26 | 2.4526 | 18.9735 |  | 1 | 0 | 0 | 0 | 0 | 0
27 | 2.6243 | 18.8274 |  | 1 | 0 | 1 | 0 | 0 | 0
28 | 2.7942 | 18.4889 |  | 1 | 0 | 1 | 0 | 0 | 0
29 | 2.9604 | 17.9522 |  | 1 | 0 | 1 | 0 | 0 | 0
30 | 3.121 | 17.2151 |  | 1 | 0 | 1 | 0 | 0 | 0
31 | 3.2742 | 16.2799 |  | 1 | 0 | 1 | 0 | 0 | 0
32 | 3.418 | 15.1527 |  | 1 | 0 | 1 | 0 | 0 | 0
33 | 3.5508 | 13.8445 |  | 1 | 0 | 1 | 0 | 0 | 0
34 | 3.6709 | 12.3703 |  | 1 | 0 | 1 | 0 | 0 | 0
35 | 3.7766 | 10.7492 |  | 1 | 0 | 1 | 0 | 0 | 0
36 | 3.8669 | 9.0045 |  | 1 | 0 | 1 | 0 | 0 | 0
37 | 3.9405 | 7.1626 |  | 1 | 0 | 1 | 0 | 0 | 0
38 | 3.9967 | 5.253 |  | 1 | 0 | 1 | 0 | 0 | 0
39 | 4.0349 | 3.3074 |  | 1 | 0 | 1 | 0 | 0 | 0
40 | 4.0549 | 1.3589 |  | 1 | 0 | 1 | 0 | 0 | 0
41 | 4.057 | -0.55835 |  | 1 | 1 | 1 | 1 | 1 | 1
42 | 4.0414 | -2.4106 |  | 1 | 0 | 1 | 0 | 1 | 0
43 | 4.0089 | -4.1649 |  | 1 | 0 | 1 | 0 | 1 | 0
44 | 3.9607 | -5.79 |  | 1 | 0 | 1 | 0 | 1 | 0
45 | 3.898 | -7.2573 |  | 1 | 0 | 1 | 0 | 1 | 0
46 | 3.8225 | -8.5413 |  | 1 | 0 | 1 | 0 | 1 | 0
47 | 3.736 | -9.6204 |  | 1 | 0 | 1 | 0 | 1 | 0
48 | 3.6405 | -10.4778 |  | 1 | 0 | 1 | 0 | 1 | 0
49 | 3.5382 | -11.101 |  | 1 | 0 | 1 | 0 | 1 | 0
50 | 3.4314 | -11.4831 |  | 1 | 0 | 1 | 0 | 1 | 0
51 | 3.3223 | -11.6224 |  | 1 | 0 | 1 | 0 | 1 | 0
52 | 3.2133 | -11.5225 |  | 1 | 0 | 0 | 0 | 1 | 0
53 | 3.1065 | -11.1922 |  | 1 | 0 | 0 | 0 | 1 | 0
54 | 3.0041 | -10.6454 |  | 1 | 0 | 0 | 0 | 1 | 0
55 | 2.908 | -9.9007 |  | 1 | 0 | 0 | 0 | 1 | 0
56 | 2.82 | -8.9806 |  | 1 | 0 | 0 | 0 | 1 | 0
57 | 2.7417 | -7.9114 |  | 1 | 0 | 0 | 0 | 1 | 0
58 | 2.6742 | -6.7223 |  | 1 | 0 | 0 | 0 | 1 | 0
59 | 2.6185 | -5.4447 |  | 1 | 0 | 0 | 0 | 1 | 0
60 | 2.5754 | -4.1115 |  | 1 | 0 | 0 | 0 | 1 | 0
61 | 2.5452 | -2.7563 |  | 1 | 0 | 0 | 0 | 1 | 0
62 | 2.5278 | -1.4125 |  | 1 | 0 | 0 | 0 | 1 | 0
63 | 2.5231 | -0.11287 |  | 1 | 0 | 0 | 0 | 1 | 0
64 | 2.5304 | 1.1117 |  | 1 | 0 | 0 | 0 | 1 | 0
65 | 2.5488 | 2.2324 |  | 1 | 0 | 0 | 0 | 1 | 0
66 | 2.5773 | 3.2235 |  | 1 | 0 | 0 | 0 | 1 | 0
67 | 2.6145 | 4.0629 |  | 1 | 0 | 0 | 0 | 1 | 0
68 | 2.6588 | 4.7322 |  | 1 | 0 | 0 | 0 | 1 | 0
69 | 2.7085 | 5.2176 |  | 1 | 0 | 0 | 0 | 1 | 0
70 | 2.7619 | 5.51 |  | 1 | 0 | 0 | 0 | 1 | 0
71 | 2.817 | 5.6049 |  | 1 | 0 | 0 | 0 | 1 | 0
72 | 2.872 | 5.5028 |  | 1 | 0 | 1 | 0 | 1 | 0
73 | 2.925 | 5.2089 |  | 1 | 0 | 1 | 0 | 1 | 0
74 | 2.9742 | 4.7332 |  | 1 | 0 | 1 | 0 | 1 | 0
75 | 3.018 | 4.0897 |  | 1 | 0 | 1 | 0 | 1 | 0
76 | 3.0548 | 3.2964 |  | 1 | 0 | 1 | 0 | 1 | 0
77 | 3.0834 | 2.3749 |  | 1 | 0 | 1 | 0 | 1 | 0
78 | 3.1027 | 1.3495 |  | 1 | 0 | 1 | 0 | 1 | 0
79 | 3.1117 | 0.24653 |  | 1 | 0 | 1 | 0 | 1 | 0
80 | 3.1099 | -0.90595 |  | 1 | 1 | 1 | 1 | 2 | 2
81 | 3.097 | -2.0792 |  | 1 | 0 | 1 | 0 | 2 | 0
82 | 3.0729 | -3.2444 |  | 1 | 0 | 1 | 0 | 2 | 0
83 | 3.0378 | -4.3733 |  | 1 | 0 | 1 | 0 | 2 | 0
84 | 2.9923 | -5.4393 |  | 1 | 0 | 1 | 0 | 2 | 0
85 | 2.9371 | -6.4175 |  | 1 | 0 | 1 | 0 | 2 | 0
86 | 2.8731 | -7.2857 |  | 1 | 0 | 1 | 0 | 2 | 0
87 | 2.8015 | -8.0248 |  | 1 | 0 | 1 | 0 | 2 | 0
88 | 2.7236 | -8.6191 |  | 1 | 0 | 1 | 0 | 2 | 0
89 | 2.6409 | -9.057 |  | 1 | 0 | 1 | 0 | 2 | 0
90 | 2.5549 | -9.3307 |  | 1 | 0 | 1 | 0 | 2 | 0
91 | 2.4672 | -9.4366 |  | 1 | 0 | 1 | 0 | 2 | 0
92 | 2.3794 | -9.3753 |  | 1 | 0 | 0 | 0 | 2 | 0
93 | 2.293 | -9.1514 |  | 1 | 0 | 0 | 0 | 2 | 0
94 | 2.2097 | -8.7733 |  | 1 | 0 | 0 | 0 | 2 | 0
95 | 2.1307 | -8.2532 |  | 1 | 0 | 0 | 0 | 2 | 0
96 | 2.0573 | -7.6061 |  | 1 | 0 | 0 | 0 | 2 | 0
97 | 1.9908 | -6.8501 |  | 1 | 0 | 0 | 0 | 2 | 0
98 | 1.9319 | -6.0053 |  | 1 | 0 | 0 | 0 | 2 | 0
99 | 1.8815 | -5.0937 |  | 1 | 0 | 0 | 0 | 2 | 0
100 | 1.84 | -4.1383 |  | 1 | 0 | 0 | 0 | 2 | 0
101 | 1.8078 | -3.1628 |  | 1 | 0 | 0 | 0 | 2 | 0
102 | 1.7848 | -2.1908 |  | 1 | 0 | 0 | 0 | 2 | 0
103 | 1.771 | -1.2454 |  | 1 | 0 | 0 | 0 | 2 | 0
104 | 1.7659 | -0.34849 |  | 1 | 0 | 0 | 0 | 2 | 0
105 | 1.769 | 0.47944 |  | 1 | 0 | 0 | 0 | 2 | 0
106 | 1.7796 | 1.2201 |  | 1 | 0 | 0 | 0 | 2 | 0
107 | 1.7966 | 1.8576 |  | 1 | 0 | 0 | 0 | 2 | 0
108 | 1.8191 | 2.3788 |  | 1 | 0 | 0 | 0 | 2 | 0
109 | 1.8459 | 2.7737 |  | 1 | 0 | 0 | 0 | 2 | 0
110 | 1.8757 | 3.0354 |  | 1 | 0 | 0 | 0 | 2 | 0
111 | 1.9073 | 3.1604 |  | 1 | 0 | 0 | 0 | 2 | 0
112 | 1.9394 | 3.1486 |  | 1 | 0 | 1 | 0 | 2 | 0
113 | 1.9705 | 3.0029 |  | 1 | 0 | 1 | 0 | 2 | 0
114 | 1.9996 | 2.7297 |  | 1 | 0 | 1 | 0 | 2 | 0
115 | 2.0255 | 2.3383 |  | 1 | 0 | 1 | 0 | 2 | 0
116 | 2.047 | 1.8403 |  | 1 | 0 | 1 | 0 | 2 | 0
117 | 2.0632 | 1.2501 |  | 1 | 0 | 1 | 0 | 2 | 0
118 | 2.0734 | 0.58377 |  | 1 | 0 | 1 | 0 | 2 | 0
119 | 2.0769 | -0.14114 |  | 1 | 1 | 1 | 1 | 3 | 3
120 | 2.0733 | -0.90598 |  | 1 | 0 | 1 | 0 | 3 | 0
121 | 2.0622 | -1.6916 |  | 1 | 0 | 1 | 0 | 3 | 0
122 | 2.0436 | -2.4787 |  | 1 | 0 | 1 | 0 | 3 | 0
123 | 2.0176 | -3.2486 |  | 1 | 0 | 1 | 0 | 3 | 0
124 | 1.9845 | -3.9834 |  | 1 | 0 | 1 | 0 | 3 | 0
125 | 1.9446 | -4.6663 |  | 1 | 0 | 1 | 0 | 3 | 0
126 | 1.8986 | -5.2826 |  | 1 | 0 | 1 | 0 | 3 | 0
127 | 1.8471 | -5.8192 |  | 1 | 0 | 1 | 0 | 3 | 0
128 | 1.791 | -6.2655 |  | 1 | 0 | 1 | 0 | 3 | 0
129 | 1.7313 | -6.6134 |  | 1 | 0 | 1 | 0 | 3 | 0
130 | 1.6688 | -6.8573 |  | 1 | 0 | 1 | 0 | 3 | 0
131 | 1.6046 | -6.9944 |  | 1 | 0 | 1 | 0 | 3 | 0
132 | 1.5397 | -7.0242 |  | 1 | 0 | 1 | 0 | 3 | 0
133 | 1.4751 | -6.9492 |  | 1 | 0 | 0 | 0 | 3 | 0
134 | 1.4118 | -6.7742 |  | 1 | 0 | 0 | 0 | 3 | 0
135 | 1.3507 | -6.506 |  | 1 | 0 | 0 | 0 | 3 | 0
136 | 1.2927 | -6.1537 |  | 1 | 0 | 0 | 0 | 3 | 0
137 | 1.2385 | -5.728 |  | 1 | 0 | 0 | 0 | 3 | 0
138 | 1.1886 | -5.2409 |  | 1 | 0 | 0 | 0 | 3 | 0
139 | 1.1437 | -4.7055 |  | 1 | 0 | 0 | 0 | 3 | 0
140 | 1.1041 | -4.1357 |  | 1 | 0 | 0 | 0 | 3 | 0
141 | 1.07 | -3.5455 |  | 1 | 0 | 0 | 0 | 3 | 0
142 | 1.0416 | -2.9491 |  | 1 | 0 | 0 | 0 | 3 | 0
143 | 1.0188 | -2.3603 |  | 1 | 0 | 0 | 0 | 3 | 0
144 | 1.0015 | -1.7923 |  | 1 | 0 | 0 | 0 | 3 | 0
145 | 0.98934 | -1.2572 |  | 1 | 0 | 0 | 0 | 3 | 0
146 | 0.98206 | -0.76594 |  | 1 | 0 | 0 | 0 | 3 | 0
147 | 0.97913 | -0.32811 |  | 1 | 0 | 0 | 0 | 3 | 0
148 | 0.98 | 0.048358 |  | 1 | 0 | 0 | 0 | 3 | 0
149 | 0.98404 | 0.35728 |  | 1 | 0 | 0 | 0 | 3 | 0
150 | 0.99058 | 0.59429 |  | 1 | 0 | 0 | 0 | 3 | 0
151 | 0.99892 | 0.7569 |  | 1 | 0 | 0 | 0 | 3 | 0
152 | 1.0083 | 0.84452 |  | 1 | 0 | 0 | 0 | 3 | 0
153 | 1.0181 | 0.85836 |  | 1 | 0 | 0 | 0 | 3 | 0
154 | 1.0276 | 0.80141 |  | 1 | 0 | 1 | 0 | 3 | 0
155 | 1.0361 | 0.67824 |  | 1 | 0 | 1 | 0 | 3 | 0
156 | 1.0431 | 0.49492 |  | 1 | 0 | 1 | 0 | 3 | 0
157 | 1.0479 | 0.25874 |  | 1 | 0 | 1 | 0 | 3 | 0
158 | 1.0502 | -0.02192 |  | 1 | 1 | 1 | 1 | 4 | 4
159 | 1.0496 | -0.33791 |  | 1 | 0 | 1 | 0 | 4 | 0
160 | 1.0458 | -0.67949 |  | 1 | 0 | 1 | 0 | 4 | 0
161 | 1.0386 | -1.0366 |  | 1 | 0 | 1 | 0 | 4 | 0
162 | 1.0279 | -1.3993 |  | 1 | 0 | 1 | 0 | 4 | 0
163 | 1.0137 | -1.7576 |  | 1 | 0 | 1 | 0 | 4 | 0
164 | 0.99619 | -2.1022 |  | 1 | 0 | 1 | 0 | 4 | 0
165 | 0.97546 | -2.4243 |  | 1 | 0 | 1 | 0 | 4 | 0
166 | 0.9518 | -2.716 |  | 1 | 0 | 1 | 0 | 4 | 0
167 | 0.92555 | -2.9706 |  | 1 | 0 | 1 | 0 | 4 | 0
168 | 0.8971 | -3.1823 |  | 1 | 0 | 1 | 0 | 4 | 0
169 | 0.86688 | -3.3467 |  | 1 | 0 | 1 | 0 | 4 | 0
170 | 0.83536 | -3.4608 |  | 1 | 0 | 1 | 0 | 4 | 0
171 | 0.80304 | -3.5229 |  | 1 | 0 | 1 | 0 | 4 | 0
172 | 0.77042 | -3.5326 |  | 1 | 0 | 1 | 0 | 4 | 0
173 | 0.738 | -3.4909 |  | 1 | 0 | 0 | 0 | 4 | 0
174 | 0.70625 | -3.4 |  | 1 | 0 | 0 | 0 | 4 | 0
175 | 0.67563 | -3.2632 |  | 1 | 0 | 0 | 0 | 4 | 0
176 | 0.64654 | -3.085 |  | 1 | 0 | 0 | 0 | 4 | 0
177 | 0.61936 | -2.8705 |  | 1 | 0 | 0 | 0 | 4 | 0
178 | 0.5944 | -2.6258 |  | 1 | 0 | 0 | 0 | 4 | 0
179 | 0.57191 | -2.3573 |  | 1 | 0 | 0 | 0 | 4 | 0
180 | 0.55207 | -2.0719 |  | 1 | 0 | 0 | 0 | 4 | 0
181 | 0.535 | -1.7765 |  | 1 | 0 | 0 | 0 | 4 | 0
182 | 0.52076 | -1.4784 |  | 1 | 0 | 0 | 0 | 4 | 0
183 | 0.50933 | -1.1843 |  | 1 | 0 | 0 | 0 | 4 | 0
184 | 0.50065 | -0.90087 |  | 1 | 0 | 0 | 0 | 4 | 0
185 | 0.49455 | -0.63418 |  | 1 | 0 | 0 | 0 | 4 | 0
186 | 0.49087 | -0.38977 |  | 1 | 0 | 0 | 0 | 4 | 0
187 | 0.48935 | -0.17245 |  | 1 | 0 | 0 | 0 | 4 | 0
188 | 0.48972 | 0.013742 |  | 1 | 0 | 0 | 0 | 4 | 0
189 | 0.49165 | 0.16564 |  | 1 | 0 | 0 | 0 | 4 | 0
190 | 0.49481 | 0.28097 |  | 1 | 0 | 0 | 0 | 4 | 0
191 | 0.49884 | 0.35838 |  | 1 | 0 | 0 | 0 | 4 | 0
192 | 0.50338 | 0.39744 |  | 1 | 0 | 0 | 0 | 4 | 0
193 | 0.50807 | 0.39864 |  | 1 | 0 | 0 | 0 | 4 | 0
194 | 0.51254 | 0.36329 |  | 1 | 0 | 1 | 0 | 4 | 0
195 | 0.51648 | 0.29353 |  | 1 | 0 | 1 | 0 | 4 | 0
196 | 0.51956 | 0.19218 |  | 1 | 0 | 1 | 0 | 4 | 0
197 | 0.52151 | 0.062704 |  | 1 | 0 | 1 | 0 | 4 | 0
198 | 0.52208 | -0.090937 |  | 1 | 1 | 1 | 1 | 5 | 5
199 | 0.52107 | -0.26438 |  | 1 | 0 | 1 | 0 | 5 | 0
200 | 0.51832 | -0.45299 |  | 1 | 0 | 1 | 0 | 5 | 0
201 | 0.51371 | -0.65199 |  | 1 | 0 | 1 | 0 | 5 | 0
202 | 0.50718 | -0.85655 |  | 1 | 0 | 1 | 0 | 5 | 0
203 | 0.4987 | -1.062 |  | 1 | 0 | 1 | 0 | 5 | 0
204 | 0.4883 | -1.2637 |  | 1 | 0 | 1 | 0 | 5 | 0
205 | 0.47604 | -1.4576 |  | 1 | 0 | 1 | 0 | 5 | 0
206 | 0.46201 | -1.6397 |  | 1 | 0 | 1 | 0 | 5 | 0
207 | 0.44635 | -1.8068 |  | 1 | 0 | 1 | 0 | 5 | 0
208 | 0.42922 | -1.956 |  | 1 | 0 | 1 | 0 | 5 | 0
209 | 0.41082 | -2.0849 |  | 1 | 0 | 1 | 0 | 5 | 0
210 | 0.39133 | -2.192 |  | 0 | 0 | 1 | 0 | 5 | 0
211 | 0.37098 | -2.2761 |  | 0 | 0 | 1 | 0 | 5 | 0
212 | 0.35 | -2.3366 |  | 0 | 0 | 1 | 0 | 5 | 0
213 | 0.32859 | -2.3735 |  | 0 | 0 | 1 | 0 | 5 | 0
214 | 0.307 | -2.3875 |  | 0 | 0 | 1 | 0 | 5 | 0
215 | 0.28541 | -2.3794 |  | 0 | 0 | 0 | 0 | 5 | 0
216 | 0.26404 | -2.3507 |  | 0 | 0 | 0 | 0 | 5 | 0
217 | 0.24307 | -2.303 |  | 0 | 0 | 0 | 0 | 5 | 0
218 | 0.22265 | -2.2382 |  | 0 | 0 | 0 | 0 | 5 | 0
219 | 0.20294 | -2.1586 |  | 0 | 0 | 0 | 0 | 5 | 0
220 | 0.18406 | -2.0665 |  | 0 | 0 | 0 | 0 | 5 | 0
221 | 0.16611 | -1.9641 |  | 0 | 0 | 0 | 0 | 5 | 0
222 | 0.14917 | -1.8537 |  | 0 | 0 | 0 | 0 | 5 | 0
223 | 0.13328 | -1.7377 |  | 0 | 0 | 0 | 0 | 5 | 0
224 | 0.1185 | -1.6181 |  | 0 | 0 | 0 | 0 | 5 | 0
225 | 0.10483 | -1.4969 |  | 0 | 0 | 0 | 0 | 5 | 0
226 | 0.092278 | -1.376 |  | 0 | 0 | 0 | 0 | 5 | 0
227 | 0.080824 | -1.2569 |  | 0 | 0 | 0 | 0 | 5 | 0
228 | 0.070439 | -1.141 |  | 0 | 0 | 0 | 0 | 5 | 0
229 | 0.061082 | -1.0296 |  | 0 | 0 | 0 | 0 | 5 | 0
230 | 0.052704 | -0.92343 |  | 0 | 0 | 0 | 0 | 5 | 0
231 | 0.045249 | -0.82332 |  | 0 | 0 | 0 | 0 | 5 | 0
232 | 0.038655 | -0.72976 |  | 0 | 0 | 0 | 0 | 5 | 0
233 | 0.032857 | -0.64309 |  | 0 | 0 | 0 | 0 | 5 | 0
234 | 0.027789 | -0.56346 |  | 0 | 0 | 0 | 0 | 5 | 0
235 | 0.023386 | -0.49089 |  | 0 | 0 | 0 | 0 | 5 | 0
236 | 0.019582 | -0.42524 |  | 0 | 0 | 0 | 0 | 5 | 0
237 | 0.016316 | -0.36632 |  | 0 | 0 | 0 | 0 | 5 | 0
238 | 0.013526 | -0.3138 |  | 0 | 0 | 0 | 0 | 5 | 0
239 | 0.011158 | -0.26733 |  | 0 | 0 | 0 | 0 | 5 | 0
240 | 0.0091579 | -0.2265 |  | 0 | 0 | 0 | 0 | 5 | 0
241 | 0.0074791 | -0.19085 |  | 0 | 0 | 0 | 0 | 5 | 0
242 | 0.0060776 | -0.15994 |  | 0 | 0 | 0 | 0 | 5 | 0
243 | 0.0049141 | -0.13331 |  | 0 | 0 | 0 | 0 | 5 | 0
244 | 0.0039535 | -0.11052 |  | 0 | 0 | 0 | 0 | 5 | 0
245 | 0.0031649 | -0.091136 |  | 0 | 0 | 0 | 0 | 5 | 0
246 | 0.0025209 | -0.074751 |  | 0 | 0 | 0 | 0 | 5 | 0
247 | 0.0019979 | -0.060985 |  | 0 | 0 | 0 | 0 | 5 | 0
248 | 0.0015756 | -0.049492 |  | 0 | 0 | 0 | 0 | 5 | 0
249 | 0.0012363 | -0.039952 |  | 0 | 0 | 0 | 0 | 5 | 0
250 | 0.00096523 | -0.032082 |  | 0 | 0 | 0 | 0 | 5 | 0
251 | 0.00074984 | -0.025924 |  | 0 | 0 | 0 | 0 | 5 | 0
252 | 0.00057962 | -0.021032 |  | 0 | 0 | 0 | 0 | 5 | 0
253 | 0.0004458 | -0.017191 |  | 0 | 0 | 0 | 0 | 5 | 0
254 | 0.00034116 | -0.013922 |  | 0 | 0 | 0 | 0 | 5 | 0
255 | 0.00025979 | -0.011142 |  | 0 | 0 | 0 | 0 | 5 | 0
256 | 0.00019683 | -0.008778 |  | 0 | 0 | 0 | 0 | 5 | 0
Note on B8: Tom: This column is the original data (zeroth order). You can Copy and Paste your own data here.
Note on D8: Tom: This column calculates the smoothed derivative of the original data in Column A

## Sheet2
Peak 1
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 1.4004 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 1.4004 |  | 0 | 0 | 0 | 0 | 0 | Height | 4.057 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 35 | 1.3288 | 1.3288 | 46.5092 | 1225 | 42875 | 1500625 | 1627.823 | Position | 40.7309 | b/(2*a)
-5 | 36 | 1.3524 | 1.3524 | 48.6881 | 1296 | 46656 | 1679616 | 1752.7722 | Width | 36.0279 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 37 | 1.3713 | 1.3713 | 50.7383 | 1369 | 50653 | 1874161 | 1877.3165
-3 | 38 | 1.3855 | 1.3855 | 52.6475 | 1444 | 54872 | 2085136 | 2000.6046
-2 | 39 | 1.395 | 1.395 | 54.4042 | 1521 | 59319 | 2313441 | 2121.762
-1 | 40 | 1.3999 | 1.3999 | 55.9975 | 1600 | 64000 | 2560000 | 2239.9002 | Note: The if( ) functions in these equations
0 | 41 | 1.4004 | 1.4004 | 57.4178 | 1681 | 68921 | 2825761 | 2354.1284 | are not part of the actual numerical calculation.
1 | 42 | 1.3966 | 1.3966 | 58.6564 | 1764 | 74088 | 3111696 | 2463.5673 | Their purpose is simply input filtering, to eliminate
2 | 43 | 1.3885 | 1.3885 | 59.7062 | 1849 | 79507 | 3418801 | 2567.3668 | any points that don't have both X and Y values
3 | 44 | 1.3764 | 1.3764 | 60.562 | 1936 | 85184 | 3748096 | 2664.7264 | and to eliminate any Y values that are zero or
4 | 45 | 1.3605 | 1.3605 | 61.2205 | 2025 | 91125 | 4100625 | 2754.921 | negative (for which a natural log can not be calculated)
5 | 46 | 1.3409 | 1.3409 | 61.6811 | 2116 | 97336 | 4477456 | 2837.3297
6 | 47 | 1.318 | 1.318 | 61.9462 | 2209 | 103823 | 4879681 | 2911.4713
0 |  | 1.4004 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.4004 |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum of.. | 533 | 17.8143 |  | 730.1748 | 22035 | 918359 | 38575095 | 30173.6895
number of points (n) | 13
Denominator (D) | 4736732
a | -0.00214 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.17433 | (coefficient of the X term, like the slope)
CoeffC | -2.1499 | (the constant, like the intercept)
Summary of equations:
Cell B28 | n=number of x,y data points
Cell B27 | sumx=Σx
Cell C27 | sumy=Σy
Cell D27 | sumxy=Σx*y
Cell E27 | sumx2=Σx*x
Cell F27 | sumx3=Σx^3
Cell G27 | sumx3=Σx^4
Cell H27 | sumx2y=Σ(x^2)*y
Cell B30 | D=n*sumx2*sumx4+2*sumx*sumx2*sumx3-sumx2^3-sumx^2*sumx4-n*sumx3^2
Cell B31 | a=(n*sumx2*sumx2y+sumx*sumx3*sumy+sumx*sumx2*sumxy-sumx2^2*sumy-sumx^2*sumx2y-n*sumx3*sumxy)/D
Cell B32 | b=(n*sumx4*sumxy+sumx*sumx2*sumx2y+sumx2*sumx3*sumy-sumx2^2*sumxy-sumx*sumx4*sumy-n*sumx3*sumx2y)/D
Cell B33 | c=(sumx2*sumx4*sumy+sumx2*sumx3*sumxy+sumx*sumx3*sumx2y-sumx2^2*sumx2y-sumx*sumx4*sumxy-sumx3^2*sumy)/D
Calculated Gaussian parameters:
Cell K7 | Height = EXP(c-a*(b/(2*a))^2)
Cell K8 | Position = -b/(2*a)'
Cell K9 | Width = 2.35703/(SQRT(2)*SQRT(-a))

## Sheet3
Peak 2
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 1.1346 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 1.1346 |  | 0 | 0 | 0 | 0 | 0 | Height | 3.1123 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 74 | 1.09 | 1.09 | 80.6577 | 5476 | 405224 | 29986576 | 5968.6704 | Position | 79.2104 | b/(2*a)
-5 | 75 | 1.1046 | 1.1046 | 82.8441 | 5625 | 421875 | 31640625 | 6213.3081 | Width | 40.1728 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 76 | 1.1167 | 1.1167 | 84.8712 | 5776 | 438976 | 33362176 | 6450.2127
-3 | 77 | 1.126 | 1.126 | 86.7054 | 5929 | 456533 | 35153041 | 6676.3127
-2 | 78 | 1.1323 | 1.1323 | 88.3164 | 6084 | 474552 | 37015056 | 6888.683
-1 | 79 | 1.1352 | 1.1352 | 89.678 | 6241 | 493039 | 38950081 | 7084.5616 | Note: The if( ) functions in these equations
0 | 80 | 1.1346 | 1.1346 | 90.7671 | 6400 | 512000 | 40960000 | 7261.3672 | are not part of the actual numerical calculation.
1 | 81 | 1.1304 | 1.1304 | 91.5644 | 6561 | 531441 | 43046721 | 7416.7173 | Their purpose is simply input filtering, to eliminate
2 | 82 | 1.1226 | 1.1226 | 92.0543 | 6724 | 551368 | 45212176 | 7548.452 | any points that don't have both X and Y values
3 | 83 | 1.1111 | 1.1111 | 92.2249 | 6889 | 571787 | 47458321 | 7654.6635 | and to eliminate any Y values that are zero or
4 | 84 | 1.0961 | 1.0961 | 92.0683 | 7056 | 592704 | 49787136 | 7733.7332 | negative (for which a natural log can not be calculated)
5 | 85 | 1.0774 | 1.0774 | 91.5809 | 7225 | 614125 | 52200625 | 7784.3792
6 | 86 | 1.0554 | 1.0554 | 90.7641 | 7396 | 636056 | 54700816 | 7805.7126
0 |  | 1.1346 |  | 0 | 0 | 0 | 0 | 0
0 |  | 1.4004 |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 1040 | 14.4324 |  | 1154.0968 | 83382 | 6699680 | 539473350 | 92486.7736
number of points (n) | 13
Denominator (D) | 4736732
a | -0.0017212 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.27268 | (coefficient of the X term, like the slope)
CoeffC | -9.664 | (the constant, like the intercept)

## Sheet4
Peak 3
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.73088 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.73088 |  | 0 | 0 | 0 | 0 | 0 | Height | 2.0764 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 113 | 0.67831 | 0.67831 | 76.649 | 12769 | 1442897 | 163047361 | 8661.3425 | Position | 118.7677 | b/(2*a)
-5 | 114 | 0.69297 | 0.69297 | 78.9981 | 12996 | 1481544 | 168896016 | 9005.7838 | Width | 41.079 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 115 | 0.7058 | 0.7058 | 81.1673 | 13225 | 1520875 | 174900625 | 9334.2339
-3 | 116 | 0.71637 | 0.71637 | 83.0984 | 13456 | 1560896 | 181063936 | 9639.4131
-2 | 117 | 0.72427 | 0.72427 | 84.7396 | 13689 | 1601613 | 187388721 | 9914.5322
-1 | 118 | 0.7292 | 0.7292 | 86.045 | 13924 | 1643032 | 193877776 | 10153.315 | Note: The if( ) functions in these equations
0 | 119 | 0.73088 | 0.73088 | 86.9749 | 14161 | 1685159 | 200533921 | 10350.0077 | are not part of the actual numerical calculation.
1 | 120 | 0.72912 | 0.72912 | 87.4948 | 14400 | 1728000 | 207360000 | 10499.3816 | Their purpose is simply input filtering, to eliminate
2 | 121 | 0.72377 | 0.72377 | 87.5763 | 14641 | 1771561 | 214358881 | 10596.7372 | any points that don't have both X and Y values
3 | 122 | 0.71472 | 0.71472 | 87.196 | 14884 | 1815848 | 221533456 | 10637.9142 | and to eliminate any Y values that are zero or
4 | 123 | 0.70192 | 0.70192 | 86.3359 | 15129 | 1860867 | 228886641 | 10619.3125 | negative (for which a natural log can not be calculated)
5 | 124 | 0.68535 | 0.68535 | 84.9833 | 15376 | 1906624 | 236421376 | 10537.9262
6 | 125 | 0.66505 | 0.66505 | 83.1312 | 15625 | 1953125 | 244140625 | 10391.395
0 |  | 0.73088 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.73088 |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 1547 | 9.1977 |  | 1094.3898 | 184275 | 21972041 | 2622409335 | 130341.2949
number of points (n) | 13
Denominator (D) | 4736732
a | -0.0016461 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.39101 | (coefficient of the X term, like the slope)
CoeffC | -22.4891 | (the constant, like the intercept)

## Sheet5
Peak 4
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | 0.049011 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | 0.049011 |  | 0 | 0 | 0 | 0 | 0 | Height | 1.0499 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 152 | 0.0083013 | 0.0083013 | 1.2618 | 23104 | 3511808 | 533794816 | 191.794 | Position | 157.8323 | b/(2*a)
-5 | 153 | 0.017967 | 0.017967 | 2.7489 | 23409 | 3581577 | 547981281 | 420.5874 | Width | 46.2062 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 154 | 0.027234 | 0.027234 | 4.194 | 23716 | 3652264 | 562448656 | 645.8736
-3 | 155 | 0.035484 | 0.035484 | 5.5001 | 24025 | 3723875 | 577200625 | 852.5133
-2 | 156 | 0.042171 | 0.042171 | 6.5786 | 24336 | 3796416 | 592240896 | 1026.2626
-1 | 157 | 0.046815 | 0.046815 | 7.3499 | 24649 | 3869893 | 607573201 | 1153.9387 | Note: The if( ) functions in these equations
0 | 158 | 0.049011 | 0.049011 | 7.7437 | 24964 | 3944312 | 623201296 | 1223.5096 | are not part of the actual numerical calculation.
1 | 159 | 0.048421 | 0.048421 | 7.6989 | 25281 | 4019679 | 639128961 | 1224.133 | Their purpose is simply input filtering, to eliminate
2 | 160 | 0.044772 | 0.044772 | 7.1635 | 25600 | 4096000 | 655360000 | 1146.1642 | any points that don't have both X and Y values
3 | 161 | 0.037852 | 0.037852 | 6.0941 | 25921 | 4173281 | 671898241 | 981.1508 | and to eliminate any Y values that are zero or
4 | 162 | 0.027505 | 0.027505 | 4.4557 | 26244 | 4251528 | 688747536 | 721.8287 | negative (for which a natural log can not be calculated)
5 | 163 | 0.01363 | 0.01363 | 2.2217 | 26569 | 4330747 | 705911761 | 362.13
6 | 164 | -0.0038217 | -0.0038217 | -0.62676 | 26896 | 4410944 | 723394816 | -102.7893
0 |  | 0.049011 |  | 0 | 0 | 0 | 0 | 0
0 |  | 0.73088 |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 2054 | 0.39534 |  | 62.3843 | 324714 | 51362324 | 8128882086 | 9847.0965
number of points (n) | 13
Denominator (D) | 4736736
a | -0.0013011 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.4107 | (coefficient of the X term, like the slope)
CoeffC | -32.3622 | (the constant, like the intercept)

## Sheet6
Peak 5
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | -0.64994 |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | -0.64994 |  | 0 | 0 | 0 | 0 | 0 | Height | 0.52223 | EXP(CoeffC-a*(b/(2*a))^2)
-6 | 192 | -0.68641 | -0.68641 | -131.7902 | 36864 | 7077888 | 1358954496 | -25303.7174 | Position | 197.3513 | b/(2*a)
-5 | 193 | -0.67714 | -0.67714 | -130.6886 | 37249 | 7189057 | 1387488001 | -25222.8972 | Width | 43.9671 | 2.35703/(SQRT(2)*SQRT(-a))
-4 | 194 | -0.66837 | -0.66837 | -129.6635 | 37636 | 7301384 | 1416468496 | -25154.7197
-3 | 195 | -0.66072 | -0.66072 | -128.8406 | 38025 | 7414875 | 1445900625 | -25123.9236
-2 | 196 | -0.65477 | -0.65477 | -128.3356 | 38416 | 7529536 | 1475789056 | -25153.782
-1 | 197 | -0.65103 | -0.65103 | -128.2534 | 38809 | 7645373 | 1506138481 | -25265.9156 | Note: The if( ) functions in these equations
0 | 198 | -0.64994 | -0.64994 | -128.6881 | 39204 | 7762392 | 1536953616 | -25480.2358 | are not part of the actual numerical calculation.
1 | 199 | -0.65188 | -0.65188 | -129.7235 | 39601 | 7880599 | 1568239201 | -25814.9815 | Their purpose is simply input filtering, to eliminate
2 | 200 | -0.65717 | -0.65717 | -131.4341 | 40000 | 8000000 | 1600000000 | -26286.8179 | any points that don't have both X and Y values
3 | 201 | -0.6661 | -0.6661 | -133.8854 | 40401 | 8120601 | 1632240801 | -26910.9717 | and to eliminate any Y values that are zero or
4 | 202 | -0.67889 | -0.67889 | -137.1356 | 40804 | 8242408 | 1664966416 | -27701.3836 | negative (for which a natural log can not be calculated)
5 | 203 | -0.69574 | -0.69574 | -141.2358 | 41209 | 8365427 | 1698181681 | -28670.8645
6 | 204 | -0.71682 | -0.71682 | -146.2316 | 41616 | 8489664 | 1731891456 | -29831.2471
0 |  | -0.64994 |  | 0 | 0 | 0 | 0 | 0
0 |  | -0.64994 |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | 2574 | -8.715 |  | -1725.906 | 509834 | 101019204 | 20023212326 | -341921.4577
number of points (n) | 13
Denominator (D) | 4736720
a | -0.001437 | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | 0.56717 | (coefficient of the X term, like the slope)
CoeffC | -56.6157 | (the constant, like the intercept)

## Sheet7
Peak 6
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.91629 | -0.91629 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0
6 | Original | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 4
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet8
Peak 7
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.91629 | -0.91629 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0
6 | Original | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 4
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet9
Peak 8
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.91629 | -0.91629 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0
6 | Original | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 4
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet10
Peak 9
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.91629 | -0.91629 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0
6 | Original | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 4
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)

## Sheet11
Peak 10
Quadratic (parabola) least squares fit to the transformed data x, ln(y)
| X | ln(y) | ln(y) | X*Y | X*X | X^3 | X^4 | X^2y
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Gaussian parameters calculated from coefficients a,b, and c.
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0 | Height | #REF! | EXP(CoeffC-a*(b/(2*a))^2)
-6 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Position | #REF! | b/(2*a)
-5 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Width | #REF! | 2.35703/(SQRT(2)*SQRT(-a))
-4 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-3 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-2 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0
-1 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | Note: The if( ) functions in these equations
0 | #REF! | #REF! | #REF! | 0 | 0 | 0 | 0 | 0 | are not part of the actual numerical calculation.
1 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | Their purpose is simply input filtering, to eliminate
2 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | any points that don't have both X and Y values
3 | Amplitude threshold | -0.91629 | -0.91629 | 0 | 0 | 0 | 0 | 0 | and to eliminate any Y values that are zero or
4 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0 | negative (for which a natural log can not be calculated)
5 | 0 | #VALUE! |  | 0 | 0 | 0 | 0 | 0
6 | Original | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
0 |  | #REF! |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| 0 |  |  | 0 | 0 | 0 | 0 | 0
| X | ln(y) |  | X*Y | X*X | X^3 | X^4 | X^2y
sum | #REF! | #REF! |  | 0 | 0 | 0 | 0 | 0
number of points (n) | 4
Denominator (D) | #REF!
a | #REF! | (coefficient of the X2 term; equals zero if best-fit line is straight)
b | #REF! | (coefficient of the X term, like the slope)
CoeffC | #REF! | (the constant, like the intercept)