## Sheet1
Demonstration of peak sharpening by the derivative method.					Tom O'Haver (toh@umd.edu), Version 3, June 2017
In this demonstration, two overlapping Gaussian peaks are simulated. Cells B4 - B6 control the peak width, noise, and relative height of peak 2. Adjust the width (B5) to change Rs (E6). K1 and K2 automatically calculated.
simulated peaks			% error	Area 1	Area 2	Theoretical 1	Theoretical 2
peak 2	0.5		Raw	0.3%	-1.3%	26.6125	13.30625	K1=	2083.3		The smooth function is defined by the 17 red coefficients in row 5, columns K through AA.
Width	250	-500	Sharp	-0.2%	0.5%			K2=	1562500		-8	-7	-6	-5	-4	-3	-2	-1	0	1	2	3	4	5	6	7	8
Noise	0.001		Rs=	1.000			Smooth coefficients ---->				1	2	3	4	5	6	7	8	9	8	7	6	5	4	3	2	1
Raw data		1st / Original data (Blue) and Sharpened (Red)		Smoothed	2nd	Smoothed	4th	Smoothed	Sharpened
X	Y	derivative		1st deriv.	derivative	2nd deriv.	derivative	4th deriv.	Signal
0	0.000491765	0		0		0					0	0
10	3.89696E-05	-4.52795E-05		0	0	0	0				0	0
20	-0.000681382	-7.20351E-05		0	0	0	0				0	0
30	0.000363807	0.000104519		0	0	0	0				0	0
40	-0.00086967	-0.000123348		0	0	0	0				0	0
50	-0.000940705	-7.10341E-06		0	0	0	0				0	0
60	-0.000744343	1.96362E-05		0	0	0	0				0	0
70	0.000471307	0.000121565		0	0	0	5.30229E-10				0	0
80	0.000568853	9.75467E-06		0	-1.47021E-07	1.06046E-08	9.23246E-10	1.82702E-10			2.20929E-05	0.000285472
90	0.000721917	1.53064E-05		2.94041E-06	-8.48487E-08	1.84649E-08	8.02882E-10	1.61912E-10			3.84686E-05	0.000252988
100	0.00079481	7.28925E-06		1.69697E-06	1.75098E-07	2.66622E-08	5.17888E-10	1.19653E-10			5.55463E-05	0.000186958
110	0.001100977	3.06167E-05		-5.61551E-07	2.78482E-07	2.88227E-08	-2.14611E-10	6.09826E-11			6.00473E-05	9.52853E-05
120	-0.001501539	-0.000260252		-3.87268E-06	-8.38014E-09	2.237E-08	-6.34508E-10	3.26266E-12			4.66042E-05	5.09791E-06
130	-0.000810503	6.91037E-05		-3.93948E-07	-1.54036E-07	1.61325E-08	-4.93561E-10	-3.88068E-11			3.36094E-05	-6.06357E-05
140	0.000668596	0.00014791		-7.91952E-07	1.13512E-07	1.24988E-08	-6.05178E-10	-7.0799E-11			2.60391E-05	-0.000110623
150	-0.000564091	-0.000123269		-2.66419E-06	9.6494E-08	4.02896E-09	1.46775E-10	-9.42192E-11			8.39368E-06	-0.000147217
160	0.001036072	0.000160016		-2.72183E-06	8.88841E-08	-7.37636E-09	1.55995E-10	-1.24809E-10			-1.53674E-05	-0.000195014
170	-0.000365904	-0.000140198		-4.44188E-06	-1.55387E-08	-2.19016E-08	9.38137E-11	-1.55758E-10			-4.56283E-05	-0.000243372
180	-5.51139E-05	3.1079E-05		-2.41106E-06	-1.42404E-07	-3.83031E-08	-1.33247E-10	-1.78972E-10	-0.000414556		-7.9798E-05	-0.000279644
190	-0.000278755	-2.23641E-05		-1.59379E-06	-1.38786E-07	-5.20396E-08	-2.93557E-10	-1.88283E-10	-0.000681364		-0.000108416	-0.000294193
200	0.000201325	4.8008E-05		3.64665E-07	-1.40702E-07	-5.9905E-08	-3.5221E-10	-1.83269E-10	-0.000209835		-0.000124802	-0.000286358
210	-0.000549117	-7.50442E-05		1.22024E-06	6.72583E-10	-6.07262E-08	-1.33281E-12	-1.71671E-10	-0.000943866		-0.000126513	-0.000268236
220	-0.001073718	-5.24601E-05		3.51213E-07	-9.71707E-08	-6.15207E-08	-1.7086E-10	-1.67501E-10	-0.001463608		-0.000128168	-0.000261721
230	0.000761381	0.00018351		3.16366E-06	-1.64697E-07	-5.88981E-08	-5.16022E-10	-1.59338E-10	0.000389712		-0.000122704	-0.000248965
240	-0.000430526	-0.000119191		3.64515E-06	-4.47883E-08	-4.5955E-08	-2.87201E-10	-1.35444E-10	-0.000737897		-9.57396E-05	-0.000211631
250	0.000207601	6.38127E-05		4.05942E-06	-7.49429E-08	-2.72679E-08	-2.47326E-10	-9.48492E-11	2.5906E-06		-5.68081E-05	-0.000148202
260	0.000344301	1.36701E-05		5.14401E-06	-3.60352E-08	-3.63425E-09	-1.09102E-10	-4.10954E-11	0.000272519		-7.57135E-06	-6.42115E-05
270	-0.000170159	-5.1446E-05		4.78013E-06	1.59004E-08	2.21814E-08	5.67781E-11	1.96756E-11	-9.32045E-05		4.62113E-05	3.07431E-05
280	0.000234029	4.04188E-05		4.826E-06	2.28924E-08	4.68615E-08	5.5364E-11	7.93503E-11	0.000455642		9.76282E-05	0.000123985
290	-5.30752E-06	-2.39337E-05		4.32228E-06	1.0695E-08	7.04344E-08	4.34616E-11	1.3671E-10	0.00035504		0.000146738	0.000213609
300	-0.00030061	-2.95302E-05		4.6121E-06	1.18845E-08	9.3138E-08	3.01407E-11	1.90872E-10	0.000191666		0.000194037	0.000298238
310	0.000941146	0.000124176		4.08459E-06	2.36487E-07	1.15239E-07	4.75385E-10	2.43521E-10	0.001561727		0.000240081	0.000380501
320	0.001244174	3.03029E-05		-1.17648E-07	3.93049E-07	1.27832E-07	8.47228E-10	2.76204E-10	0.001942059		0.000266316	0.000431569
330	3.86004E-05	-0.000120557		-3.7764E-06	2.79196E-07	1.2348E-07	6.31627E-10	2.70365E-10	0.000718297		0.000257251	0.000422445
340	0.000257642	2.19042E-05		-5.70156E-06	1.61898E-07	1.06496E-07	4.15238E-10	2.35385E-10	0.000847299		0.000221867	0.000367789
350	0.000759764	5.02121E-05		-7.01436E-06	1.20214E-07	8.12076E-08	2.56365E-10	1.80976E-10	0.001211721		0.000169182	0.000282774
360	-0.000248048	-0.000100781		-8.10584E-06	8.22246E-08	5.07915E-08	1.58011E-10	1.1637E-10	3.95958E-05		0.000105816	0.000181828
370	0.0003388	5.86848E-05		-8.65885E-06	9.48812E-08	1.72152E-08	2.16742E-10	4.76565E-11	0.000449129		3.5865E-05	7.44633E-05
380	2.28135E-05	-3.15987E-05 / 0th, 2nd and 4th Derivatives		-1.00035E-05	9.1684E-08	-2.06959E-08	1.80204E-10	-2.71567E-11	-6.27353E-05		-4.31166E-05	-4.24323E-05
390	-0.000479384	-5.02198E-05		-1.04925E-05	-2.57315E-08	-6.22112E-08	-6.10648E-11	-1.0489E-10	-0.000772881		-0.000129607	-0.000163891
400	-0.000447802	3.15822E-06		-9.48883E-06	-1.99979E-07	-1.02505E-07	-4.95528E-10	-1.75E-10	-0.000934791		-0.000213552	-0.000273437
410	-0.00123662	-7.88818E-05		-6.49296E-06	-4.21714E-07	-1.32888E-07	-9.09813E-10	-2.15907E-10	-0.001850826		-0.000276851	-0.000337355
420	-0.001051653	1.84967E-05		-1.05454E-06	-4.20056E-07	-1.45076E-07	-8.09986E-10	-2.08332E-10	-0.001679413		-0.000302241	-0.000325519
430	-0.000755686	2.95966E-05		1.90816E-06	-2.73947E-07	-1.41063E-07	-4.9596E-10	-1.55992E-10	-0.001293305		-0.000293881	-0.000243738
440	0.000291133	0.000104682		4.4244E-06	-1.38848E-07	-1.27131E-07	-2.04088E-10	-6.86042E-11	-8.09181E-05		-0.000264857	-0.000107194
450	-0.000773881	-0.000106501		4.68512E-06	-1.07429E-07	-1.09118E-07	-7.34687E-11	4.47627E-11	-0.000931268		-0.000227328	6.99417E-05
460	-0.000645559	1.28323E-05		6.57298E-06	-1.84252E-07	-8.96346E-08	-1.15961E-10	1.81583E-10	-0.000548574		-0.000186739	0.000283723
470	-0.000345215	3.00343E-05		8.37017E-06	-1.19258E-07	-6.78325E-08	8.04092E-11	3.4775E-10	5.68267E-05		-0.000141318	0.00054336
480	0.000154842	5.00057E-05		8.95814E-06	3.55776E-08	-4.76385E-08	4.65255E-10	5.42127E-10	0.000902669		-9.92469E-05	0.000847074
490	0.000589905	4.35063E-05		7.65861E-06	1.66311E-07	-3.67496E-08	8.98896E-10	7.57305E-10	0.001696632		-7.65617E-05	0.00118329
500	0.000687704	9.77998E-06		5.63191E-06	2.37418E-07	-4.38387E-08	1.26028E-09	9.8182E-10	0.002130468		-9.13305E-05	0.001534094
510	0.000257882	-4.29823E-05		2.91025E-06	1.9287E-07	-7.61333E-08	1.37436E-09	1.2096E-09	0.001989264		-0.000158611	0.001889994
520	0.000269139	1.12575E-06		1.77451E-06	9.36625E-08	-1.35915E-07	1.4317E-09	1.44829E-09	0.002248939		-0.000283157	0.002262957
530	3.3688E-05	-2.35451E-05		1.037E-06	-6.72885E-08	-2.24331E-07	1.43977E-09	1.70882E-09	0.002236364		-0.000467356	0.002670032
540	0.00022945	1.95762E-05		3.12028E-06	-1.78064E-07	-3.41542E-07	1.59477E-09	2.00508E-09	0.002650841		-0.000711546	0.003132938
550	-0.0001742	-4.0365E-05		4.59827E-06	-2.75528E-07	-4.90649E-07	1.92845E-09	2.34545E-09	0.002468378		-0.001022185	0.003664763
560	-0.000236983	-6.27832E-06		8.63084E-06	-4.60463E-07	-6.78324E-07	2.26561E-09	2.73066E-09	0.002616497		-0.001413176	0.004266657
570	-0.000263549	-2.65661E-06		1.38075E-05	-6.56826E-07	-9.11312E-07	2.67643E-09	3.15942E-09	0.002774473		-0.001898567	0.00493659
580	-1.40152E-05	2.49534E-05		2.17674E-05	-9.23611E-07	-1.19783E-06	3.04963E-09	3.62738E-09	0.003158286		-0.002495477	0.005667778
590	0.00040748	4.21495E-05		3.22797E-05	-1.1451E-06	-1.54534E-06	3.69447E-09	4.1315E-09	0.003643491		-0.003219454	0.006455466
600	0.000647465	2.39985E-05		4.46694E-05	-1.42067E-06	-1.96674E-06	4.4433E-09	4.65521E-09	0.003823864		-0.004097368	0.007273767
610	0.000696584	4.9119E-06		6.06931E-05	-1.85808E-06	-2.477E-06	5.12773E-09	5.1722E-09	0.003617723		-0.005160419	0.008081558
620	0.001463699	7.67115E-05		8.1831E-05	-2.32815E-06	-3.08982E-06	5.97787E-09	5.65162E-09	0.003857236		-0.006437125	0.008830662
630	0.002429955	9.66256E-05		0.000107256	-2.83222E-06	-3.8222E-06	6.83583E-09	6.05059E-09	0.003921086		-0.00796291	0.009454041
640	0.003563539	0.000113358		0.000138475	-3.4909E-06	-4.69129E-06	7.60516E-09	6.32267E-09	0.003669185		-0.00977352	0.009879167
650	0.004064365	5.00826E-05		0.000177074	-4.47196E-06	-5.71249E-06	7.97799E-09	6.41735E-09	0.002190464		-0.011901013	0.010027111
660	0.00576552	0.000170116		0.000227915	-5.68505E-06	-6.89324E-06	8.06311E-09	6.29037E-09	0.001233299		-0.014360921	0.0098287
670	0.007897095	0.000213157		0.000290775	-6.95393E-06	-8.23526E-06	8.12926E-09	5.89978E-09	-4.12874E-05		-0.017156793	0.009218411
680	0.010162913	0.000226582		0.000366993	-8.51266E-06	-9.73986E-06	7.71563E-09	5.19649E-09	-0.002008953		-0.020291384	0.008119518
690	0.01401621	0.00038533		0.000461028	-1.02324E-05	-1.13988E-05	6.96745E-09	4.14196E-09	-0.003259436		-0.02374746	0.006471814
700	0.018245762	0.000422955		0.00057164	-1.21167E-05	-1.3197E-05	5.78141E-09	2.70514E-09	-0.005021301		-0.027493845	0.004226782
710	0.023488066	0.00052423		0.000703363	-1.42732E-05	-1.51109E-05	3.99839E-09	8.67907E-10	-0.006636952		-0.031481123	0.001356105
720	0.029918085	0.000643002		0.000857104	-1.65604E-05	-1.71048E-05	1.79946E-09	-1.37023E-09	-0.007857893		-0.035635001	-0.002140978
730	0.038566217	0.000864813		0.001034572	-1.90266E-05	-1.91347E-05	-1.0872E-09	-3.99732E-09	-0.007543444		-0.039863855	-0.006245806
740	0.049546521	0.00109803		0.001237637	-2.14078E-05	-2.11428E-05	-4.26474E-09	-6.9754E-09	-0.005399947		-0.04404741	-0.010899058
750	0.06271155	0.001316503		0.001462728	-2.37755E-05	-2.30656E-05	-7.90194E-09	-1.02512E-08	-0.001359161		-0.048053267	-0.016017444
760	0.077544969	0.001483342		0.001713147	-2.61537E-05	-2.48303E-05	-1.21203E-08	-1.37473E-08	0.004334894		-0.051729877	-0.021480198
770	0.096086696	0.001854173		0.001985801	-2.83795E-05	-2.63527E-05	-1.67136E-08	-1.73564E-08	0.014065911		-0.054901474	-0.027119311
780	0.11698074	0.002089404		0.002280738	-3.03313E-05	-2.75408E-05	-2.14738E-08	-2.09462E-08	0.026875657		-0.057376669	-0.032728414
790	0.142490489	0.002550975		0.002592427	-3.17413E-05	-2.82994E-05	-2.59984E-08	-2.43667E-08	0.04546047		-0.058957122	-0.038072897
800	0.170042295	0.002755181		0.002915564	-3.26956E-05	-2.85381E-05	-3.0454E-08	-2.74606E-08	0.067680851		-0.059454309	-0.042907136
810	0.20115513	0.003111283		0.003246338	-3.32037E-05	-2.81676E-05	-3.47424E-08	-3.00559E-08	0.095510275		-0.058682579	-0.046962275
820	0.238051483	0.003689635		0.003579638	-3.28011E-05	-2.71024E-05	-3.82099E-08	-3.19714E-08	0.131632985		-0.05646325	-0.049955249
830	0.277352499	0.003930102		0.003902361	-3.14348E-05	-2.52729E-05	-4.062E-08	-3.30367E-08	0.173080765		-0.052651842	-0.051619892
840	0.322497079	0.004514458		0.004208334	-2.90648E-05	-2.2631E-05	-4.1719E-08	-3.3104E-08	0.223624123		-0.047147934	-0.051725022
850	0.368042527	0.004554545		0.004483658	-2.57184E-05	-1.91548E-05	-4.15123E-08	-3.20613E-08	0.27804104		-0.039905733	-0.050095753
860	0.420909303	0.005286678		0.004722703	-2.11703E-05	-1.48482E-05	-3.95872E-08	-2.98325E-08	0.343362176		-0.030933852	-0.046613275
870	0.472413563	0.005150426		0.004907064	-1.56427E-05	-9.75E-06	-3.61972E-08	-2.63937E-08	0.410860931		-0.020312505	-0.041240127
880	0.528476001	0.005606244		0.005035556	-9.24845E-06	-3.92781E-06	-3.13271E-08	-2.17661E-08	0.486283452		-0.008182941	-0.034009608
890	0.584524125	0.005604812		0.005092033	-1.78253E-06	2.52092E-06	-2.45179E-08	-1.60213E-08	0.564742761		0.005251919	-0.025033283
900	0.642365109	0.005784098		0.005071207	6.43561E-06	9.46001E-06	-1.62215E-08	-9.30182E-09	0.647539368		0.019708357	-0.014534099
910	0.69894183	0.005657672		0.004963321	1.53244E-05	1.67235E-05	-6.47196E-09	-1.80707E-09	0.730958974		0.034840692	-0.002823548
920	0.752996733	0.00540549		0.004764718	2.43427E-05	2.41165E-05	3.86991E-09	6.20631E-09	0.812936779		0.050242692	0.009697353
930	0.80529479	0.005229806		0.004476468	3.32307E-05	3.14321E-05	1.43751E-08	1.44532E-08	0.893361376		0.065483446	0.022583139
940	0.852166762	0.004687197		0.004100105	4.19668E-05	3.84601E-05	2.5166E-08	2.26351E-08	0.967659409		0.080125238	0.035367408
950	0.895064788	0.004289803		0.003637133	5.017E-05	4.49849E-05	3.55516E-08	3.04346E-08	1.036337272		0.093718445	0.047554039
960	0.931924652	0.003685986		0.003096704	5.76855E-05	5.07986E-05	4.53656E-08	3.75403E-08	1.096411649		0.105830335	0.058656662
970	0.960208106	0.002828345		0.002483424	6.39943E-05	5.5705E-05	5.38467E-08	4.36505E-08	1.144463943		0.116051992	0.068203844
980	0.982136323	0.002192822		0.001816817	6.88495E-05	5.95344E-05	6.03633E-08	4.84988E-08	1.181945669		0.124030039	0.075779307
990	0.99618789	0.001405157		0.001106434	7.23538E-05	6.21566E-05	6.50966E-08	5.18828E-08	1.206747778		0.129492947	0.081066941
1000	0.99896349	0.00027756		0.000369741	7.39346E-05	6.34769E-05	6.72746E-08	5.36573E-08	1.215046553		0.132243499	0.083839564
1010	0.995158649	-0.000380484		-0.000372257	7.38508E-05	6.34517E-05	6.72754E-08	5.37574E-08	1.211345459		0.132190944	0.083995866
1020	0.983238097	-0.001192055		-0.001107276	7.22385E-05	6.20809E-05	6.52066E-08	5.21876E-08	1.194116433		0.129335245	0.081543091
1030	0.96128398	-0.002195412		-0.001817027	6.8883E-05	5.94061E-05	6.08628E-08	4.90201E-08	1.161640463		0.123762607	0.076593877
1040	0.931472712	-0.002981127		-0.002484935	6.39168E-05	5.55139E-05	5.44954E-08	4.43985E-08	1.11649932		0.115654017	0.069372591
1050	0.894678832	-0.003679388		-0.003095363	5.75214E-05	5.05319E-05	4.62943E-08	3.85274E-08	1.060152682		0.105274785	0.060199065
1060	0.851988785	-0.004269005		-0.003635363	5.00055E-05	4.4624E-05	3.68065E-08	3.1669E-08	0.994438266		0.092966622	0.049482859
1070	0.804338533	-0.004765025		-0.004095474	4.16929E-05	3.79799E-05	2.66435E-08	2.41223E-08	0.92115444		0.079124856	0.037691051
1080	0.753288788	-0.005104974		-0.004469221	3.28156E-05	3.0803E-05	1.60365E-08	1.6197E-08	0.842769487		0.064172944	0.025307755
1090	0.697967192	-0.00553216		-0.004751786	2.35599E-05	2.33054E-05	5.39096E-09	8.20992E-09	0.759348039		0.048552846	0.012828001
1100	0.641955164	-0.005601203		-0.004940418	1.43728E-05	1.56999E-05	-4.57352E-09	4.69121E-10	0.67539629		0.032708125	0.000733002
1110	0.586282541	-0.005567262		-0.005039242	5.61179E-06	8.1859E-06	-1.33774E-08	-6.75284E-09	0.5927852		0.017053967	-0.010551308
1120	0.529395726	-0.005688682		-0.005052654	-2.79858E-06	9.39457E-07	-2.12245E-08	-1.32354E-08	0.510672601		0.001957203	-0.020680327
1130	0.473434208	-0.005596152		-0.00498327	-1.06191E-05	-5.8825E-06	-2.77649E-08	-1.88001E-08	0.431803884		-0.012255207	-0.029375117
1140	0.420033268	-0.005340094		-0.004840273	-1.76395E-05	-1.21492E-05	-3.27494E-08	-2.33198E-08	0.358285412		-0.025310745	-0.036437111
1150	0.371079563	-0.004895371		-0.004630479	-2.36098E-05	-1.77608E-05	-3.5993E-08	-2.67282E-08	0.292315075		-0.037001725	-0.041762763
1160	0.323805801	-0.004727376		-0.004368078	-2.86262E-05	-2.26526E-05	-3.7739E-08	-2.90214E-08	0.231266898		-0.047192998	-0.045345905
1170	0.28151173	-0.004229407		-0.004057956	-3.27017E-05	-2.67897E-05	-3.8024E-08	-3.02454E-08	0.178441455		-0.05581181	-0.047258465
1180	0.244178759	-0.003733297		-0.003714045	-3.55482E-05	-3.01662E-05	-3.6547E-08	-3.04978E-08	0.13367963		-0.062846289	-0.047652839
1190	0.208704825	-0.003547393		-0.003346993	-3.76962E-05	-3.28118E-05	-3.43963E-08	-2.99336E-08	0.09357563		-0.068357978	-0.046771217
1200	0.178462792	-0.003024203		-0.002960121	-3.93435E-05	-3.47695E-05	-3.20712E-08	-2.87203E-08	0.061150848		-0.072436485	-0.044875459
1210	0.153708735	-0.002475406		-0.002560123	-4.00965E-05	-3.60858E-05	-2.89614E-08	-2.70162E-08	0.036317252		-0.075178695	-0.042212788
1220	0.131223054	-0.002248568		-0.002158192	-4.01757E-05	-3.68228E-05	-2.53812E-08	-2.49927E-08	0.015457803		-0.076714179	-0.039051071
1230	0.115320814	-0.001590224		-0.001756609	-3.97464E-05	-3.70522E-05	-2.17812E-08	-2.28261E-08	0.00246287		-0.077192115	-0.035665829
1240	0.102715499	-0.001260531		-0.001363264	-3.89165E-05	-3.6846E-05	-1.84607E-08	-2.06762E-08	-0.006353582		-0.076762503	-0.032306579
1250	0.094471852	-0.000824365		-0.00097828	-3.7808E-05	-3.62706E-05	-1.55186E-08	-1.86736E-08	-0.010269347		-0.075563696	-0.029177503
1260	0.088302794	-0.000616906		-0.000607104	-3.662E-05	-3.53848E-05	-1.33818E-08	-1.6921E-08	-0.011854526		-0.07371828	-0.02643904
1270	0.08770226	-6.00534E-05		-0.000245879	-3.54501E-05	-3.42313E-05	-1.23372E-08	-1.54729E-08	-0.007789414		-0.071315291	-0.024176383
1280	0.08882042	0.000111816		0.000101898	-3.4043E-05	-3.28312E-05	-1.16463E-08	-1.43244E-08	-0.001959694		-0.068398251	-0.022381863
1290	0.094641685	0.000582126		0.000434981	-3.23435E-05	-3.11981E-05	-1.10082E-08	-1.34465E-08	0.008635638		-0.064995947	-0.0210101
1300	0.103585623	0.000894394		0.000748768	-3.04769E-05	-2.93448E-05	-1.08277E-08	-1.28018E-08	0.022447831		-0.061134969	-0.020002823
1310	0.114294128	0.00107085		0.001044519	-2.86148E-05	-2.7275E-05	-1.14098E-08	-1.23275E-08	0.038209623		-0.056822837	-0.019261668
1320	0.12921812	0.001492399		0.001321064	-2.65678E-05	-2.49769E-05	-1.21604E-08	-1.19192E-08	0.05855902		-0.052035295	-0.018623805
1330	0.146188638	0.001697052		0.001575875	-2.43169E-05	-2.24357E-05	-1.28606E-08	-1.1461E-08	0.081539757		-0.04674107	-0.017907811
1340	0.165790038	0.00196014		0.001807402	-2.18497E-05	-1.96373E-05	-1.35475E-08	-1.08398E-08	0.107941916		-0.040910986	-0.016937136
1350	0.187686017	0.002189598		0.002012869	-1.88599E-05	-1.65679E-05	-1.34053E-08	-9.93895E-09	0.137639988		-0.034516424	-0.015529605
1360	0.212925328	0.002523931		0.002184601	-1.53657E-05	-1.32304E-05	-1.23958E-08	-8.67582E-09	0.171806046		-0.027563307	-0.013555975
1370	0.238733561	0.002580823		0.002320183	-1.15229E-05	-9.64498E-06	-1.0812E-08	-7.00634E-09	0.207692451		-0.0200937	-0.010947411
1380	0.264987719	0.002625416		0.002415058	-7.51026E-06	-5.84332E-06	-8.8402E-09	-4.91074E-09	0.245141099		-0.012173594	-0.007673027
1390	0.293020634	0.002803291		0.002470388	-3.3164E-06	-1.86487E-06	-6.48973E-09	-2.38599E-09	0.285407383		-0.003885146	-0.003728105
1400	0.321367127	0.002834649		0.002481386	1.42999E-06	2.24338E-06	-2.79318E-09	5.54494E-10	0.326907231		0.004673708	0.000866396
1410	0.34951236	0.002814523		0.002441788	6.31061E-06	6.40749E-06	1.51065E-09	3.83474E-09	0.36885309		0.013348943	0.005991787
1420	0.377198619	0.002768626		0.002355174	1.11168E-05	1.05414E-05	5.94218E-09	7.34638E-09	0.410638574		0.021961235	0.01147872
1430	0.403535947	0.002633733		0.002219452	1.60556E-05	1.45564E-05	1.10702E-08	1.09718E-08	0.451005331		0.030325937	0.017143448
1440	0.426172275	0.002263633		0.002034062	2.06168E-05	1.83501E-05	1.59177E-08	1.45581E-08	0.487148619		0.038229381	0.022746963
1450	0.447970013	0.002179774		0.001807117	2.47998E-05	2.18254E-05	2.04608E-08	1.79561E-08	0.521496015		0.045469585	0.028056417
1460	0.465495757	0.001752574		0.001538066	2.85127E-05	2.48915E-05	2.45384E-08	2.10239E-08	0.550202876		0.051857258	0.032849861
1470	0.480150875	0.001465512		0.001236863	3.16441E-05	2.74668E-05	2.80885E-08	2.3633E-08	0.57429994		0.057222498	0.036926567
1480	0.491364218	0.001121334		0.000905184	3.43574E-05	2.94803E-05	3.15224E-08	2.56651E-08	0.592883245		0.061417384	0.040101644
1490	0.496365767	0.000500155		0.000549714	3.59997E-05	3.08634E-05	3.33448E-08	2.69935E-08	0.602842009		0.064298837	0.042177405
1500	0.499649116	0.000328335		0.000185189	3.67418E-05	3.15796E-05	3.3924E-08	2.7552E-08	0.608490104		0.065790922	0.043050066
1510	0.498273377	-0.000137574		-0.000185122	3.69242E-05	3.16174E-05	3.39619E-08	2.73176E-08	0.606826702		0.065869506	0.042683818
1520	0.49111598	-0.00071574		-0.000553296	3.60272E-05	3.09758E-05	3.25146E-08	2.62803E-08	0.596711966		0.064533013	0.041062974
1530	0.480832983	-0.0010283		-0.000905666	3.43067E-05	2.9684E-05	2.99967E-08	2.448E-08	0.580924784		0.061841745	0.038250056
1540	0.465083618	-0.001574936		-0.00123943	3.18189E-05	2.77923E-05	2.65673E-08	2.19923E-08	0.557347241		0.057900617	0.034363005
1550	0.448283559	-0.001680006		-0.001542044	2.8796E-05	2.53692E-05	2.27331E-08	1.89199E-08	0.530698364		0.052852518	0.029562287
1560	0.426653825	-0.002162973		-0.00181535	2.52951E-05	2.24915E-05	1.82767E-08	1.53684E-08	0.497524196		0.046857205	0.024013166
1570	0.401777606	-0.002487622		-0.002047946	2.0965E-05	1.92482E-05	1.2546E-08	1.14659E-08	0.459793452		0.040100363	0.017915483
1580	0.376098884	-0.002567872		-0.002234651	1.65509E-05	1.5754E-05	7.11412E-09	7.38974E-09	0.420466124		0.032820772	0.011546469
1590	0.349834273	-0.002626461		-0.002378963	1.22161E-05	1.21175E-05	2.11239E-09	3.29512E-09	0.380227655		0.025244759	0.005148623
1600	0.32112711	-0.002870716		-0.002478972	7.71341E-06	8.43875E-06	-3.05676E-09	-6.85273E-10	0.337637101		0.01758073	-0.001070738
1610	0.293275978	-0.002785113		-0.002533231	3.32523E-06	4.82115E-06	-7.83809E-09	-4.41149E-09	0.296427096		0.010044066	-0.006892947
1620	0.265145297	-0.002813068		-0.002545476	-5.97951E-07	1.36031E-06	-1.16075E-08	-7.75948E-09	0.255855094		0.002833989	-0.012124191
1630	0.23707984	-0.002806546		-0.002521272	-4.20108E-06	-1.86837E-06	-1.46907E-08	-1.06468E-08	0.21655177		-0.003892442	-0.016635628
1640	0.209693013	-0.002738683		-0.002461455	-7.74828E-06	-4.80325E-06	-1.78693E-08	-1.30183E-08	0.179345215		-0.010006762	-0.020341036
1650	0.184754275	-0.002493874		-0.002366307	-1.06622E-05	-7.38073E-06	-1.99725E-08	-1.4806E-08	0.146243391		-0.015376526	-0.023134357
1660	0.160960241	-0.002379403		-0.002248211	-1.27519E-05	-9.55877E-06	-2.04963E-08	-1.59799E-08	0.116077576		-0.019914102	-0.024968562
1670	0.138938794	-0.002202145		-0.00211127	-1.44229E-05	-1.13269E-05	-2.06112E-08	-1.65724E-08	0.089446826		-0.023597667	-0.025894302
1680	0.119012497	-0.00199263		-0.001959753	-1.57318E-05	-1.26828E-05	-2.04466E-08	-1.66197E-08	0.066621733		-0.02642243	-0.025968334
1690	0.100030503	-0.001898199		-0.001796635	-1.65455E-05	-1.36297E-05	-1.9487E-08	-1.61586E-08	0.046387453		-0.028395252	-0.025247798
1700	0.085517562	-0.001451294		-0.001628844	-1.66791E-05	-1.41869E-05	-1.75551E-08	-1.52528E-08	0.032128882		-0.029556115	-0.023832565
1710	0.069062826	-0.001645474		-0.001463053	-1.66984E-05	-1.4393E-05	-1.58969E-08	-1.39978E-08	0.017205789		-0.029985515	-0.021871521
1720	0.057528357	-0.001153447		-0.001294875	-1.64221E-05	-1.42812E-05	-1.41641E-08	-1.24655E-08	0.008298404		-0.029752546	-0.019477407
1730	0.048172235	-0.000935612		-0.001134611	-1.53443E-05	-1.38861E-05	-1.11892E-08	-1.07181E-08	0.002495729		-0.028929405	-0.016747102
1740	0.038512211	-0.000966002		-0.00098799	-1.4264E-05	-1.32672E-05	-8.50108E-09	-8.86401E-09	-0.00297785		-0.027640045	-0.013850016
1750	0.031065439	-0.000744677		-0.00084933	-1.32647E-05	-1.24783E-05	-6.44375E-09	-6.9945E-09	-0.005859938		-0.025996474	-0.010928903
1760	0.024506874	-0.000655857		-0.000722696	-1.20065E-05	-1.15605E-05	-4.18403E-09	-5.16554E-09	-0.007648691		-0.024084413	-0.008071152
1770	0.020317068	-0.000418981		-0.000609201	-1.05561E-05	-1.0559E-05	-1.8152E-09	-3.43836E-09	-0.007053393		-0.021998017	-0.005372444
1780	0.014844016	-0.000547305		-0.000511575	-9.23539E-06	-9.52127E-06	9.58866E-11	-1.87476E-09	-0.007921292		-0.019835989	-0.00292932
1790	0.012049731	-0.000279429		-0.000424493	-8.24407E-06	-8.48542E-06	1.02267E-09	-5.15116E-10	-0.006433093		-0.017677955	-0.000804868
1800	0.009204539	-0.000284519		-0.000346693	-7.04602E-06	-7.47002E-06	2.26417E-09	6.43674E-10	-0.005352253		-0.015562533	0.001005741
1810	0.00779136	-0.000141318		-0.000283572	-5.69729E-06	-6.4999E-06	3.79051E-09	1.58859E-09	-0.003267926		-0.013541451	0.002482165
1820	0.005413859	-0.00023775		-0.000232747	-4.81366E-06	-5.60559E-06	4.13679E-09	2.29109E-09	-0.002684628		-0.011678307	0.003579821
1830	0.004585056	-8.28803E-05		-0.000187299	-4.09414E-06	-4.79401E-06	4.21587E-09	2.77468E-09	-0.001067035		-0.00998753	0.004335438
1840	0.003744169	-8.40888E-05		-0.000150865	-3.33871E-06	-4.06676E-06	4.32418E-09	3.06759E-09	6.48602E-05		-0.008472414	0.004793105
1850	0.002006184	-0.000173798		-0.000120525	-2.81192E-06	-3.42599E-06	3.99833E-09	3.19267E-09	-0.00014274		-0.007137472	0.004988548
1860	0.000698794	-0.000130739		-9.46261E-05	-2.43976E-06	-2.86518E-06	3.5667E-09	3.18889E-09	-0.000287692		-0.005969127	0.004982641
1870	0.000193649	-5.05145E-05		-7.17298E-05	-2.08065E-06	-2.37571E-06	3.15883E-09	3.09233E-09	7.6023E-05		-0.004949394	0.004831768
1880	0.00159974	0.000140609		-5.30131E-05	-1.46582E-06	-1.94941E-06	3.33086E-09	2.93373E-09	0.002122415		-0.00406128	0.004583954
1890	0.000473992	-0.000112575		-4.24135E-05	-1.06157E-06	-1.58974E-06	3.10102E-09	2.71516E-09	0.001404483		-0.003311951	0.004242442
1900	-0.000777321	-0.000125131		-3.17818E-05	-1.11306E-06	-1.29208E-06	2.10986E-09	2.45432E-09	0.000365727		-0.002691832	0.00383488
1910	-0.0005315	2.45821E-05		-2.01522E-05	-9.84666E-07	-1.03662E-06	1.73154E-09	2.19675E-09	0.000741298		-0.002159623	0.003432422
1920	0.000169989	7.0149E-05		-1.20885E-05	-7.53969E-07	-8.15789E-07	1.48705E-09	1.95479E-09	0.00152478		-0.001699561	0.003054352
1930	0.000997846	8.27857E-05		-5.07285E-06	-4.17869E-07	-6.24701E-07	1.49843E-09	1.73744E-09	0.002411135		-0.001301461	0.002714749
1940	0.000483612	-5.14234E-05		-3.73112E-06	-9.46588E-08	-4.63581E-07	1.74271E-09	1.54219E-09	0.001927496		-0.000965794	0.002409678
1950	-0.000373459	-8.57072E-05		-3.17967E-06	-1.01504E-07	-3.37316E-07	1.43357E-09	1.35075E-09	0.001034347		-0.000702741	0.002110547
1960	0.000703793	0.000107725		-1.70105E-06	-4.32243E-08	-2.39721E-07	1.19635E-09	1.16726E-09	0.002028223		-0.00049942	0.00182385
1970	-0.000264544	-9.68336E-05		-2.31518E-06	-8.35462E-08	-1.66054E-07	7.81716E-10	9.95175E-10	0.000944472		-0.000345946	0.001554962
1980	0.000355103	6.19646E-05		-3.01227E-08	-1.00754E-07	-1.08021E-07	5.1384E-10	8.46914E-10	0.00145336		-0.000225045	0.001323303
1990	7.39765E-05	-2.81126E-05		-3.00095E-07	5.31857E-08	-6.02654E-08	6.93789E-10	7.26712E-10	0.001083911		-0.000125553	0.001135488
2000	5.47561E-05	-1.92205E-06		-1.09384E-06	3.92379E-08	-2.63852E-08	5.90601E-10	6.17831E-10	0.000965147		-5.49692E-05	0.00096536
2010	0.001437606	0.000138285		-1.08485E-06	1.77177E-07	-4.31697E-09	7.52341E-10	5.17418E-10	0.002237078		-8.99369E-06	0.000808466
2020	-0.000661677	-0.000209928		-4.63738E-06	7.55149E-08	2.70443E-09	4.62782E-10	4.13232E-10	-1.03672E-05		5.63423E-06	0.000645676
2030	-0.000592286	6.93912E-06		-2.59515E-06	-2.0059E-07	4.70189E-10	-2.04931E-10	3.12184E-10	-0.000103518		9.7956E-07	0.000487788
2040	-0.000248027	3.44258E-05		-6.25577E-07	-8.56355E-08	2.33457E-09	-5.49751E-11	2.39591E-10	0.000131198		4.8637E-06	0.000374361
2050	0.000716485	9.64512E-05		-8.8244E-07	5.61117E-08	5.29846E-09	1.57032E-10	1.86627E-10	0.001019128		1.10385E-05	0.000291605
2060	-0.000277927	-9.94412E-05		-1.74781E-06	3.23442E-08	5.1217E-09	1.62567E-10	1.42132E-10	-4.51758E-05		1.06702E-05	0.000222081
2070	1.75353E-05	2.95463E-05		-1.52932E-06	2.76359E-08	1.6936E-09	1.99549E-10	1.00929E-10	0.000178766		3.52834E-06	0.000157702
2080	0.000282345	2.64809E-05		-2.30053E-06	9.54969E-08	-5.72548E-09	1.94616E-10	5.71588E-11	0.000359727		-1.19281E-05	8.93107E-05
2090	0.000648289	3.65944E-05		-3.43926E-06	1.06369E-07	-1.70369E-08	1.35676E-10	1.28673E-11	0.000632901		-3.54935E-05	2.01052E-05
2100	-0.000172325	-8.20614E-05		-4.42791E-06	-1.10469E-07	-3.10618E-08	-2.88013E-10	-2.8776E-11	-0.000282		-6.47121E-05	-4.49625E-05
2110	-0.000666992	-4.94667E-05		-1.22988E-06	-1.80808E-07	-3.93264E-08	-3.18719E-10	-5.21214E-11	-0.000830362		-8.19301E-05	-8.14397E-05
2120	-7.28298E-05	5.94162E-05		-8.1175E-07	2.5467E-08	-4.12167E-08	1.52303E-10	-5.89926E-11	-0.000250874		-8.58681E-05	-9.21759E-05
2130	-0.000330655	-2.57825E-05		-1.73922E-06	1.92923E-08	-4.6153E-08	4.64285E-11	-7.2112E-11	-0.000539482		-9.61522E-05	-0.000112675
2140	2.82269E-05	3.58882E-05		-1.1976E-06	-9.89449E-08	-5.20179E-08	-1.96324E-10	-8.64713E-11	-0.000215255		-0.000108371	-0.000135111
2150	-0.000114338	-1.42564E-05		2.39679E-07	-1.15124E-07	-5.39563E-08	-1.89892E-10	-9.27141E-11	-0.000371612		-0.000112409	-0.000144866
2160	-0.000944707	-8.30369E-05		1.10488E-06	-1.67244E-07	-5.20969E-08	-3.22731E-10	-9.14675E-11	-0.00119616		-0.000108535	-0.000142918
2170	-0.000431662	5.13045E-05		3.58455E-06	-1.77469E-07	-4.37828E-08	-3.4676E-10	-7.52698E-11	-0.000640485		-9.12143E-05	-0.000117609
2180	0.000441016	8.72678E-05		4.65426E-06	-4.62947E-08	-2.85336E-08	-1.04744E-10	-4.48093E-11	0.000311557		-5.9445E-05	-7.00145E-05
2190	0.000808148	3.67131E-05		4.51045E-06	6.8466E-08	-1.11895E-08	1.53763E-10	-1.09693E-11	0.000767697		-2.33114E-05	-1.71396E-05
2200	-0.000333622	-0.000114177		3.28494E-06	7.91943E-08	3.0794E-09	2.34195E-10	1.47384E-11	-0.000304178		6.41541E-06	2.30288E-05
2210	-0.000304624	2.89985E-06		2.92656E-06	4.79375E-09	1.26644E-08	3.42551E-12	2.87637E-11	-0.000233297		2.63841E-05	4.49432E-05
2220	2.54329E-05	3.30057E-05		3.18907E-06	4.9006E-08	2.21808E-08	4.74021E-11	4.40673E-11	0.000140498		4.621E-05	6.88552E-05
2230	0.000504162	4.78729E-05		1.94644E-06	6.40439E-08	3.07492E-08	1.07759E-10	5.9421E-11	0.000661068		6.40609E-05	9.28453E-05
2240	0.000750062	2.459E-05		1.90819E-06	4.50334E-08	3.71625E-08	6.42875E-11	7.08467E-11	0.000938182		7.74218E-05	0.000110698
2250	0.000101591	-6.48471E-05		1.04578E-06	1.60701E-07	4.229E-08	3.66027E-10	7.89421E-11	0.000313042		8.81041E-05	0.000123347
2260	-0.000279205	-3.80795E-05		-1.30583E-06	1.11315E-07	4.00969E-08	2.67158E-10	6.94441E-11	-8.71629E-05		8.35353E-05	0.000108506
2270	0.000117254	3.96459E-05		-1.18053E-06	-2.92734E-08	3.25607E-08	-7.14316E-11	4.83368E-11	0.000260615		6.78349E-05	7.55263E-05
2280	0.000795962	6.78708E-05		-7.20365E-07	-1.6952E-09	2.64532E-08	-6.31707E-11	3.10423E-11	0.000899576		5.51108E-05	4.85035E-05
2290	-0.000290542	-0.00010865		-1.14662E-06	-4.01991E-08	2.1609E-08	-1.59172E-10	1.8292E-11	-0.000216942		4.50188E-05	2.85812E-05
2300	-0.000323788	-3.3246E-06		8.36175E-08	-2.14288E-08	1.99483E-08	-4.19014E-11	1.48551E-11	-0.000259017		4.1559E-05	2.32111E-05
2310	-0.000625007	-3.01219E-05		-7.18047E-07	1.92832E-09	1.91256E-08	5.24277E-11	1.34309E-11	-0.000564176		3.98451E-05	2.09859E-05
2320	0.000949114	0.000157412		4.50512E-08	5.24638E-08	1.72544E-08	9.36806E-11	9.14337E-12	0.000999347		3.59467E-05	1.42865E-05
2330	0.000915904	-3.32097E-06		-1.76732E-06	1.01045E-07	1.35096E-08	4.87056E-11	1.82077E-12	0.000946894		2.81449E-05	2.84496E-06
2340	-0.000756914	-0.000167282		-1.97584E-06	-1.04317E-07	8.79061E-09	-3.7028E-10	-3.33715E-12	-0.000743814		1.83138E-05	-5.21429E-06
2350	-2.52505E-05	7.31663E-05		3.19025E-07	-3.2696E-08	1.14773E-08	-5.92754E-11	1.18967E-11	1.72491E-05		2.3911E-05	1.85886E-05
2360	0.000166223	1.91474E-05		-1.32192E-06	1.03467E-07	1.53494E-08	2.70712E-10	3.05463E-11	0.00024593		3.1978E-05	4.77286E-05
2370	0.000438507	2.72284E-05		-1.75032E-06	3.04802E-08	1.38074E-08	8.7983E-11	3.69354E-11	0.000524984		2.87653E-05	5.77115E-05
2380	0.000749034	3.10527E-05		-1.93152E-06	9.82668E-08	1.05056E-08	2.01847E-10	3.89386E-11	0.000831763		2.18867E-05	6.08415E-05
2390	-0.0009923	-0.000174133		-3.71566E-06	2.02288E-08	3.16696E-09	7.57983E-11	3.18683E-11	-0.000935908		6.59783E-06	4.97942E-05
2400	-0.000657337	3.34963E-05		-2.3361E-06	-1.30082E-07	-5.68768E-09	-1.74482E-10	2.13266E-11	-0.000635863		-1.18493E-05	3.33228E-05
2410	-7.39571E-05	5.8338E-05		-1.11401E-06	-1.10879E-07	-1.10527E-08	-1.66233E-10	1.70452E-11	-7.03503E-05		-2.30264E-05	2.66332E-05
2420	0.000912846	9.86803E-05		-1.18523E-07	7.81528E-08	-1.3093E-08	2.08462E-10	1.87949E-11	0.000914936		-2.72771E-05	2.9367E-05
2430	0.000243423	-6.69423E-05		-2.67707E-06	2.30518E-07	-1.93026E-08	5.45147E-10	1.10981E-11	0.00022055		-4.02137E-05	1.73407E-05
2440	-0.001100462	-0.000134389		-4.72889E-06	-8.0681E-08	-3.64151E-08	-1.09035E-10	-2.12308E-11	-0.0012095		-7.58648E-05	-3.31731E-05
2450	-0.00013181	9.68652E-05		-1.06345E-06	-2.02345E-07	-5.13469E-08	-3.80249E-10	-5.02532E-11	-0.000317304		-0.000106973	-7.85207E-05
2460	-6.57235E-05	6.60867E-06		-6.81984E-07	-7.9877E-08	-5.86738E-08	-1.16116E-10	-6.33589E-11	-0.000286959		-0.000122237	-9.89983E-05
2470	0.000343464	4.09187E-05		5.34095E-07	-9.02593E-08	-6.36783E-08	-1.7209E-10	-7.24122E-11	9.76564E-05		-0.000132663	-0.000113144
2480	-0.000543372	-8.86836E-05		1.1232E-06	-6.09069E-08	-6.5241E-08	-8.76806E-11	-7.47244E-11	-0.000796048		-0.000135919	-0.000116757
2490	0.000300227	8.43599E-05		1.75223E-06	2.05683E-08	-6.50501E-08	1.05691E-10	-7.39359E-11	4.91806E-05		-0.000135521	-0.000115525
2500	-0.000290684	-5.9091E-05		7.11836E-07	-4.92343E-09	-6.6973E-08	6.23654E-11	-7.79112E-11	-0.000551947		-0.000139527	-0.000121736
2510	-0.001162631	-8.71947E-05		1.8507E-06	-2.82448E-07	-7.01433E-08	-3.96944E-10	-8.54785E-11	-0.001442323		-0.000146132	-0.00013356
2520	-0.00041822	7.44411E-05		6.3608E-06	-3.17785E-07	-6.53747E-08	-5.34622E-10	-8.06713E-11	-0.000680466		-0.000136197	-0.000126049
2530	0.000793337	0.000121156		8.20639E-06	4.79713E-08	-4.99136E-08	1.09027E-10	-5.59332E-11	0.000601955		-0.000103987	-8.73956E-05
2540	-0.000120859	-9.14196E-05		5.40137E-06	1.07845E-07	-3.6633E-08	2.58047E-10	-3.52333E-11	-0.00025223		-7.63188E-05	-5.5052E-05
2550	0.000415069	5.35929E-05		6.04949E-06	-2.12652E-09	-2.85134E-08	8.02907E-12	-2.55993E-11	0.000315668		-5.9403E-05	-3.99989E-05