## Sheet1
Multiwavelength Spectrophotometric Analysis by Classical Least Squares
© Tom O'Haver, 2013
Simulated mixture with 5 components (Gaussian bands)
| Component 1 | Component 2 | Component 3 | Component 4 | Component 5
Amplitude | 0.5 | 0.4 | 0.3 | 0.2 | 0.1
Position | 200 | 300 | 400 | 600 | 800
Width | 200 | 200 | 200 | 200 | 200
Noise | 0.01
You can change any of the above numbers
Calculated concentrations based on noisy mixture spectrum
| Component 1 | Component 2 | Component 3 | Component 4 | Component 5
| 0.50062 | 0.39864 | 0.30198 | 0.20027 | 0.10096
Observed error | 0.1249% | -0.34% | 0.6598% | 0.1335% | 0.9641%
Standard error | 0.3457% | 0.6054% | 0.604% | 0.5769% | 1.076%
See rows 123 to 158 for the step-by-step calculation procedure
described on page 49 of http://terpconnect.umd.edu/~toh/spectrum/IntroToSignalProcessing.pdf
Alternative calculation based on LINEST function is performed in cell P22
| Unit spectra of the pure components normalized to 1.0 |  |  |  |  | Unit spectra x Amplitudes (B6:F6) | [8 empty] | Alternative calculation using LINEST function: "=LINEST(N22:N122,B22:F122,TRUE,TRUE)"
Wavelength | Component 1 | Component 2 | Component 3 | Component 4 | Component 5 | Component 1 | Component 2 | Component 3 | Component 4 | Component 5 | Mixture | Noise | Observed Spectrum |  | Component 5 | Component 4 | Component 3 | Component 2 | Component 1
0 | 0.062522 | 0.0019547 | 1.5281e-05 | 1.4599e-11 | 5.4522e-20 | 0.031261 | 0.00078188 | 4.5842e-06 | 2.9198e-12 | 5.4522e-21 | 0.032048 | 0.0040375 | 0.036085 |  | 0.10096 | 0.20027 | 0.30198 | 0.39864 | 0.50062
10 | 0.081926 | 0.0029421 | 2.642e-05 | 3.3304e-11 | 1.6411e-19 | 0.040963 | 0.0011769 | 7.9259e-06 | 6.6608e-12 | 1.6411e-20 | 0.042148 | 0.0018747 | 0.044022 |  | 0.0010868 | 0.0011554 | 0.0018238 | 0.0024132 | 0.0017307
20 | 0.10587 | 0.0043675 | 4.5049e-05 | 7.4931e-11 | 4.8719e-19 | 0.052937 | 0.001747 | 1.3515e-05 | 1.4986e-11 | 4.8719e-20 | 0.054697 | 0.0023107 | 0.057008 |  | 0.99991 | 0.0040666 | #N/A | #N/A | #N/A
30 | 0.13494 | 0.006394 | 7.5759e-05 | 1.6626e-10 | 1.4264e-18 | 0.067469 | 0.0025576 | 2.2728e-05 | 3.3253e-11 | 1.4264e-19 | 0.07005 | 0.0031018 | 0.073151 |  | 205281.8015 | 96 | #N/A | #N/A | #N/A
40 | 0.16961 | 0.0092321 | 0.00012565 | 3.6385e-10 | 4.1186e-18 | 0.084807 | 0.0036928 | 3.7694e-05 | 7.2769e-11 | 4.1186e-19 | 0.088538 | 0.0010616 | 0.089599 |  | 16.9743 | 0.0015876 | #N/A | #N/A | #N/A
50 | 0.21027 | 0.013146 | 0.00020552 | 7.8527e-10 | 1.1729e-17 | 0.10513 | 0.0052585 | 6.1657e-05 | 1.5705e-10 | 1.1729e-18 | 0.11045 | -0.0020881 | 0.10837 |  | Relative percent standard errors of each component (mirrored in cells B17-F17)
60 | 0.25707 | 0.018463 | 0.00033155 | 1.6715e-09 | 3.294e-17 | 0.12854 | 0.007385 | 9.9464e-05 | 3.3429e-10 | 3.294e-18 | 0.13602 | 0.0059641 | 0.14199 |  | 1.076% | 0.5769% | 0.604% | 0.6054% | 0.3457%
70 | 0.30997 | 0.025572 | 0.00052748 | 3.5088e-09 | 9.124e-17 | 0.15499 | 0.010229 | 0.00015824 | 7.0176e-10 | 9.124e-18 | 0.16537 | -0.0039113 | 0.16146
80 | 0.36861 | 0.03493 | 0.00082766 | 7.2644e-09 | 2.4924e-16 | 0.18431 | 0.013972 | 0.0002483 | 1.4529e-09 | 2.4924e-17 | 0.19853 | -0.0033093 | 0.19522
90 | 0.43232 | 0.047058 | 0.0012808 | 1.4833e-08 | 6.7149e-16 | 0.21616 | 0.018823 | 0.00038423 | 2.9665e-09 | 6.7149e-17 | 0.23536 | 0.0020155 | 0.23738
100 | 0.50004 | 0.062522 | 0.0019547 | 2.9869e-08 | 1.7842e-15 | 0.25002 | 0.025009 | 0.00058641 | 5.9738e-09 | 1.7842e-16 | 0.27562 | -0.0028641 | 0.27275
110 | 0.57042 | 0.081926 | 0.0029421 | 5.932e-08 | 4.6753e-15 | 0.28521 | 0.03277 | 0.00088264 | 1.1864e-08 | 4.6753e-16 | 0.31886 | 0.0038272 | 0.32269
120 | 0.64175 | 0.10587 | 0.0043675 | 1.1619e-07 | 1.2083e-14 | 0.32087 | 0.04235 | 0.0013102 | 2.3238e-08 | 1.2083e-15 | 0.36453 | 0.0026426 | 0.36718
130 | 0.71206 | 0.13494 | 0.006394 | 2.2444e-07 | 3.0797e-14 | 0.35603 | 0.053975 | 0.0019182 | 4.4889e-08 | 3.0797e-15 | 0.41192 | 0.0086553 | 0.42058
140 | 0.77919 | 0.16961 | 0.0092321 | 4.2759e-07 | 7.7415e-14 | 0.38959 | 0.067846 | 0.0027696 | 8.5518e-08 | 7.7415e-15 | 0.46021 | 0.00057455 | 0.46078
150 | 0.84092 | 0.21027 | 0.013146 | 8.034e-07 | 1.9192e-13 | 0.42046 | 0.084107 | 0.0039439 | 1.6068e-07 | 1.9192e-14 | 0.50851 | 0.0024942 | 0.511
160 | 0.89504 | 0.25707 | 0.018463 | 1.4887e-06 | 4.6925e-13 | 0.44752 | 0.10283 | 0.0055388 | 2.9774e-07 | 4.6925e-14 | 0.55589 | 0.0041708 | 0.56006
170 | 0.93953 | 0.30997 | 0.025572 | 2.7207e-06 | 1.1315e-12 | 0.46977 | 0.12399 | 0.0076715 | 5.4413e-07 | 1.1315e-13 | 0.60143 | -0.0025854 | 0.59884
180 | 0.97266 | 0.36861 | 0.03493 | 4.9036e-06 | 2.6909e-12 | 0.48633 | 0.14745 | 0.010479 | 9.8072e-07 | 2.6909e-13 | 0.64426 | -0.0090672 | 0.63519
190 | 0.99309 | 0.43232 | 0.047058 | 8.7164e-06 | 6.3113e-12 | 0.49655 | 0.17293 | 0.014117 | 1.7433e-06 | 6.3113e-13 | 0.68359 | 0.0057797 | 0.68937
200 | 1 | 0.50004 | 0.062522 | 1.5281e-05 | 1.4599e-11 | 0.5 | 0.20002 | 0.018757 | 3.0561e-06 | 1.4599e-12 | 0.71878 | -0.0061553 | 0.71262
210 | 0.99309 | 0.57042 | 0.081926 | 2.642e-05 | 3.3304e-11 | 0.49655 | 0.22817 | 0.024578 | 5.2839e-06 | 3.3304e-12 | 0.7493 | -0.0022017 | 0.7471
220 | 0.97266 | 0.64175 | 0.10587 | 4.5049e-05 | 7.4931e-11 | 0.48633 | 0.2567 | 0.031762 | 9.0099e-06 | 7.4931e-12 | 0.7748 | -0.0055126 | 0.76929
230 | 0.93953 | 0.71206 | 0.13494 | 7.5759e-05 | 1.6626e-10 | 0.46977 | 0.28482 | 0.040482 | 1.5152e-05 | 1.6626e-11 | 0.79508 | 0.0046878 | 0.79977
240 | 0.89504 | 0.77919 | 0.16961 | 0.00012565 | 3.6385e-10 | 0.44752 | 0.31168 | 0.050884 | 2.513e-05 | 3.6385e-11 | 0.8101 | -0.0031987 | 0.80691
250 | 0.84092 | 0.84092 | 0.21027 | 0.00020552 | 7.8527e-10 | 0.42046 | 0.33637 | 0.06308 | 4.1104e-05 | 7.8527e-11 | 0.81994 | 0.0020171 | 0.82196
260 | 0.77919 | 0.89504 | 0.25707 | 0.00033155 | 1.6715e-09 | 0.38959 | 0.35802 | 0.077122 | 6.6309e-05 | 1.6715e-10 | 0.8248 | 0.0036536 | 0.82845
270 | 0.71206 | 0.93953 | 0.30997 | 0.00052748 | 3.5088e-09 | 0.35603 | 0.37581 | 0.092992 | 0.0001055 | 3.5088e-10 | 0.82494 | 0.0055635 | 0.8305
280 | 0.64175 | 0.97266 | 0.36861 | 0.00082766 | 7.2644e-09 | 0.32087 | 0.38906 | 0.11058 | 0.00016553 | 7.2644e-10 | 0.82069 | -0.0045386 | 0.81615
290 | 0.57042 | 0.99309 | 0.43232 | 0.0012808 | 1.4833e-08 | 0.28521 | 0.39724 | 0.12969 | 0.00025616 | 1.4833e-09 | 0.8124 | -0.0084195 | 0.80398
300 | 0.50004 | 1 | 0.50004 | 0.0019547 | 2.9869e-08 | 0.25002 | 0.4 | 0.15001 | 0.00039094 | 2.9869e-09 | 0.80043 | -0.00081104 | 0.79962
310 | 0.43232 | 0.99309 | 0.57042 | 0.0029421 | 5.932e-08 | 0.21616 | 0.39724 | 0.17113 | 0.00058843 | 5.932e-09 | 0.78511 | -0.00062352 | 0.78449
320 | 0.36861 | 0.97266 | 0.64175 | 0.0043675 | 1.1619e-07 | 0.18431 | 0.38906 | 0.19252 | 0.00087349 | 1.1619e-08 | 0.76677 | 0.0045132 | 0.77128
330 | 0.30997 | 0.93953 | 0.71206 | 0.006394 | 2.2444e-07 | 0.15499 | 0.37581 | 0.21362 | 0.0012788 | 2.2444e-08 | 0.74569 | 0.0030786 | 0.74877
340 | 0.25707 | 0.89504 | 0.77919 | 0.0092321 | 4.2759e-07 | 0.12854 | 0.35802 | 0.23376 | 0.0018464 | 4.2759e-08 | 0.72216 | 0.0013234 | 0.72348
350 | 0.21027 | 0.84092 | 0.84092 | 0.013146 | 8.034e-07 | 0.10513 | 0.33637 | 0.25227 | 0.0026293 | 8.034e-08 | 0.6964 | -0.0019716 | 0.69443
360 | 0.16961 | 0.77919 | 0.89504 | 0.018463 | 1.4887e-06 | 0.084807 | 0.31168 | 0.26851 | 0.0036925 | 1.4887e-07 | 0.66869 | 0.0038617 | 0.67255
370 | 0.13494 | 0.71206 | 0.93953 | 0.025572 | 2.7207e-06 | 0.067469 | 0.28482 | 0.28186 | 0.0051143 | 2.7207e-07 | 0.63927 | 0.0035311 | 0.6428
380 | 0.10587 | 0.64175 | 0.97266 | 0.03493 | 4.9036e-06 | 0.052937 | 0.2567 | 0.2918 | 0.0069861 | 4.9036e-07 | 0.60842 | 0.0010362 | 0.60946
390 | 0.081926 | 0.57042 | 0.99309 | 0.047058 | 8.7164e-06 | 0.040963 | 0.22817 | 0.29793 | 0.0094115 | 8.7164e-07 | 0.57647 | 0.0069604 | 0.58343
400 | 0.062522 | 0.50004 | 1 | 0.062522 | 1.5281e-05 | 0.031261 | 0.20002 | 0.3 | 0.012504 | 1.5281e-06 | 0.54379 | -0.0017476 | 0.54204
410 | 0.047058 | 0.43232 | 0.99309 | 0.081926 | 2.642e-05 | 0.023529 | 0.17293 | 0.29793 | 0.016385 | 2.642e-06 | 0.51077 | -0.0018828 | 0.50889
420 | 0.03493 | 0.36861 | 0.97266 | 0.10587 | 4.5049e-05 | 0.017465 | 0.14745 | 0.2918 | 0.021175 | 4.5049e-06 | 0.47789 | 0.0059367 | 0.48382
430 | 0.025572 | 0.30997 | 0.93953 | 0.13494 | 7.5759e-05 | 0.012786 | 0.12399 | 0.28186 | 0.026988 | 7.5759e-06 | 0.44563 | -0.0023639 | 0.44327
440 | 0.018463 | 0.25707 | 0.89504 | 0.16961 | 0.00012565 | 0.0092313 | 0.10283 | 0.26851 | 0.033923 | 1.2565e-05 | 0.41451 | -0.00446 | 0.41005
450 | 0.013146 | 0.21027 | 0.84092 | 0.21027 | 0.00020552 | 0.0065732 | 0.084107 | 0.25227 | 0.042053 | 2.0552e-05 | 0.38503 | 0.0036609 | 0.38869
460 | 0.0092321 | 0.16961 | 0.77919 | 0.25707 | 0.00033155 | 0.004616 | 0.067846 | 0.23376 | 0.051415 | 3.3155e-05 | 0.35767 | -0.0066242 | 0.35104
470 | 0.006394 | 0.13494 | 0.71206 | 0.30997 | 0.00052748 | 0.003197 | 0.053975 | 0.21362 | 0.061995 | 5.2748e-05 | 0.33284 | 0.0036783 | 0.33652
480 | 0.0043675 | 0.10587 | 0.64175 | 0.36861 | 0.00082766 | 0.0021837 | 0.04235 | 0.19252 | 0.073723 | 8.2766e-05 | 0.31086 | 0.00428 | 0.31514
490 | 0.0029421 | 0.081926 | 0.57042 | 0.43232 | 0.0012808 | 0.0014711 | 0.03277 | 0.17113 | 0.086463 | 0.00012808 | 0.29196 | 0.0024591 | 0.29442
500 | 0.0019547 | 0.062522 | 0.50004 | 0.50004 | 0.0019547 | 0.00097735 | 0.025009 | 0.15001 | 0.10001 | 0.00019547 | 0.2762 | 0.009041 | 0.28525
510 | 0.0012808 | 0.047058 | 0.43232 | 0.57042 | 0.0029421 | 0.00064039 | 0.018823 | 0.12969 | 0.11408 | 0.00029421 | 0.26354 | 0.0025532 | 0.26609
520 | 0.00082766 | 0.03493 | 0.36861 | 0.64175 | 0.0043675 | 0.00041383 | 0.013972 | 0.11058 | 0.12835 | 0.00043675 | 0.25376 | -0.0060657 | 0.24769
530 | 0.00052748 | 0.025572 | 0.30997 | 0.71206 | 0.006394 | 0.00026374 | 0.010229 | 0.092992 | 0.14241 | 0.0006394 | 0.24654 | 0.0017559 | 0.24829
540 | 0.00033155 | 0.018463 | 0.25707 | 0.77919 | 0.0092321 | 0.00016577 | 0.007385 | 0.077122 | 0.15584 | 0.00092321 | 0.24143 | -0.0034344 | 0.238
550 | 0.00020552 | 0.013146 | 0.21027 | 0.84092 | 0.013146 | 0.00010276 | 0.0052585 | 0.06308 | 0.16818 | 0.0013146 | 0.23794 | 0.00037998 | 0.23832
560 | 0.00012565 | 0.0092321 | 0.16961 | 0.89504 | 0.018463 | 6.2824e-05 | 0.0036928 | 0.050884 | 0.17901 | 0.0018463 | 0.23549 | -0.004975 | 0.23052
570 | 7.5759e-05 | 0.006394 | 0.13494 | 0.93953 | 0.025572 | 3.7879e-05 | 0.0025576 | 0.040482 | 0.18791 | 0.0025572 | 0.23354 | -0.0018119 | 0.23173
580 | 4.5049e-05 | 0.0043675 | 0.10587 | 0.97266 | 0.03493 | 2.2525e-05 | 0.001747 | 0.031762 | 0.19453 | 0.003493 | 0.23156 | 0.004782 | 0.23634
590 | 2.642e-05 | 0.0029421 | 0.081926 | 0.99309 | 0.047058 | 1.321e-05 | 0.0011769 | 0.024578 | 0.19862 | 0.0047058 | 0.22909 | -0.0019741 | 0.22712
600 | 1.5281e-05 | 0.0019547 | 0.062522 | 1 | 0.062522 | 7.6403e-06 | 0.00078188 | 0.018757 | 0.2 | 0.0062522 | 0.2258 | 0.005679 | 0.23148
610 | 8.7164e-06 | 0.0012808 | 0.047058 | 0.99309 | 0.081926 | 4.3582e-06 | 0.00051231 | 0.014117 | 0.19862 | 0.0081926 | 0.22145 | 0.0046594 | 0.2261
620 | 4.9036e-06 | 0.00082766 | 0.03493 | 0.97266 | 0.10587 | 2.4518e-06 | 0.00033106 | 0.010479 | 0.19453 | 0.010587 | 0.21593 | -0.0036895 | 0.21224
630 | 2.7207e-06 | 0.00052748 | 0.025572 | 0.93953 | 0.13494 | 1.3603e-06 | 0.00021099 | 0.0076715 | 0.18791 | 0.013494 | 0.20928 | 0.00423 | 0.21351
640 | 1.4887e-06 | 0.00033155 | 0.018463 | 0.89504 | 0.16961 | 7.4436e-07 | 0.00013262 | 0.0055388 | 0.17901 | 0.016961 | 0.20164 | 0.001465 | 0.20311
650 | 8.034e-07 | 0.00020552 | 0.013146 | 0.84092 | 0.21027 | 4.017e-07 | 8.2209e-05 | 0.0039439 | 0.16818 | 0.021027 | 0.19324 | -0.004108 | 0.18913
660 | 4.2759e-07 | 0.00012565 | 0.0092321 | 0.77919 | 0.25707 | 2.138e-07 | 5.0259e-05 | 0.0027696 | 0.15584 | 0.025707 | 0.18437 | -0.00046422 | 0.1839
670 | 2.2444e-07 | 7.5759e-05 | 0.006394 | 0.71206 | 0.30997 | 1.1222e-07 | 3.0303e-05 | 0.0019182 | 0.14241 | 0.030997 | 0.17536 | -0.0018017 | 0.17356
680 | 1.1619e-07 | 4.5049e-05 | 0.0043675 | 0.64175 | 0.36861 | 5.8094e-08 | 1.802e-05 | 0.0013102 | 0.12835 | 0.036861 | 0.16654 | -0.0002194 | 0.16632
690 | 5.932e-08 | 2.642e-05 | 0.0029421 | 0.57042 | 0.43232 | 2.966e-08 | 1.0568e-05 | 0.00088264 | 0.11408 | 0.043232 | 0.15821 | 0.0014357 | 0.15965
700 | 2.9869e-08 | 1.5281e-05 | 0.0019547 | 0.50004 | 0.50004 | 1.4935e-08 | 6.1123e-06 | 0.00058641 | 0.10001 | 0.050004 | 0.15061 | 0.005863 | 0.15647
710 | 1.4833e-08 | 8.7164e-06 | 0.0012808 | 0.43232 | 0.57042 | 7.4164e-09 | 3.4866e-06 | 0.00038423 | 0.086463 | 0.057042 | 0.14389 | 0.0034534 | 0.14735
720 | 7.2644e-09 | 4.9036e-06 | 0.00082766 | 0.36861 | 0.64175 | 3.6322e-09 | 1.9614e-06 | 0.0002483 | 0.073723 | 0.064175 | 0.13815 | -0.0054039 | 0.13274
730 | 3.5088e-09 | 2.7207e-06 | 0.00052748 | 0.30997 | 0.71206 | 1.7544e-09 | 1.0883e-06 | 0.00015824 | 0.061995 | 0.071206 | 0.13336 | 0.0065947 | 0.13995
740 | 1.6715e-09 | 1.4887e-06 | 0.00033155 | 0.25707 | 0.77919 | 8.3574e-10 | 5.9549e-07 | 9.9464e-05 | 0.051415 | 0.077919 | 0.12943 | 0.0060669 | 0.1355
750 | 7.8527e-10 | 8.034e-07 | 0.00020552 | 0.21027 | 0.84092 | 3.9264e-10 | 3.2136e-07 | 6.1657e-05 | 0.042053 | 0.084092 | 0.12621 | 0.0034525 | 0.12966
760 | 3.6385e-10 | 4.2759e-07 | 0.00012565 | 0.16961 | 0.89504 | 1.8192e-10 | 1.7104e-07 | 3.7694e-05 | 0.033923 | 0.089504 | 0.12346 | -0.0018455 | 0.12162
770 | 1.6626e-10 | 2.2444e-07 | 7.5759e-05 | 0.13494 | 0.93953 | 8.3132e-11 | 8.9777e-08 | 2.2728e-05 | 0.026988 | 0.093953 | 0.12096 | 0.0016099 | 0.12257
780 | 7.4931e-11 | 1.1619e-07 | 4.5049e-05 | 0.10587 | 0.97266 | 3.7465e-11 | 4.6476e-08 | 1.3515e-05 | 0.021175 | 0.097266 | 0.11845 | -0.001503 | 0.11695
790 | 3.3304e-11 | 5.932e-08 | 2.642e-05 | 0.081926 | 0.99309 | 1.6652e-11 | 2.3728e-08 | 7.9259e-06 | 0.016385 | 0.099309 | 0.1157 | -0.0044674 | 0.11124
800 | 1.4599e-11 | 2.9869e-08 | 1.5281e-05 | 0.062522 | 1 | 7.2995e-12 | 1.1948e-08 | 4.5842e-06 | 0.012504 | 0.1 | 0.11251 | 0.0022361 | 0.11475
810 | 6.3113e-12 | 1.4833e-08 | 8.7164e-06 | 0.047058 | 0.99309 | 3.1557e-12 | 5.9331e-09 | 2.6149e-06 | 0.0094115 | 0.099309 | 0.10872 | 0.0048637 | 0.11359
820 | 2.6909e-12 | 7.2644e-09 | 4.9036e-06 | 0.03493 | 0.97266 | 1.3455e-12 | 2.9058e-09 | 1.4711e-06 | 0.0069861 | 0.097266 | 0.10425 | -0.0016556 | 0.1026
830 | 1.1315e-12 | 3.5088e-09 | 2.7207e-06 | 0.025572 | 0.93953 | 5.6576e-13 | 1.4035e-09 | 8.162e-07 | 0.0051143 | 0.093953 | 0.099068 | 0.00086308 | 0.099931
840 | 4.6925e-13 | 1.6715e-09 | 1.4887e-06 | 0.018463 | 0.89504 | 2.3462e-13 | 6.6859e-10 | 4.4662e-07 | 0.0036925 | 0.089504 | 0.093197 | 0.002847 | 0.096044
850 | 1.9192e-13 | 7.8527e-10 | 8.034e-07 | 0.013146 | 0.84092 | 9.5961e-14 | 3.1411e-10 | 2.4102e-07 | 0.0026293 | 0.084092 | 0.086721 | -0.00076256 | 0.085958
860 | 7.7415e-14 | 3.6385e-10 | 4.2759e-07 | 0.0092321 | 0.77919 | 3.8708e-14 | 1.4554e-10 | 1.2828e-07 | 0.0018464 | 0.077919 | 0.079766 | -0.0053378 | 0.074428
870 | 3.0797e-14 | 1.6626e-10 | 2.2444e-07 | 0.006394 | 0.71206 | 1.5399e-14 | 6.6506e-11 | 6.7333e-08 | 0.0012788 | 0.071206 | 0.072485 | -0.0066805 | 0.065804
880 | 1.2083e-14 | 7.4931e-11 | 1.1619e-07 | 0.0043675 | 0.64175 | 6.0415e-15 | 2.9972e-11 | 3.4857e-08 | 0.00087349 | 0.064175 | 0.065049 | 0.0029292 | 0.067978
890 | 4.6753e-15 | 3.3304e-11 | 5.932e-08 | 0.0029421 | 0.57042 | 2.3377e-15 | 1.3322e-11 | 1.7796e-08 | 0.00058843 | 0.057042 | 0.057631 | 0.0014388 | 0.05907
900 | 1.7842e-15 | 1.4599e-11 | 2.9869e-08 | 0.0019547 | 0.50004 | 8.9208e-16 | 5.8396e-12 | 8.9607e-09 | 0.00039094 | 0.050004 | 0.050395 | 0.0076913 | 0.058087
910 | 6.7149e-16 | 6.3113e-12 | 1.4833e-08 | 0.0012808 | 0.43232 | 3.3574e-16 | 2.5245e-12 | 4.4498e-09 | 0.00025616 | 0.043232 | 0.043488 | -0.00060113 | 0.042887
920 | 2.4924e-16 | 2.6909e-12 | 7.2644e-09 | 0.00082766 | 0.36861 | 1.2462e-16 | 1.0764e-12 | 2.1793e-09 | 0.00016553 | 0.036861 | 0.037027 | 0.0031374 | 0.040164
930 | 9.124e-17 | 1.1315e-12 | 3.5088e-09 | 0.00052748 | 0.30997 | 4.562e-17 | 4.5261e-13 | 1.0526e-09 | 0.0001055 | 0.030997 | 0.031103 | 0.0011478 | 0.032251
940 | 3.294e-17 | 4.6925e-13 | 1.6715e-09 | 0.00033155 | 0.25707 | 1.647e-17 | 1.877e-13 | 5.0144e-10 | 6.6309e-05 | 0.025707 | 0.025774 | -0.0011697 | 0.024604
950 | 1.1729e-17 | 1.9192e-13 | 7.8527e-10 | 0.00020552 | 0.21027 | 5.8644e-18 | 7.6769e-14 | 2.3558e-10 | 4.1104e-05 | 0.021027 | 0.021068 | 0.0013635 | 0.022431
960 | 4.1186e-18 | 7.7415e-14 | 3.6385e-10 | 0.00012565 | 0.16961 | 2.0593e-18 | 3.0966e-14 | 1.0915e-10 | 2.513e-05 | 0.016961 | 0.016987 | 0.0042534 | 0.02124
970 | 1.4264e-18 | 3.0797e-14 | 1.6626e-10 | 7.5759e-05 | 0.13494 | 7.1319e-19 | 1.2319e-14 | 4.9879e-11 | 1.5152e-05 | 0.013494 | 0.013509 | 0.0022402 | 0.015749
980 | 4.8719e-19 | 1.2083e-14 | 7.4931e-11 | 4.5049e-05 | 0.10587 | 2.436e-19 | 4.8332e-15 | 2.2479e-11 | 9.0099e-06 | 0.010587 | 0.010596 | 0.0026879 | 0.013284
990 | 1.6411e-19 | 4.6753e-15 | 3.3304e-11 | 2.642e-05 | 0.081926 | 8.2057e-20 | 1.8701e-15 | 9.9913e-12 | 5.2839e-06 | 0.0081926 | 0.0081979 | -0.0041525 | 0.0040454
1000 | 5.4522e-20 | 1.7842e-15 | 1.4599e-11 | 1.5281e-05 | 0.062522 | 2.7261e-20 | 7.1367e-16 | 4.3797e-12 | 3.0561e-06 | 0.0062522 | 0.0062553 | -0.0031187 | 0.0031366
Step 1 | Start with the unit spectra matrix (B22:F122)
Step 2 | Transpose of unit spectra matrix {=TRANSPOSE(B22:F122)}
| 0.062522 | 0.081926 | 0.10587 | 0.13494 | 0.16961 | 0.21027 | 0.25707 | 0.30997 | 0.36861 | 0.43232 | 0.50004 | 0.57042 | 0.64175 | 0.71206 | 0.77919 | 0.84092 | 0.89504 | 0.93953 | 0.97266 | 0.99309 | 1 | 0.99309 | 0.97266 | 0.93953 | 0.89504 | 0.84092 | 0.77919 | 0.71206 | 0.64175 | 0.57042 | 0.50004 | 0.43232 | 0.36861 | 0.30997 | 0.25707 | 0.21027 | 0.16961 | 0.13494 | 0.10587 | 0.081926 | 0.062522 | 0.047058 | 0.03493 | 0.025572 | 0.018463 | 0.013146 | 0.0092321 | 0.006394 | 0.0043675 | 0.0029421 | 0.0019547 | 0.0012808 | 0.00082766 | 0.00052748 | 0.00033155 | 0.00020552 | 0.00012565 | 7.5759e-05 | 4.5049e-05 | 2.642e-05 | 1.5281e-05 | 8.7164e-06 | 4.9036e-06 | 2.7207e-06 | 1.4887e-06 | 8.034e-07 | 4.2759e-07 | 2.2444e-07 | 1.1619e-07 | 5.932e-08 | 2.9869e-08 | 1.4833e-08 | 7.2644e-09 | 3.5088e-09 | 1.6715e-09 | 7.8527e-10 | 3.6385e-10 | 1.6626e-10 | 7.4931e-11 | 3.3304e-11 | 1.4599e-11 | 6.3113e-12 | 2.6909e-12 | 1.1315e-12 | 4.6925e-13 | 1.9192e-13 | 7.7415e-14 | 3.0797e-14 | 1.2083e-14 | 4.6753e-15 | 1.7842e-15 | 6.7149e-16 | 2.4924e-16 | 9.124e-17 | 3.294e-17 | 1.1729e-17 | 4.1186e-18 | 1.4264e-18 | 4.8719e-19 | 1.6411e-19 | 5.4522e-20
| 0.0019547 | 0.0029421 | 0.0043675 | 0.006394 | 0.0092321 | 0.013146 | 0.018463 | 0.025572 | 0.03493 | 0.047058 | 0.062522 | 0.081926 | 0.10587 | 0.13494 | 0.16961 | 0.21027 | 0.25707 | 0.30997 | 0.36861 | 0.43232 | 0.50004 | 0.57042 | 0.64175 | 0.71206 | 0.77919 | 0.84092 | 0.89504 | 0.93953 | 0.97266 | 0.99309 | 1 | 0.99309 | 0.97266 | 0.93953 | 0.89504 | 0.84092 | 0.77919 | 0.71206 | 0.64175 | 0.57042 | 0.50004 | 0.43232 | 0.36861 | 0.30997 | 0.25707 | 0.21027 | 0.16961 | 0.13494 | 0.10587 | 0.081926 | 0.062522 | 0.047058 | 0.03493 | 0.025572 | 0.018463 | 0.013146 | 0.0092321 | 0.006394 | 0.0043675 | 0.0029421 | 0.0019547 | 0.0012808 | 0.00082766 | 0.00052748 | 0.00033155 | 0.00020552 | 0.00012565 | 7.5759e-05 | 4.5049e-05 | 2.642e-05 | 1.5281e-05 | 8.7164e-06 | 4.9036e-06 | 2.7207e-06 | 1.4887e-06 | 8.034e-07 | 4.2759e-07 | 2.2444e-07 | 1.1619e-07 | 5.932e-08 | 2.9869e-08 | 1.4833e-08 | 7.2644e-09 | 3.5088e-09 | 1.6715e-09 | 7.8527e-10 | 3.6385e-10 | 1.6626e-10 | 7.4931e-11 | 3.3304e-11 | 1.4599e-11 | 6.3113e-12 | 2.6909e-12 | 1.1315e-12 | 4.6925e-13 | 1.9192e-13 | 7.7415e-14 | 3.0797e-14 | 1.2083e-14 | 4.6753e-15 | 1.7842e-15
| 1.5281e-05 | 2.642e-05 | 4.5049e-05 | 7.5759e-05 | 0.00012565 | 0.00020552 | 0.00033155 | 0.00052748 | 0.00082766 | 0.0012808 | 0.0019547 | 0.0029421 | 0.0043675 | 0.006394 | 0.0092321 | 0.013146 | 0.018463 | 0.025572 | 0.03493 | 0.047058 | 0.062522 | 0.081926 | 0.10587 | 0.13494 | 0.16961 | 0.21027 | 0.25707 | 0.30997 | 0.36861 | 0.43232 | 0.50004 | 0.57042 | 0.64175 | 0.71206 | 0.77919 | 0.84092 | 0.89504 | 0.93953 | 0.97266 | 0.99309 | 1 | 0.99309 | 0.97266 | 0.93953 | 0.89504 | 0.84092 | 0.77919 | 0.71206 | 0.64175 | 0.57042 | 0.50004 | 0.43232 | 0.36861 | 0.30997 | 0.25707 | 0.21027 | 0.16961 | 0.13494 | 0.10587 | 0.081926 | 0.062522 | 0.047058 | 0.03493 | 0.025572 | 0.018463 | 0.013146 | 0.0092321 | 0.006394 | 0.0043675 | 0.0029421 | 0.0019547 | 0.0012808 | 0.00082766 | 0.00052748 | 0.00033155 | 0.00020552 | 0.00012565 | 7.5759e-05 | 4.5049e-05 | 2.642e-05 | 1.5281e-05 | 8.7164e-06 | 4.9036e-06 | 2.7207e-06 | 1.4887e-06 | 8.034e-07 | 4.2759e-07 | 2.2444e-07 | 1.1619e-07 | 5.932e-08 | 2.9869e-08 | 1.4833e-08 | 7.2644e-09 | 3.5088e-09 | 1.6715e-09 | 7.8527e-10 | 3.6385e-10 | 1.6626e-10 | 7.4931e-11 | 3.3304e-11 | 1.4599e-11
| 1.4599e-11 | 3.3304e-11 | 7.4931e-11 | 1.6626e-10 | 3.6385e-10 | 7.8527e-10 | 1.6715e-09 | 3.5088e-09 | 7.2644e-09 | 1.4833e-08 | 2.9869e-08 | 5.932e-08 | 1.1619e-07 | 2.2444e-07 | 4.2759e-07 | 8.034e-07 | 1.4887e-06 | 2.7207e-06 | 4.9036e-06 | 8.7164e-06 | 1.5281e-05 | 2.642e-05 | 4.5049e-05 | 7.5759e-05 | 0.00012565 | 0.00020552 | 0.00033155 | 0.00052748 | 0.00082766 | 0.0012808 | 0.0019547 | 0.0029421 | 0.0043675 | 0.006394 | 0.0092321 | 0.013146 | 0.018463 | 0.025572 | 0.03493 | 0.047058 | 0.062522 | 0.081926 | 0.10587 | 0.13494 | 0.16961 | 0.21027 | 0.25707 | 0.30997 | 0.36861 | 0.43232 | 0.50004 | 0.57042 | 0.64175 | 0.71206 | 0.77919 | 0.84092 | 0.89504 | 0.93953 | 0.97266 | 0.99309 | 1 | 0.99309 | 0.97266 | 0.93953 | 0.89504 | 0.84092 | 0.77919 | 0.71206 | 0.64175 | 0.57042 | 0.50004 | 0.43232 | 0.36861 | 0.30997 | 0.25707 | 0.21027 | 0.16961 | 0.13494 | 0.10587 | 0.081926 | 0.062522 | 0.047058 | 0.03493 | 0.025572 | 0.018463 | 0.013146 | 0.0092321 | 0.006394 | 0.0043675 | 0.0029421 | 0.0019547 | 0.0012808 | 0.00082766 | 0.00052748 | 0.00033155 | 0.00020552 | 0.00012565 | 7.5759e-05 | 4.5049e-05 | 2.642e-05 | 1.5281e-05
| 5.4522e-20 | 1.6411e-19 | 4.8719e-19 | 1.4264e-18 | 4.1186e-18 | 1.1729e-17 | 3.294e-17 | 9.124e-17 | 2.4924e-16 | 6.7149e-16 | 1.7842e-15 | 4.6753e-15 | 1.2083e-14 | 3.0797e-14 | 7.7415e-14 | 1.9192e-13 | 4.6925e-13 | 1.1315e-12 | 2.6909e-12 | 6.3113e-12 | 1.4599e-11 | 3.3304e-11 | 7.4931e-11 | 1.6626e-10 | 3.6385e-10 | 7.8527e-10 | 1.6715e-09 | 3.5088e-09 | 7.2644e-09 | 1.4833e-08 | 2.9869e-08 | 5.932e-08 | 1.1619e-07 | 2.2444e-07 | 4.2759e-07 | 8.034e-07 | 1.4887e-06 | 2.7207e-06 | 4.9036e-06 | 8.7164e-06 | 1.5281e-05 | 2.642e-05 | 4.5049e-05 | 7.5759e-05 | 0.00012565 | 0.00020552 | 0.00033155 | 0.00052748 | 0.00082766 | 0.0012808 | 0.0019547 | 0.0029421 | 0.0043675 | 0.006394 | 0.0092321 | 0.013146 | 0.018463 | 0.025572 | 0.03493 | 0.047058 | 0.062522 | 0.081926 | 0.10587 | 0.13494 | 0.16961 | 0.21027 | 0.25707 | 0.30997 | 0.36861 | 0.43232 | 0.50004 | 0.57042 | 0.64175 | 0.71206 | 0.77919 | 0.84092 | 0.89504 | 0.93953 | 0.97266 | 0.99309 | 1 | 0.99309 | 0.97266 | 0.93953 | 0.89504 | 0.84092 | 0.77919 | 0.71206 | 0.64175 | 0.57042 | 0.50004 | 0.43232 | 0.36861 | 0.30997 | 0.25707 | 0.21027 | 0.16961 | 0.13494 | 0.10587 | 0.081926 | 0.062522
Step 3 | Product of transpose of unit spectra matrix and unit spectra matrix, called the “covariance” matrix: {=MMULT(B126:CX130;B22:F122)}
| 15.05 | 10.6457 | 3.7644 | 0.05885 | 5.7522e-05
| 10.6457 | 15.0548 | 10.6458 | 0.6656 | 0.0026019
| 3.7644 | 10.6458 | 15.0548 | 3.7644 | 0.05885
| 0.05885 | 0.6656 | 3.7644 | 15.0548 | 3.7644
| 5.7522e-05 | 0.0026019 | 0.05885 | 3.7644 | 15.05
Step 4 | Inverse of the covariance matrix {=MINVERSE(B133:F137)}
| 0.18113 | -0.19677 | 0.098236 | -0.017584 | 0.0040473
| -0.19677 | 0.35213 | -0.20976 | 0.039959 | -0.0092346
| 0.098236 | -0.20976 | 0.20114 | -0.043967 | 0.010247
| -0.017584 | 0.039959 | -0.043967 | 0.080727 | -0.020027
| 0.0040473 | -0.0092346 | 0.010247 | -0.020027 | 0.071416
Step 5 | Product of Inverse of the covariance matrix and transpose of unit spectra matrix, called the “pseudoinverse”: {=MMULT(B140:F144;B126:CX130)}
| 0.010942 | 0.014263 | 0.018322 | 0.023191 | 0.028918 | 0.035519 | 0.042964 | 0.051166 | 0.059975 | 0.069172 | 0.078463 | 0.087489 | 0.095836 | 0.10305 | 0.10867 | 0.11223 | 0.11335 | 0.1117 | 0.10708 | 0.099434 | 0.088877 | 0.075684 | 0.060299 | 0.043319 | 0.025456 | 0.0074985 | -0.0097358 | -0.025457 | -0.038955 | -0.049646 | -0.057111 | -0.061124 | -0.061659 | -0.058891 | -0.053173 | -0.045007 | -0.035001 | -0.023826 | -0.012166 | -0.00067465 | 0.010066 | 0.019572 | 0.027482 | 0.03356 | 0.037702 | 0.039918 | 0.040322 | 0.039107 | 0.036522 | 0.032851 | 0.028389 | 0.023423 | 0.018221 | 0.01302 | 0.0080173 | 0.0033729 | -0.00079499 | -0.0044056 | -0.0074121 | -0.0097978 | -0.011571 | -0.012758 | -0.013405 | -0.013565 | -0.013303 | -0.012684 | -0.011778 | -0.010653 | -0.0093722 | -0.0079966 | -0.0065798 | -0.0051689 | -0.0038039 | -0.0025173 | -0.0013344 | -0.00027379 | 0.00065229 | 0.0014372 | 0.0020794 | 0.0025814 | 0.0029494 | 0.0031927 | 0.0033229 | 0.0033532 | 0.003298 | 0.0031723 | 0.0029913 | 0.0027695 | 0.0025206 | 0.0022569 | 0.0019895 | 0.0017272 | 0.0014773 | 0.0012453 | 0.0010346 | 0.00084739 | 0.00068427 | 0.0005448 | 0.00042771 | 0.00033111 | 0.00025278
| -0.011618 | -0.01509 | -0.019305 | -0.024317 | -0.030151 | -0.036789 | -0.044153 | -0.0521 | -0.060407 | -0.068766 | -0.076789 | -0.084012 | -0.089913 | -0.093938 | -0.095533 | -0.094185 | -0.089468 | -0.081086 | -0.068918 | -0.053052 | -0.033805 | -0.011733 | 0.012382 | 0.037562 | 0.062685 | 0.086547 | 0.10794 | 0.12573 | 0.13894 | 0.14683 | 0.14893 | 0.1451 | 0.13553 | 0.12074 | 0.10151 | 0.078874 | 0.053997 | 0.028132 | 0.0025188 | -0.021687 | -0.043482 | -0.062065 | -0.076866 | -0.087564 | -0.094075 | -0.096535 | -0.095263 | -0.090721 | -0.083469 | -0.074119 | -0.063294 | -0.051597 | -0.03958 | -0.027725 | -0.016437 | -0.0060358 | 0.0032424 | 0.011239 | 0.017865 | 0.023095 | 0.026952 | 0.029505 | 0.030852 | 0.031118 | 0.030442 | 0.028975 | 0.026869 | 0.024276 | 0.021339 | 0.018193 | 0.014959 | 0.011742 | 0.0086313 | 0.005701 | 0.0030079 | 0.00059369 | -0.0015139 | -0.0033 | -0.0047609 | -0.0059027 | -0.0067395 | -0.0072923 | -0.0075874 | -0.007655 | -0.0075279 | -0.0072404 | -0.0068267 | -0.0063201 | -0.0057518 | -0.0051501 | -0.0045396 | -0.0039411 | -0.0033709 | -0.0028414 | -0.0023607 | -0.0019335 | -0.0015613 | -0.0012431 | -0.00097591 | -0.0007555 | -0.00057676
| 0.005735 | 0.0074362 | 0.0094935 | 0.01193 | 0.014751 | 0.017939 | 0.021448 | 0.025193 | 0.029051 | 0.032856 | 0.036401 | 0.039443 | 0.041713 | 0.042931 | 0.042823 | 0.041147 | 0.037714 | 0.032419 | 0.025255 | 0.01634 | 0.0059216 | -0.005617 | -0.01777 | -0.029927 | -0.041407 | -0.051498 | -0.059505 | -0.0648 | -0.066874 | -0.065374 | -0.060143 | -0.051235 | -0.038922 | -0.023681 | -0.006166 | 0.012832 | 0.032439 | 0.051751 | 0.069896 | 0.086082 | 0.099647 | 0.11009 | 0.1171 | 0.12054 | 0.12046 | 0.11709 | 0.11076 | 0.10193 | 0.091106 | 0.078847 | 0.065693 | 0.052163 | 0.038728 | 0.025796 | 0.013704 | 0.0027184 | -0.0069704 | -0.015238 | -0.022023 | -0.027317 | -0.031159 | -0.033626 | -0.034827 | -0.034893 | -0.03397 | -0.032217 | -0.029794 | -0.026861 | -0.02357 | -0.020064 | -0.016472 | -0.012907 | -0.0094657 | -0.006227 | -0.0032524 | -0.00058713 | 0.0017388 | 0.0037093 | 0.0053205 | 0.0065791 | 0.0075007 | 0.0081086 | 0.0084316 | 0.0085032 | 0.0083596 | 0.0080387 | 0.0075782 | 0.0070151 | 0.0063837 | 0.0057155 | 0.0050378 | 0.0043734 | 0.0037407 | 0.003153 | 0.0026195 | 0.0021455 | 0.0017324 | 0.0013793 | 0.0010829 | 0.0008383 | 0.00063997
| -0.0010219 | -0.0013242 | -0.0016891 | -0.0021205 | -0.0026191 | -0.003181 | -0.0037971 | -0.0044518 | -0.0051222 | -0.0057776 | -0.0063802 | -0.0068858 | -0.0072457 | -0.0074096 | -0.0073292 | -0.0069622 | -0.0062772 | -0.0052582 | -0.0039087 | -0.0022555 | -0.00034998 | 0.0017315 | 0.0038895 | 0.006006 | 0.0079504 | 0.0095877 | 0.010788 | 0.011436 | 0.011442 | 0.010749 | 0.0093388 | 0.0072391 | 0.0045217 | 0.0013014 | -0.0022688 | -0.0060064 | -0.0097085 | -0.013164 | -0.016163 | -0.018512 | -0.020038 | -0.020603 | -0.020104 | -0.01848 | -0.015714 | -0.011832 | -0.0068972 | -0.0010147 | 0.0056787 | 0.013016 | 0.020807 | 0.02884 | 0.036894 | 0.044738 | 0.052146 | 0.058898 | 0.064794 | 0.069655 | 0.073339 | 0.075742 | 0.076804 | 0.076511 | 0.074897 | 0.07204 | 0.068059 | 0.063104 | 0.057353 | 0.050997 | 0.044234 | 0.037263 | 0.030268 | 0.02342 | 0.016869 | 0.01074 | 0.0051337 | 0.00012445 | -0.0042377 | -0.0079258 | -0.010934 | -0.013276 | -0.01498 | -0.01609 | -0.01666 | -0.016752 | -0.016434 | -0.01578 | -0.014859 | -0.013744 | -0.0125 | -0.011186 | -0.0098565 | -0.0085545 | -0.0073153 | -0.0061652 | -0.0051216 | -0.0041944 | -0.0033867 | -0.0026963 | -0.0021167 | -0.0016386 | -0.0012509
| 0.00023515 | 0.00030468 | 0.00038863 | 0.00048786 | 0.00060251 | 0.00073171 | 0.00087335 | 0.0010238 | 0.0011778 | 0.0013283 | 0.0014665 | 0.0015823 | 0.0016644 | 0.0017013 | 0.0016819 | 0.0015964 | 0.0014376 | 0.001202 | 0.00089042 | 0.00050906 | 6.9888e-05 | -0.00040939 | -0.00090575 | -0.0013919 | -0.0018376 | -0.0022117 | -0.0024843 | -0.0026287 | -0.0026243 | -0.0024581 | -0.0021262 | -0.0016352 | -0.001002 | -0.00025356 | 0.00057428 | 0.0014387 | 0.0022924 | 0.0030856 | 0.0037694 | 0.004298 | 0.0046309 | 0.0047352 | 0.0045867 | 0.004171 | 0.003484 | 0.0025317 | 0.0013304 | -9.4187e-05 | -0.0017073 | -0.0034662 | -0.0053204 | -0.0072132 | -0.0090824 | -0.010861 | -0.01248 | -0.013868 | -0.014953 | -0.015666 | -0.01594 | -0.015715 | -0.014939 | -0.013567 | -0.011568 | -0.0089219 | -0.0056255 | -0.0016917 | 0.0028479 | 0.0079416 | 0.013517 | 0.01948 | 0.025717 | 0.032092 | 0.038457 | 0.04465 | 0.050501 | 0.055846 | 0.060524 | 0.064396 | 0.067343 | 0.069282 | 0.070164 | 0.06998 | 0.068764 | 0.066585 | 0.06355 | 0.059791 | 0.055461 | 0.050724 | 0.045744 | 0.040678 | 0.035672 | 0.030848 | 0.026308 | 0.022126 | 0.018352 | 0.015012 | 0.012111 | 0.0096352 | 0.0075602 | 0.0058503 | 0.0044648
Step 6 | Product of the observed spectrum and the pseudoinverse yields the vector of measured amplitudes in the mixture: {=MMULT(B147:CX151;N22:N122)}
Component 1 | 0.50062
Component 2 | 0.39864
Component 3 | 0.30198
Component 4 | 0.20027
Component 5 | 0.10096
All steps combined into one line of nested array functions: {MMULT( MMULT(MINVERSE(MMULT(TRANSPOSE(B22:F122);B22:F122));TRANSPOSE(B22:F122));N22:N122)}
| 0.50062 | Same result as above
0.39864
0.30198
0.20027
0.10096
Note on A17: Tom O'Haver: Relative percent standard error calculated by the LINEST function in cell P22 and displayed in cells P23-T23.
Note on P23: Tom O'Haver: Concentration of component 5.
Note on P24: Tom O'Haver: Standard Error of component 5.
Note on P25: Tom O'Haver: R2, or corellation coefficient, or coefficient of determination.
Note on Q23: Tom O'Haver: Concentration of component 4.
Note on Q24: Tom O'Haver: Standard Error of component 4.
Note on R23: Tom O'Haver: Concentration of component 3.
Note on R24: Tom O'Haver: Standard Error of component 3.
Note on S23: Tom O'Haver: Concentration of component 2.
Note on S24: Tom O'Haver: Standard Error of component 2.
Note on T23: Tom O'Haver: Concentration of component 1.
Note on T24: Tom O'Haver: Standard Error of component 1.