## Sheet1
	Template for 5-component multiwavelength spectrophotometric analysis by Classical Least Squares					Spectra of the unknown mixture and of the 5 individual standards
	Performed by LINEST (Q23 basline assumed zero; Q32 baseline corrected)

	Instructions:
	1. Paste the spectrum of the unknown mixture into columns A and B, rows 24 - 124.
	2. Paste the spectra of the standard solutions into columns C - G, rows 24 - 124.
	3. Type the concentrations of the standard solutions column C - G, row 23.
	4. Read the results below in row 15, in the same units as the standard concentrations.

	Calculated concentrations based on unknown mixture spectrum
		Component 1	Component 2	Component 3	Component 4	Component 5
	Concentration	#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
	% standard error	#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
	R2 =	#VALUE!

				© Tom O'Haver, 2016
		Concentrations and spectra of the pure component standards					Spectra of individual components in mixture
		Standard 1	Standard 2	Standard 3	Standard 4	Standard 5	Standard spectra x Amplitudes (B6:F6)					LINEST function: "=LINEST(B23:B123,C23:G123,FALSE,TRUE)", Baseline assumed zero.
x-axis	spectrum of unknown	1	1	1	1	1	Component 1	Component 2	Component 3	Component 4	Component 5					Component 5	Component 4	Component 3	Component 2	Component 1	Baseline
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	- - -
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	- - -
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	- - -
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	- - -
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	- - -
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					Relative percent standard errors of each component (mirrored in cells B17-F17)
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					LINEST function: "=LINEST(B23:B123,C23:G123,TRUE,TRUE)". Baseline corrected.
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!					#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!
				#VALUE!	#VALUE!	#VALUE!	#VALUE!	#VALUE!