## Answer Report 1
Microsoft Excel 15.0 Answer Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Result: Solver found a solution. All Constraints and optimality conditions are satisfied.
Solver Engine
Engine: GRG Nonlinear
Solution Time: 0.032 Seconds.
Iterations: 4 Subproblems: 0
Solver Options
Max Time Unlimited, Iterations Unlimited, Precision 0.000001, Use Automatic Scaling
Convergence 0.0001, Population Size 100, Random Seed 0, Derivatives Forward, Require Bounds
Max Subproblems Unlimited, Max Integer Sols Unlimited, Integer Tolerance 1%, Assume NonNegative
Objective Cell (Min)
| Cell | Name | Original Value | Final Value
| $H$5 | Sum of residuals | 0.044452 | 0.031678
Variable Cells
| Cell | Name | Original Value | Final Value | Integer
| $I$5 | Absorbance | 20.7836 | 19.8878 | Contin
Constraints
| Cell | Name | Cell Value | Formula | Status | Slack
| $I$5 | Absorbance | 19.8878 | $I$5<=1000 | Not Binding | 980.1122
| $I$5 | Absorbance | 19.8878 | $I$5>=-1 | Not Binding | 20.8878

## Sensitivity Report 1
Microsoft Excel 15.0 Sensitivity Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Variable Cells
|  |  | Final | Reduced
| Cell | Name | Value | Gradient
| $I$5 | Absorbance | 19.8878 | 0
Constraints
NONE

## Limits Report 1
Microsoft Excel 15.0 Limits Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Objective
| Cell | Name | Value
| $H$5 | Sum of residuals | 0.034473
|  | Variable |  | Lower | Objective | Upper | Objective
| Cell | Name | Value | Limit | Result | Limit | Result
| $I$5 | Absorbance | 19.8878 | -1 | 20.0961 | 1000 | 1.7391

## Sheet1
Demonstration of "Transmission Fitting Method" in a spreadsheet, for a simulated Gaussian absorption peak, with noise and stray light. | [16 empty] | Tom O'Haver (toh@umd.edu), 2016
The simulated sample spectrum is calculated in columns A-D. The reference spectrum is calculated in columns E-H. You can change the peak parameters, noise, and stray light defined in the blue cells, row 6, columns A-F.
The slit (resolution) function is defined by the 17 coefficients in the blue cells, row 6, columns N through AD. Enter the observed or calculated slit function there. (Blue cells are input cells). | [26 empty] | Sum | Sum/max
To perform the measurement, press F9, click Data in the top menu bar, Solver, then click Solve at the bottom of the "Solver Parameters" box. Repeat 3 times until "Optimum Absorbance" is stable. | [26 empty] | 81 | 9
Peak Height (absorbance) | Peak Width | Peak wavelength | Detector Noise % | Photon Noise % | Unabsorbed stray light % | SumSq of residuals | Best-fit Absorbance | Conventional A = log(1/T) | Slit function (type or paste 17 values in the row below). For some other slit functions to try, see row 64-68.
0.01 | 100 | 550 | 0.5 | 0.5 | 1 | 0.026697 | 0.010704 | 0.005264 |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1
independent variable | Spectrum of sample | Output of spectrometer | Observed sample T | Reference A | Reference T | Observed reference T | Residuals
wavelength | transmission | transmission | transmission | absorbance | transmission | transmission | Sample T - Reference T
200 | 1 | 1 | 1.0077 | 1.9098e-17 | 1.01 | 1 | 0
210 | 1 | 1 | 1.0103 | 1.2934e-16 | 1.01 | 1 | 0
220 | 1 | 1 | 1.0073 | 8.2868e-16 | 1.01 | 1 | 0
230 | 1 | 1 | 1.0127 | 5.023e-15 | 1.01 | 1 | 0
240 | 1 | 1 | 1.0048 | 2.8805e-14 | 1.01 | 1 | 0
250 | 1 | 1 | 1.0129 | 1.5627e-13 | 1.01 | 1 | 0
260 | 1 | 1 | 1.0094 | 8.0208e-13 | 1.01 | 1 | 0
270 | 1 | 1 | 1.0077 | 3.8947e-12 | 1.01 | 1 | 0
280 | 1 | 1 | 1.0053 | 1.7892e-11 | 1.01 | 1.01 | 0.004726
290 | 1 | 1 | 1.0097 | 7.7761e-11 | 1.01 | 1.01 | 0.00034185
300 | 1 | 1 | 1.0144 | 3.1973e-10 | 1.01 | 1.01 | -0.0044121
310 | 1 | 1 | 1.0149 | 1.2437e-09 | 1.01 | 1.01 | -0.0048804
320 | 1 | 1 | 1.0115 | 4.5771e-09 | 1.01 | 1.01 | -0.001491
330 | 1 | 1 | 1.0112 | 1.5936e-08 | 1.01 | 1.01 | -0.0011683
340 | 1 | 0.99999 | 1.0142 | 5.249e-08 | 1.01 | 1.01 | -0.0042062
350 | 1 | 0.99998 | 1.0119 | 1.6357e-07 | 1.01 | 1.01 | -0.0019455
360 | 1 | 0.99996 | 1.0091 | 4.8222e-07 | 1.01 | 1.01 | 0.00081883
370 | 1 | 0.99992 | 1.0064 | 1.345e-06 | 1.01 | 1.0099 | 0.0034926
380 | 0.99999 | 0.99986 | 1.0101 | 3.549e-06 | 1.01 | 1.0098 | -0.0003021
390 | 0.99998 | 0.99974 | 1.0119 | 8.8595e-06 | 1.01 | 1.0097 | -0.0021672
400 | 0.99995 | 0.99955 | 1.0098 | 2.0924e-05 | 1.01 | 1.0095 | -0.00028178
410 | 0.9999 | 0.99926 | 1.0104 | 4.6751e-05 | 1.0099 | 1.0092 | -0.0011725
420 | 0.99979 | 0.99883 | 1.0122 | 9.8823e-05 | 1.0098 | 1.0087 | -0.0034279
430 | 0.99957 | 0.99823 | 1.001 | 0.00019763 | 1.0095 | 1.0081 | 0.0071492
440 | 0.9992 | 0.99741 | 1.0092 | 0.00037391 | 1.0091 | 1.0072 | -0.0020177
450 | 0.99856 | 0.99636 | 1.0054 | 0.00066926 | 1.0085 | 1.0061 | 0.0007335
460 | 0.99757 | 0.99508 | 1.0111 | 0.0011333 | 1.0074 | 1.0047 | -0.0064103
470 | 0.9961 | 0.99357 | 1.0017 | 0.0018156 | 1.0058 | 1.0031 | 0.0014057
480 | 0.9941 | 0.99189 | 1.0044 | 0.0027518 | 1.0037 | 1.0013 | -0.0030505 | Make sure in the Solver Parameters box that "Set Objective" is H6 and "By Changing Variable Cells"
490 | 0.99155 | 0.9901 | 1.0047 | 0.0039458 | 1.001 | 0.99941 | -0.0052462 | is I6 and that "Options", "GRC Nonlinear" is set to "Use Multistart".
500 | 0.98855 | 0.9883 | 0.99327 | 0.0053526 | 0.99775 | 0.99748 | 0.0042104
510 | 0.98533 | 0.9866 | 0.99464 | 0.0068695 | 0.99431 | 0.99566 | 0.0010222
520 | 0.98222 | 0.98512 | 0.99166 | 0.0083407 | 0.99098 | 0.99408 | 0.0024137
530 | 0.9796 | 0.98396 | 0.99012 | 0.0095808 | 0.98818 | 0.99285 | 0.0027215
540 | 0.97785 | 0.98323 | 0.99923 | 0.010412 | 0.98631 | 0.99206 | -0.0071635
550 | 0.97724 | 0.98298 | 0.98795 | 0.010704 | 0.98565 | 0.99179 | 0.0038419
560 | 0.97785 | 0.98323 | 0.99427 | 0.010412 | 0.98631 | 0.99206 | -0.00221
570 | 0.9796 | 0.98396 | 0.99354 | 0.0095808 | 0.98818 | 0.99285 | -0.0006951
580 | 0.98222 | 0.98512 | 0.9995 | 0.0083407 | 0.99098 | 0.99408 | -0.0054258
590 | 0.98533 | 0.9866 | 0.99249 | 0.0068695 | 0.99431 | 0.99566 | 0.0031689
600 | 0.98855 | 0.9883 | 1.0009 | 0.0053526 | 0.99775 | 0.99748 | -0.0033987
610 | 0.99155 | 0.9901 | 0.99858 | 0.0039458 | 1.001 | 0.99941 | 0.00083006
620 | 0.9941 | 0.99189 | 1.0022 | 0.0027518 | 1.0037 | 1.0013 | -0.00087216
630 | 0.9961 | 0.99357 | 1.0042 | 0.0018156 | 1.0058 | 1.0031 | -0.001104
640 | 0.99757 | 0.99508 | 1.001 | 0.0011333 | 1.0074 | 1.0047 | 0.003756
650 | 0.99856 | 0.99636 | 1.0092 | 0.00066926 | 1.0085 | 1.0061 | -0.0030845
660 | 0.9992 | 0.99741 | 1.0076 | 0.00037391 | 1.0091 | 1.0072 | -0.00041708
670 | 0.99957 | 0.99823 | 1.0172 | 0.00019763 | 1.0095 | 1.0081 | -0.0090696
680 | 0.99979 | 0.99883 | 1.01 | 9.8823e-05 | 1.0098 | 1.0087 | -0.0012609
690 | 0.9999 | 0.99926 | 1.0059 | 4.6751e-05 | 1.0099 | 1.0092 | 0.0032969
700 | 0.99995 | 0.99955 | 1.0086 | 2.0924e-05 | 1.01 | 1.0095 | 0.00095762
710 | 0.99998 | 0.99974 | 1.0118 | 8.8595e-06 | 1.01 | 1.0097 | -0.0020636
720 | 0.99999 | 0.99986 | 1.0071 | 3.549e-06 | 1.01 | 1.0098 | 0.002764
730 | 1 | 0.99992 | 1.0095 | 1.345e-06 | 1.01 | 1.0099 | 0.00038049 |  |  | Some other possible slit functions to copy and paste into row 6, columns N through AD.
740 | 1 | 0.99996 | 1.0092 | 4.8222e-07 | 1.01 | 1.01 | 0.00078564
750 | 1 | 0.99998 | 1.0088 | 1.6357e-07 | 1.01 | 1.01 | 0.001222 |  |  | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
760 | 1 | 0.99999 | 1.007 | 5.249e-08 | 1.01 | 1.01 | 0.0029876 |  |  | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0
770 | 1 | 1 | 1.0198 | 1.5936e-08 | 1.01 | 1.01 | -0.009851 |  |  | 0 | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 6 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0
780 | 1 | 1 | 1.0093 | 4.5771e-09 | 1.01 | 1.01 | 0.00074543 |  |  | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 4 | 5 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0
790 | 1 | 1 | 1.004 | 1.2437e-09 | 1.01 | 1.01 | 0.005998 |  |  | 0 | 0 | 0 | 0 | 0 | 1 | 2 | 3 | 4 | 3 | 2 | 1 | 0 | 0 | 0 | 0 | 0
800 | 1 | 1 | 1.0102 | 3.1973e-10 | 1.01 | 1.01 | -0.00023864
810 | 1 | 1 | 1.0137 | 7.7761e-11 | 1.01 | 1.01 | -0.003684
820 | 1 | 1 | 1.0092 | 1.7892e-11 | 1.01 | 1.01 | 0.00078723
830 | 1 | 1 | 1.0128 | 3.8947e-12 | 1.01 | 1.01 | -0.0028264
840 | 1 | 1 | 1.0095 | 8.0208e-13 | 1.01 | 1 | 0
850 | 1 | 1 | 1.012 | 1.5627e-13 | 1.01 | 1 | 0
860 | 1 | 1 | 1.0115 | 2.8805e-14 | 1.01 | 1 | 0
870 | 1 | 1 | 1.0171 | 5.023e-15 | 1.01 | 1 | 0
880 | 1 | 1 | 1.0125 | 8.2868e-16 | 1.01 | 1 | 0
890 | 1 | 1 | 1.0064 | 1.2934e-16 | 1.01 | 1 | 0
890 | 1 | 1 | 1.0083 | 1.2934e-16 | 1.01 | 1 | 0
890 | 1 | 1 | 1.0095 | 1.2934e-16 | 1.01 | 1 | 0
Note on A6: Tom O'Haver: Thsee blue cells are input cells for you to type values into.
Note on D5: Tom O'Haver: Detector noise is fixed, independent of light intensity.
Note on E5: Tom O'Haver: Photon noise is proportional to the square root of light intensity.
Note on H6: Tom O'Haver: The sum of the squares of the differences between thesample transmission and the calculated reference transmission. This is the quantity that the Solver seeks to minimize.
Note on I6: Tom O'Haver: This is the value of absorbance in the calculated model that gives the best fit to the observed data. Compare this to the true absorbance in cell A6.
Note on J6: Tom O'Haver: The conventional absorbance. Compare this to the best-fit absorbance in cell H6 and to the true absorbance in cell A6.
Note on J8: Tom: This colums calculates the smoothed derivative of column C.
Note on L8: Tom: This colums calculates the smoothed derivative of column E.