## Answer Report 1
Microsoft Excel 15.0 Answer Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Result: Solver found a solution. All Constraints and optimality conditions are satisfied.
Solver Engine
Engine: GRG Nonlinear
Solution Time: 0.032 Seconds.
Iterations: 4 Subproblems: 0
Solver Options
Max Time Unlimited, Iterations Unlimited, Precision 0.000001, Use Automatic Scaling
Convergence 0.0001, Population Size 100, Random Seed 0, Derivatives Forward, Require Bounds
Max Subproblems Unlimited, Max Integer Sols Unlimited, Integer Tolerance 1%, Assume NonNegative
Objective Cell (Min)
| Cell | Name | Original Value | Final Value
| $H$5 | Sum of residuals | 0.044452 | 0.031678
Variable Cells
| Cell | Name | Original Value | Final Value | Integer
| $I$5 | Absorbance | 20.7836 | 19.8878 | Contin
Constraints
| Cell | Name | Cell Value | Formula | Status | Slack
| $I$5 | Absorbance | 19.8878 | $I$5<=1000 | Not Binding | 980.1122
| $I$5 | Absorbance | 19.8878 | $I$5>=-1 | Not Binding | 20.8878

## Sensitivity Report 1
Microsoft Excel 15.0 Sensitivity Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Variable Cells
|  |  | Final | Reduced
| Cell | Name | Value | Gradient
| $I$5 | Absorbance | 19.8878 | 0
Constraints
NONE

## Limits Report 1
Microsoft Excel 15.0 Limits Report
Worksheet: [TransmissionFitting.xls]Sheet1
Report Created: 6/15/2016 8:49:12 AM
Objective
| Cell | Name | Value
| $H$5 | Sum of residuals | 0.034473
|  | Variable |  | Lower | Objective | Upper | Objective
| Cell | Name | Value | Limit | Result | Limit | Result
| $I$5 | Absorbance | 19.8878 | -1 | 20.0961 | 1000 | 1.7391

## Sheet1
Template for "Transmission Fitting Method" for a single isolated absorption peak. | [8 empty] | Tom O'Haver (toh@umd.edu), 2016 | See https://terpconnect.umd.edu/~toh/spectrum/TFit.html
Paste the sample absorbance spectrum into the blue areas of columns A, B, rows 9-80, the normalized reference spectrum into column D, rows 9-80, and the stray light of the spectrometer in cell A6. (Blue cells = input)
The slit (resolution) function is defined by the 17 coefficients in row 6, columns M through AC, centered on column U. Enter the observed or calculated slit function there. | [10 empty] | Sum | Sum/max
To perform measurement, press F9, press Ctrl-f (which runs the macro "fit" that uses Solver to perform the iterative least-squares fit). | [10 empty] | 0 | #DIV/0!
Unabsorbed stray light % | SumSq of residuals |  | Conventional A = log(1/T) |  |  |  | Best-fit Absorbance | Slit function (type or paste below)
1 | #DIV/0! |  | 0 |  |  |  | 0
Wavelength | Spectrum of sample | Observed sample T | Reference spectrum | Reference T | Calculated reference T | Residuals |  | 3
wavelength | absorbance | transmission | absorbance | transmission | transmission | Sample T - Reference T |  | 4
|  | 1 |  | 1.01 | 1 |  |  | 5
|  | 1 |  | 1.01 | 1 |  |  | 6
|  | 1 |  | 1.01 | 1 |  |  | 7
|  | 1 |  | 1.01 | 1 |  |  | 8
|  | 1 |  | 1.01 | 1 |  |  | 9
|  | 1 |  | 1.01 | 1 |  |  | 10
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0! | Make sure in the Solver Parameters box that "Set Objective" is B6 and and "By Changing Variable Cells"
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0! | is I6 and that "Options", "GRC Nonlinear" is set to "Use Multistart".
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0! | To add more rows for longer spectra, right-click on the row 40 row number and select Insert, repeat as needed,
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0! | then copy-drag columns A-H of row 39 down to fill all the newly created empty rows.
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | #DIV/0! | #DIV/0!
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
|  | 1 |  | 1.01 | 1
To add more rows for longer spectra, right-click on the row 40 row number, right-click, and select Insert, repeat as needed, then copy-drag columns A-H of the row above the insert down to fill the newly created empty rows.
Note on A6: Tom O'Haver: The percent stray specification of the spectrometer.
Note on A7: Tom O'Haver: Wavelengths or wavenumbers or energies of each data point. This effects only the x-axis labeling of the plot, not the calculations.
Note on B6: Tom O'Haver: The sum of the squares of the differences between thesample transmission and the calculated reference transmission. This is the quantity that the Solver seeks to minimize.
Note on B7: Tom O'Haver: Measured absorbance specrum of the sample.
Note on D6: Tom O'Haver: The conventiional absorbance = log(1/T). Can be used as a first-guess.
Note on D7: Tom O'Haver: Paste the reference absorbance spectrum, normalized to 1.0, measured at the same wavelengths as the4 sample.
Note on I6: Tom O'Haver: This is the value of absorbance in the calculated model that the Solver determines to give the best fit to the observed data.
Note on I8: Tom: This colums calculates the smoothed derivative of column C.
Note on K8: Tom: This colums calculates the smoothed derivative of column E.